2021 FIRST CONSULTATION

1 July – 30 September 2021

Compiled comments for Draft DP for Candidatus Liberibacter spp. on Citrus spp. (2004-010) with Lead’s response

Summary

| Name | Summary |
| --- | --- |
| European Union | The comments on this draft standard have been entered into the OCS by the European Commission on behalf of the EU and its member States. |
| Singapore | Singapore is supportive of this draft. |
| South Africa | The NPPOZA is in agreement with this draft and has no further comments |
| Venezuela | La parte técnica del Organismo Fitosanitario de Venezuela, al analizar el proyecto de NIMF:concluyo estar de acuerdo con lo planteado por el Grupo de debate sobre normas |

T (Type) - B = Bullet, C = Comment, P = Proposed Change, R = Rating

| FAO sequential number | Para | Text | T | Comment | Lead’s response |
| --- | --- | --- | --- | --- | --- |
| 1 | G | (General Comment) | C | Argentina We support the comments submitted by COSAVE Category : SUBSTANTIVE | Noted |
| 2 | G | (General Comment) | C | Guyana Guyana has no objection to the proposed document at this time. Category : SUBSTANTIVE | Noted |
| 3 | G | (General Comment) | C | Nepal Nepal has no comments on Draft new annex to ISPM◦27 (Diagnostic protocols for regulated pests)- Candidatus Liberibacter on Citrus Category : EDITORIAL | Noted |
| 4 | G | (General Comment) | C | Mexico I support the document as it is and I have no comments Category : SUBSTANTIVE | Noted |
| 5 | G | (General Comment) | C | Russian Federation The Russian Federation would like to formally endorse the EPPO comments submitted via the IPPC Online Comment System Category : SUBSTANTIVE | Noted |
| 6 | G | (General Comment) | C | Canada Canada supports the draft DP. Category : SUBSTANTIVE | Noted |
| 7 | G | (General Comment) | C | European Union The EU and its Member States support the EPPO comments on this draft DP. Category : SUBSTANTIVE | Noted |
| 8 | G | (General Comment) | C | Switzerland Switzerland would like to formally endorse the EPPO comments submitted via the IPPC Online Comment System Category : TECHNICAL | Noted |
| 9 | G | (General Comment) | C | Barbados Barbados agree with the proposed draft annex. Category : SUBSTANTIVE | Noted |
| 10 | G | (General Comment) | C | COSAVE We highlight the importance of having better traslation into Spanish in order to be consistent with the English version. Se destaca la importancia de contar con traducciones al español que reflejen mejor el contenido de la versión en inglés. Category : TRANSLATION | Secretariat |
| 11 | G | (General Comment) | C | EPPO In order to streamline the reading of the document, denomination of ‘Candidatus Liberibacter asiaticus’ should be shorten to CLas; africanus to CLaf; and americanus to CLam. These denominations are official and found in all recent literature. Category : EDITORIAL | Incorporated |
| 12 | G | (General Comment) | C | Malawi No substantive comment for draft annex to ISPM 27. We support it Category : SUBSTANTIVE | Noted |
| 13 | G | (General Comment) | C | United States of America In this draft protocol, versatile information on HLB (aka citrus greening) was clearly and concisely described, the focus was on molecular detection of three HLB associated bacterium, known as ‘Candidatus Liberibacter asiaticus’ (CLas), ‘Candidatus Liberibacter africanus’ (CLaf) and ‘Candidatus Liberibacter americanus’ (CLam). It briefly depicted individual conventional PCR methods and the well-known real-time PCRs published in 1990s and 2000s, such methods established the molecular diagnostics for HLB worldwide and in the United States. Several real-time PCRs published no later than 2014 were also presented. As only CLas has been found in the United States since the first detection of HLB in 2005 (in Florida), our practice-based comments to the draft protocol were limited to methods for detection of CLas. Comments for the contents in [86]3.4 were in accordance with the updated knowledge/sequences in the literature/GenBank and our experiences in testing thousands of samples collected from the US territories for HLB diagnostics in plants and ACPs. Category : TECHNICAL | Noted |
| 14 | G | (General Comment) | C | Kenya Clause 62 (3. detection) should come after clause 67 (3.1 symptoms). The document flow should first describe the disease symptoms before giving information about detection and also so that information about detection of this specific pathogen can flow in a systematic manner. That is, (clause 62 on detection to be followed by other types of disease detection mentioned in this draft as in clause 82 (3.3 biological detection), 86 (3.4 molecular detection). Category : SUBSTANTIVE | Considered but not incorporated: The diagnostic protocol follows the format stipulated in ISPM27 Diagnostci protocols for regulated pests. |
| 15 | G | (General Comment) | C | Thailand Thailand has no objection on the Draft DP: Candidatus Liberibacter spp. on Citrus spp. Category : SUBSTANTIVE | Noted |
| 16 | G | (General Comment) | C | Cuba Con respecto a las técnicas de diagnóstico que en relacionan, las de PCR convencional, son las que comúnmente se han usado con éxito en el mundo, al igual que las de PCR en tiempo real. Sin embargo, consideramos que en este proyecto de protocolo de diagnóstico se debe mencionar y describir la PCR anidada convencional. Esta técnica es muy robusta y ha dado muy buenos resultados en el mundo, es además la alternativa en los países o laboratorios que no poseen el equipamiento para realizar PCR en tiempo real cuando se quiere ganar en sensibilidad analítica. Category : SUBSTANTIVE “With regard to related diagnostic techniques, conventional PCRs are those that have generally been used successfully in the world, as well as real -time PCRs. Without hesitation, we consider that in this diagnostic protocol project the conventional standardized PCR must be mentioned and described. This technique is very robust and has given very good results in the world, it is also the alternative in countries or laboratories that do not have the equipment to perform PCR in real time when it comes to analytical sensitivity.” | Incorporated: This protocol provides both methods for conventional PCR and real-time PCR. |
| 17 | G | (General Comment) | C | New Zealand list of references need to be checked and amended where needed to keep consistency through out. Category : EDITORIAL | Incorporated |
| 18 | 1 | DRAFT ANNEX to ISPM 27: ‘Candidatus Liberibacter’ spp. on Citrus spp. (2004-010) | C | Viet Nam VN agrees with this draft annex to ISPM 27 Category : SUBSTANTIVE | Noted |
| 19 | 24 | Takayuki Matsuura (Ministry of Agriculture, Forestry and Fisheries, Yokohama Plant Protection Station, Yokohama, JP). | P | EPPO Typo (dot deleted) Category : EDITORIAL | Incorporated |
| 20 | 43 | Huanglongbing (HLB), caused by ‘Candidatus Liberibacter’ species and also known as citrus greening, is one of the most destructive and widespread diseases of citrus in Asia, Africa and the Americas, affecting mainly Citrus species, cultivars and hybrids1 and, to a lesser extent, some other hosts within the Rutaceae (EPPO, 2014; CABI, 2021). The ‘Ca. Liberibacter’ species associated with the disease are transmitted by the psyllids Diaphorina citri (EPPO, 2005), Trioza erytreae and Cacopsylla citrisuga (Cen et al., 2012); ‘Candidatus Liberibacter asiaticus’ was also detected in Diaphorina communis identified in Bhutan (Donovan et al., 2012). | C | EPPO The reference EPPO, 2014 will shortly no longer be correct. The Protocol was revised and will be published in the EPPO Bulletin soon. (2021), PM 7/121 (2) ‘Candidatus Liberibacter africanus’, ‘Candidatus Liberibacter americanus’ and ‘Candidatus Liberibacter asiaticus’. EPPO Bull. pp (will be available when published on paper) https://doi.org/10.1111/epp.12757 Category : TECHNICAL | Incorporated |
| 21 | 43 | Huanglongbing (HLB), caused by ‘Candidatus Liberibacter’ species and also known as citrus greening, is one of the most destructive and widespread diseases of citrus in Asia, Africa and the Americas, affecting mainly Citrus species, cultivars and hybrids1 and, to a lesser extent, some other hosts within the Rutaceae (EPPO, 2014; CABI, 2021). The ‘Ca. Liberibacter’ species associated with the disease are transmitted by the psyllids Diaphorina citri (EPPO, 2005), Trioza erytreae and Cacopsylla citrisuga (Cen et al., 2012); ‘Candidatus Liberibacter asiaticus’ was also detected in Diaphorina communis identified in Bhutan (Donovan et al., 2012). | P | EPPO Typo (a space deleted) Category : EDITORIAL | Incorporated |
| 1. Pest information |  |  |  |  |  |
| 22 | 46 | The causal agents of HLB are fastidious Gram-negative bacteria in the ‘Ca. Liberibacter’ genus (Garnier, Danel and Bové, 1984). ‘Ca. Liberibacter’ species are restricted to the sieve tubes within the phloem tissues, occur at very low concentrations and are unevenly distributed within the host plant (Jagoueix, Bové and Garnier, 1994). The pathogenic ‘Ca. Liberibacter’ species were discovered by electron microscopy in citrus trees with HLB symptoms. Three species of ‘Ca. Liberibacter’ have been associated with HLB and are differentiated based on the nucleotide sequence in the 16S ribosomal gene operon (Jagoueix, Bové and Garnier, 1994). Ca. Liberibacter spp. can be transported both upward and downward throughout the tree, but their distribution is highly patchy (Li et al., 2009). The highest concentrations can be found in stem and midribs of flush. Flush is a newly developing cluster of very young leaves on the expanding terminal end of a shoot (Chiyaka et al, 2012).The three species are as follows: | P | Colombia Explain the distribution of the bacteria in a citrus plant to detect it. This way of distribution of the bacteria in the plant must be taken into account for the detection and diagnosis of the bacteria, which increases the probability of detecting and identifying it in the process of monitoring HLB disease in small or large citrus plantations. Category : TECHNICAL | Incorporated |
| 23 | 46 | The causal agents of HLB are fastidious Gram-negative bacteria in the ‘Ca. Liberibacter’ genus (Garnier, Danel and Bové, 1984). ‘Ca. Liberibacter’ species are restricted to the sieve tubes within the phloem tissues, occur at very low concentrations tissues and are unevenly distributed within the host plant (Jagoueix, Bové and Garnier, 1994). The pathogenic Bacterium titers in the phloem vary depending on 'Ca. Liberibacter' or plant species, plant organ, and the climatic or environmental conditions that plants are exposed to (Tatineneni et al., 2008; Lopes et al 2009; Lopes et al., 2017; Cifuentes Arenas et al., 2019) ‘Ca. Liberibacter’ species were discovered by electron microscopy in citrus trees with HLB symptoms. Three species of ‘Ca. Liberibacter’ have been associated with HLB and are differentiated based on the nucleotide sequence in the 16S ribosomal gene operon (Jagoueix, Bové and Garnier, 1994). The three species are as follows: | P | COSAVE Not always the bacteria occurs on very low concentrations, it depends upon many conditions. Category : TECHNICAL | Incorporated |
| 24 | 46 | The causal agents of HLB are fastidious Gram-negative bacteria in the ‘Ca. Liberibacter’ genus (Garnier, Danel and Bové, 1984). ‘Ca. Liberibacter’ species are restricted to the sieve tubes within the phloem tissues, occur at very low concentrations tissues and are unevenly distributed within the host plant (Jagoueix, Bové and Garnier, 1994). The pathogenic Bacterium titers in the phloem vary depending on ‘Ca. Liberibacter’ species or plant species, plant organ, and the climatic or environmental conditions that plants are exposed to (Tatineneni et al., 2008; Lopes et al 2009; Lopes et al., 2017; Cifuentes Arenas et al., 2019). ‘Ca. Liberibacter’ sprcies were discovered by electron microscopy in citrus trees with HLB symptoms. Three species of ‘Ca. Liberibacter’ have been associated with HLB and are differentiated based on the nucleotide sequence in the 16S ribosomal gene operon (Jagoueix, Bové and Garnier, 1994). The three species are as follows: | P | Uruguay Not always the bacteria occurs on very low concentrations, it depends upon may conditions Category : TECHNICAL | Incorporated |
| 25 | 46 | The causal agents of HLB are fastidious Gram-negative bacteria in the ‘Ca. Liberibacter’ genus (Garnier, Danel and Bové, 1984). ‘Ca. Liberibacter’ species are restricted to the sieve tubes within the phloem tissues, occur at very low concentrations and are unevenly distributed within the host plant (Jagoueix, Bové and Garnier, 1994). The pathogenic Bacterium titers in the phloem vary depending on 'Ca. Liberibacter' or plant species, plant organ, and the climatic or environmental conditions that plants are exposed to (Tatineneni et al., 2008; Lopes et al., 2009; Lopes et al., 2017; Cifuentes Arenas et al., 2019). ‘Ca. Liberibacter’ species were discovered by electron microscopy in citrus trees with HLB symptoms. Three species of ‘Ca. Liberibacter’ have been associated with HLB and are differentiated based on the nucleotide sequence in the 16S ribosomal gene operon (Jagoueix, Bové and Garnier, 1994). The three species are as follows: | P | Brazil Explains the situations where concentration varies. Category : TECHNICAL | Incorporated |
| 26 | 46 | The causal agents of HLB are fastidious Gram-negative bacteria in the ‘Ca. Liberibacter’ genus (Garnier, Danel and Bové, 1984). ‘Ca. Liberibacter’ species are restricted to the sieve tubes within the phloem tissues, occur at very low concentrations tissues and are unevenly distributed within the host plant (Jagoueix, Bové and Garnier, 1994). The pathogenic ‘Ca. Liberibacter’ species were discovered by electron microscopy in citrus trees with HLB symptoms. Three species of ‘Ca. Liberibacter’ have been associated with HLB and are differentiated based on the nucleotide sequence in the 16S ribosomal gene operon (Jagoueix, Bové and Garnier, 1994). The three species are as follows: | P | Brazil Sometimes it happens but not generally. Category : SUBSTANTIVE | Incorporated |
| 27 | 47 | ‘Candidatus Liberibacter asiaticus’, transmitted by Diaphorina citri, is heat tolerant and induces symptoms in warm climates at optimal temperatures in the range 27–32 °C (Jagoueix et al., 1996). Cell multiplication in plant tissues is partially limited at 38°C (Lopes et al., 2009a). It is present in Asia, Africa, Oceania and North and South America (Bové, 2006; da Graça, 2010; CABI, 2021). | P | COSAVE Important information Category : TECHNICAL | Incorporated |
| 28 | 47 | ‘Candidatus Liberibacter asiaticus’, transmitted by Diaphorina citri, is heat tolerant and induces symptoms in warm climates at optimal temperatures in the range 27–32 °C 27–32°C (Jagoueix et al., 1996). It is present in Asia, Africa, Oceania and North and South America (Bové, 2006; da Graça, 2010; CABI, 2021). | P | EPPO Typo (space deleted). Category : EDITORIAL | Incorporated |
| 29 | 47 | ‘Candidatus Liberibacter asiaticus’, transmitted by Diaphorina citri, is heat tolerant and induces symptoms in warm climates at optimal temperatures in the range 27–32 °C (Jagoueix et al., 1996). Cell multiplication in plant tissues is partially limited at 38º C (Lopes et al., 2009a). It is present in Asia, Africa, Oceania and North and South America (Bové, 2006; da Graça, 2010; CABI, 2021). | P | Uruguay Important information Category : TECHNICAL | Incorporated |
| 30 | 47 | ‘Candidatus Liberibacter asiaticus’, transmitted by Diaphorina citri, is heat tolerant and induces symptoms in warm climates at optimal temperatures in the range 27–32 °C (Jagoueix et al., 1996).. Cell multiplication in plant tissues is partially limited at 38°C (Lopes et al., 2009a). It is present in Asia, Africa, Oceania and North and South America (Bové, 2006; da Graça, 2010; CABI, 2021). | P | Brazil Important information Category : TECHNICAL | Incorporated |
| 31 | 48 | ‘Candidatus Liberibacter africanus’ is transmitted by Trioza erytreae, is heat-sensitive and causes symptoms between 22 °C and 24 °C (Jagoueix, Bové and Garnier, 1994), with no symptoms appearing at 27–30 °C (da Graça, 1991). It is present in Asia (Saudi Arabia and Yemen) and Africa (Ascension, Saint Helena and Tristan da Cunha; Burundi; Cameroon; the Central African Republic; the Comoros; Ethiopia; Kenya; Madagascar; Malawi; Mauritius; Mayotte; Réunion; Rwanda; Somalia; South Africa; Swaziland; the United Republic of Tanzania; and Zimbabwe) (Bové, 2006; da Graça, 2010; CABI, 2021). ‘Candidatus Liberibacter africanus subsp. capensis’ has been reported in South Africa on an ornamental rutaceous tree, Calodendrum capense (Garnier et al., 2000). | P | Australia Suggest deleting sentence due to out of date information and South Africa being listed in the sentence prior refering to the species. It is considered that species level is enough information and subspecies is too detailed for the purpose. Justification: Information provided is not up-to-date. Since the report of this subspecies, four new subspecies (LafCL, LafV, LafT and LafZ) have been reported in South Africa (Robert et al. 2015; Robert& Pietersen 2017). Including the subspecies information is not essential and might be misleading as the exact taxonomic position of these subspecies in relation to Laf has not been fully clarified (Robert& Pietersen 2017). References: Roberts R, Steenkamp ET, Pietersen G. Three novel lineages of 'Candidatus Liberibacter africanus' associated with native rutaceous hosts of Trioza erytreae in South Africa. Int J Syst Evol Microbiol. 65(2):723-731. Roberts R, Pietersen G. A novel subspecies of 'Candidatus Liberibacter africanus' found on native Teclea gerrardii (Family: Rutaceae) from South Africa. Antonie Van Leeuwenhoek. 110(3):437-444. Category : TECHNICAL | Incorporated |
| 32 | 48 | ‘Candidatus Liberibacter africanus’ is transmitted by Trioza erytreae, is heat-sensitive and causes symptoms between 22 °C and 24 °C (Jagoueix, Bové and Garnier, 1994), with no symptoms appearing at 27–30 °C (da Graça, 1991). It is present in Asia (Saudi Arabia and Yemen) and Africa (Ascension, Saint Helena and Tristan da Cunha; Burundi; Cameroon; the Central African Republic; the Comoros; Ethiopia; Kenya; Madagascar; Malawi; Mauritius; Mayotte; Réunion; Rwanda; Somalia; South Africa; Swaziland; the United Republic of Tanzania; and Zimbabwe) (Bové, 2006; da Graça, 2010; CABI, 2021). ‘Candidatus Liberibacter africanus subsp. capensis’ has been reported in South Africa on an ornamental rutaceous tree, Calodendrum capense (Garnier et al., 2000). | C | EPPO CLaf has not been detected recently in la Réunion Island and its possible presence is under further investigation. Official information from France will be provided and the pest status will be updated in the EPPO Global Database as soon as this information is available. Category : SUBSTANTIVE | For consideration by the TPDP: This protocol is specifically listing countries. To address this have deleted the specific countries and kept the broad regions. |
| 33 | 48 | ‘Candidatus Liberibacter africanus’ is transmitted by Trioza erytreae, is heat-sensitive and causes symptoms between 22 °C 22°C and 24 °C 24°C (Jagoueix, Bové and Garnier, 1994), with no symptoms appearing at 27–30 °C 27–30°C (da Graça, 1991). It is present in Asia (Saudi Arabia and Yemen) and Africa (Ascension, Saint Helena and Tristan da Cunha; Burundi; Cameroon; the Central African Republic; the Comoros; Ethiopia; Kenya; Madagascar; Malawi; Mauritius; Mayotte; Réunion; Rwanda; Somalia; South Africa; Swaziland; the United Republic of Tanzania; and Zimbabwe) (Bové, 2006; da Graça, 2010; CABI, 2021). ‘Candidatus Liberibacter africanus subsp. capensis’ has been reported in South Africa on an ornamental rutaceous tree, Calodendrum capense (Garnier et al., 2000). | P | EPPO Typo (three spaces deleted). Category : EDITORIAL | Incorporated |
| 34 | 49 | ‘Candidatus Liberibacter americanus’ was described as a new species when it was first found in 2004 in São Paulo, Brazil (Teixeira et al., 2005a, 2005b, 2005c; Bové, 2006). It is also transmitted by Diaphorina citri (Yamamoto et al., 2006). ‘Ca. L. americanus’ is less heat tolerant than ‘sensitive, with cell multiplication in plant tissues partially affected at 32°C and highly affected at 35°C and 38°C (Lopes et al., 2009a)Ca. L. asiaticus’. Similarly, Gasparotoet al. ) found that temperatures above 32 °C negatively affected the multiplication of ‘Ca. L. americanus’ in infected plants, whereas ‘Ca. L. asiaticus’ was affected only by temperatures above 38 °C. Similarly, Gasparoto et al. (2012) found that ‘Ca. L. americanus’ did not infect plants maintained at night/day temperature conditions of27/32 of 27/32 °C, but infection by ‘Ca. L. asiaticus’ occurred at all the studied temperatures. | P | COSAVE To give clarification. Better do not compare species but to provide information regarding the temperature range of each species separatelly. Category : TECHNICAL | Incorporated |
| 35 | 49 | ‘Candidatus Liberibacter americanus’ was described as a new species when it was first found in 2004 in São Paulo, Brazil (Teixeira et al., 2005a, 2005b, 2005c; Bové, 2006). It is also transmitted by Diaphorina citri (Yamamoto et al., 2006). ‘Ca. L. americanus’ is less heat tolerant than ‘Ca. L. asiaticus’. et al. ) found that temperatures above 32 °C 32°C negatively affected the multiplication of ‘Ca. L. americanus’ in infected plants, whereas ‘Ca. L. asiaticus’ was affected only by temperatures above 38 °C38°C. Similarly, Gasparoto et al. (2012) found that ‘Ca. L. americanus’ did not infect plants maintained at night/day temperature conditions of27/32 °Cof 27/32°C, but infection by ‘Ca. L. asiaticus’ occurred at all the studied temperatures. | P | EPPO Typos (3 spaces deleted and a space added). Category : EDITORIAL | Incorporated |
| 36 | 49 | ‘Candidatus Liberibacter americanus’ was described as a new species when it was first found in 2004 in São Paulo, Brazil (Teixeira et al., 2005a, 2005b, 2005c; Bové, 2006). It is also transmitted by Diaphorina citri (Yamamoto et al., 2006). ‘Ca. L. americanus’ is less heat tolerant than ‘sensitive, with cell multiplication in plant tissues partially affected at 32ºC and highly affected at 35ºC and 38ºC (Lopes et al., 2009a)Ca. L. asiaticus’. Similarly, Gasparotoet al. ) found that temperatures above 32 °C negatively affected the multiplication of ‘Ca. L. americanus’ in infected plants, whereas ‘Ca. L. asiaticus’ was affected only by temperatures above 38 °C. Similarly, Gasparoto et al. (2012) found that ‘Ca. L. americanus’ did not infect plants maintained at night/day temperature conditions of27/32 of 27/32 °C, but infection by ‘Ca. L. asiaticus’ occurred at all the studied temperatures. | P | Uruguay To give clarification. Better do not compare species but to provide information regarding the temperature range of each species separatelly Category : TECHNICAL | Incorporated |
| 37 | 49 | ‘Candidatus Liberibacter americanus’ was described as a new species when it was first found in 2004 in São Paulo, Brazil (Teixeira et al., 2005a, 2005b, 2005c; Bové, 2006). It is also transmitted by Diaphorina citri (Yamamoto et al., 2006). ‘Ca. L. americanus’ is less heat tolerant than ‘sensitive, with cell multiplication in plant tissues partially affected at 32°C and highly affected at 35 and 38°C (Lopes et al., 2009a).Ca. L. asiaticus’. Similarly, Gasparotoet al. ) found that temperatures above 32 °C negatively affected the multiplication of ‘Ca. L. americanus’ in infected plants, whereas ‘Ca. L. asiaticus’ was affected only by temperatures above 38 °C. Similarly, Gasparoto et al. (2012) found that ‘Ca. L. americanus’ did not infect plants maintained at night/day temperature conditions of27/32 °C, but infection by ‘Ca. L. asiaticus’ occurred at all the studied temperatures. | P | Brazil To give clarification. Better do not compare species but to provide information regarding the temperature range of each species separatelly Category : SUBSTANTIVE | Incorporated |
| 38 | 50 | Huanglongbing is a disease limited to that affects Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonica) (kumquat), C. medica (citrons), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata (Garnier et al., 2000, Lopes et al., 2010) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also harbour ‘Ca. Liberibacter’ species and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000), Jagoueix et al., 1996). Other hosts may be viewed at . | P | Australia Suggest wording change to remove statement that HLB only affects Citrus and genera under Rutaceae. This is due to HLB having been detected in Plants i.e. tobacco/tomato of other families, outside of Rutaceae and is hence not limited to Citrus and other genera of Rutaceae. Reference: https://www.horticulture.com.au/globalassets/hort-innovation/resource-assets/ny11001-huanglongbing.pdf Category : TECHNICAL | Incorporated |
| 39 | 50 | Huanglongbing is a disease limited to Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonicajaponica ) (kumquat), C. medica (citrons), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata (Garnier et al., 2000, Lopes et al., 2010) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also harbour ‘Ca. Liberibacter’ species and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000), Jagoueix et al., 1996). Other hosts may be viewed at . The incubation period for HLB within citrus trees ranges from a few months to one or more years (Gottwald, 2010). At about 3 months after inoculation, Clas was detected in 70% of inoculated sweetorange and grapefruit seedlings (Folimonova & Achor, 2010), and severe asymmetrical yellowing of leaves was clearly observed 5–6 months after grafting. In a similar study (Coletta-Filho et al., 2010), Clas bacterium was detected in 60% of the ‘Valencia’ trees 1 month after inoculation, and typical HLB symptoms (chlorosis of leaves) were observed 6–8 months after inoculation. Quantification of the bacterium using qPCR showed that the Clas bacterium was present in differentparts of the infected plant; however, it was unevenly distributed (Tatineni et al., 2008). Consequently, the sampling of each citrus tree or other species should be the most representative possible of its leaf area to increase the probability of detecting and identifying the causative agent of HLB in each laboratory analysis. | P | Colombia It is important to mention in the text the approximate incubation period of HLB in the plant and its uneven distribution in the tree. This information is of great importance when sampling and detecting HLB. This paragraph can go after paragraph 50 attached or separated. Consequently, the sampling of each citrus tree or other species should be the most representative possible of its leaf area to increase the probability of detecting and identifying the causative agent of HLB in each laboratory analysis. Category : TECHNICAL | Incorporated |
| 40 | 50 | Huanglongbing is a disease limited to Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonica) (kumquat), C. medica (citrons), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata (Garnier et al., 2000, Lopes et al., 2010)2010, Cifuentes Arenas et. al., 2019) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also may harbour ‘Ca. Liberibacter’ species but at lower titers than in citrus plants, and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000)2000, Jagoueix et al., 1996). Other hosts may be viewed at . | P | COSAVE To improve information. "may harbour", because not always it happens. Category : TECHNICAL | Incorporated |
| 41 | 50 | Huanglongbing is a disease limited to Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonica) (kumquat), C. medica (citrons), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata (Garnier et al., 2000, Lopes et al., 2010) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also harbour ‘Ca. Liberibacter’ species and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000), Jagoueix et al., 1996). Other hosts may be viewed at . | C | EPPO Links to the other species should be added as well as the link is only on Candidatus Liberibacter asiaticus https://gd.eppo.int/taxon/LIBEAF/hosts https://gd.eppo.int/taxon/LIBEAM/hosts Category : TECHNICAL | Incorporated |
| 42 | 50 | Huanglongbing is a disease limited to Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonica) (kumquat), C. medica (citrons), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata paniculata (Garnier et al., 2000, ; Lopes et al., 2010) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also harbour ‘Ca. Liberibacter’ species and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000)2000;, Jagoueix et al., 1996). Other hosts may be viewed at . | P | EPPO Typos. Category : EDITORIAL | Incorporated |
| 43 | 50 | Huanglongbing is a disease limited to Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonica) (kumquat), C. medica (citrons)citron), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata (Garnier et al., 2000, Lopes et al., 2010) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also harbour ‘Ca. Liberibacter’ species and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000), Jagoueix et al., 1996). Other hosts may be viewed at . | P | New Zealand add space to align with the format of other names. needs to be singular to align with the other common names remove additional space Category : EDITORIAL | Incorporated |
| 44 | 50 | Huanglongbing is a disease limited to Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonica) (kumquat), C. medica (citrons), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata (Garnier et al., 2000, Lopes et al., 2010)2010, Cifuentes Arenas et. al., 2019) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also may harbour ‘Ca. Liberibacter’ species but at lower titers than in citrus plants, and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000)2000, Jagoueix et al., 1996). Other hosts may be viewed at . | P | Uruguay To improve information. "may harbour", because not always it happens Category : TECHNICAL | Incorporated |
| 45 | 50 | Huanglongbing is a disease limited to Citrus and a few other genera of Rutaceae. The disease is present in C. aurantiifolia (lime), C. ×aurantium (sour orange), C. limonia Osbeck (Rangpur lime), C. limon L. (lemon), C. limettioides (Palestinian sweet lime), C. japonica (syn. Fortunella japonica) (kumquat), C. medica (citrons), C. paradisi (grapefruit), C. paradisi × C. reticulata (tangelo), C. reticulata (mandarin), C. sinensis (L.) Osbeck (sweet orange) and Poncirus trifoliata (trifoliate orange) (da Graça, 1991). The rutaceous trees Calodendrum capense (Cape chestnut), Murraya paniculata (Garnier et al., 2000, Lopes et al., 2010)2010, Cifuentes Arenas et al., 2019) and Atalantia (syn. Severinia) buxifolia (Deng et al., 2008) also may harbour ‘Ca. Liberibacter’ species but at lower titers than in citrus plants, and support populations of Trioza erytreae and Diaphorina citri (Garnier et al., 2000), Jagoueix et al., 1996). Other hosts may be viewed at . | P | Brazil To improve information. MAY HARBOUR: Because not always it happens. Category : SUBSTANTIVE | Incorporated |
| 46 | 51 | The psyllids reported as being the vectors of the HLB agents persist and multiply on other rutaceous plants including A. buxifolia, Atalantia missionis, Citrus inodora, Citrus ×virgata Mabb ‘Sydney Hybrid’, Citropsis gabunensis, Citropsis schweinfurthii, Clausena anisum-olens, Limonia acidissima, Naringi crenulata (Barkley and Beattie, 2008), Swinglea glutinosa (Garnier and Bové, 1993), , and Vepris lanceolata (Gottwald et al., 2007). | P | EPPO Typo (one space deleted) Category : EDITORIAL | Incorporated |
| 47 | 51 | The psyllids reported as being the vectors of the HLB agents persist and multiply on other rutaceous plants including A. buxifolia, Atalantia missionis, Citrus inodora, Citrus ×virgata Mabb ‘Sydney Hybrid’, Citropsis gabunensis, Citropsis schweinfurthii, Clausena anisum-olens, Limonia acidissima, Naringi crenulata (Barkley and Beattie, 2008), Swinglea glutinosa (Garnier and Bové, 1993), and Vepris lanceolata (Gottwald et al., 2007). | C | EPPO For more information, see Table 2 & 3 p23-24 in the HLB PRA from Anses: https://www.anses.fr/fr/system/files/SANTVEG2016SA0235Ra.pdf Category : TECHNICAL | Incorporated |
| 48 | 52 | To date, psyllids are the only group of insects known to transmit ‘Ca. Liberibacter’ spp. (Cen et al., 2012). The bacterium can multiply in the body of the insect vectors (Aubert, 1987 and Jagoueix, Bové and Garnier, 1997). Pelz-Stelinsky et al. (2010) reported that transmission of ‘Ca. L. asiaticus’ from parent to offspring (transovarial) occurred at a rate of 2–6%, as opposed to absence of transovarial transmission reported by Hung et al. (2004) . | P | COSAVE To improve and update the information. Category : TECHNICAL | Incorporated |
| 49 | 52 | To date, psyllids are the only group of insects known to transmit ‘Ca. Liberibacter’ spp. (Cen et al., 2012). The bacterium can multiply in the body of the insect vectors (Aubert, 1987 and 1987; Jagoueix, Bové and Garnier, 1997). Pelz-Stelinsky et al. (2010) reported that transmission of ‘Ca. L. asiaticus’ from parent to offspring (transovarial) occurred at a rate of 2–6%. | P | EPPO Typo. Category : EDITORIAL | Incorporated |
| 50 | 52 | To date, psyllids are the only group of insects known to transmit ‘Ca. Liberibacter’ spp. (Cen et al., 2012). The bacterium can multiply in the body of the insect vectors (Aubert, 1987 and Jagoueix, Bové and Garnier, 1997). Pelz-Stelinsky et al. (2010) reported that transmission of ‘Ca. L. asiaticus’ from parent to offspring (transovarial) occurred at a rate of 2–6%, as opposed to absence of transovarial transmission reported by Hung et al. (2004). | P | Uruguay To improve and update the information Category : TECHNICAL | Incorporated |
| 51 | 52 | To date, psyllids are the only group of insects known to transmit ‘Ca. Liberibacter’ spp. (Cen et al., 2012). The bacterium can multiply in the body of the insect vectors (Aubert, 1987 and Jagoueix, Bové and Garnier, 1997). Pelz-Stelinsky et al. (2010) reported that transmission of ‘Ca. L. asiaticus’ from parent to offspring (transovarial) occurred at a rate of 2–6%2–6% as opposed to absence of transovarial transmission reported by Hung et al. (2004). | P | Brazil To improve and update the information Category : SUBSTANTIVE | Incorporated |
| 2. Taxonomic information |  |  |  |  |  |
| 52 | 55 | Synonym: ‘Candidatus Liberobacter africanus’ Jagoueix et al., 1994 | C | EPPO EPPO has as other scientific names Liberibacter africanum, Liberibacter africanus Category : TECHNICAL | Modified. Have corrected the synonym Liberobacter africanum as listed in Jaogoueix et al. 1994. Have not included the additional synonyms as could not clarify source for the italic version. |
| 53 | 55 | Synonym: ‘Candidatus Liberobacter africanus’ Jagoueix et al., 1994 | C | New Zealand The Jagoueix et al. Paper called these Liberobacter africanum and asiaticum and this is mentioned below. However, the text below discusses the i/o change in Liberibacter but not the us/um change for africanum. Category : TECHNICAL | Incorporated |
| 54 | 56 | Name: ‘Candidatus Liberibacter americanus’ Texeira et al., 2005 | C | EPPO EPPO has as other scientific name Liberibacter americanus Category : TECHNICAL | Not incorporated. Can not find reference for the italic versions. |
| 55 | 58 | Synonym: ‘Candidatus Liberobacter asiaticus’ Jagoueix et al., 1994 | C | EPPO EPPO has as other scientific names Liberibacter asiaticum, Liberibacter asiaticus Category : TECHNICAL | Modified. Have corrected the synonym Liberobacter asiaticum as listed in Jaogoueix et al. 1994. Have not included the additional synonyms as could not clarify source for italic version. |
| 56 | 59 | Taxonomic position: Bacteria, Proteobacteria, Alpha-Proteobacteria, Rhizobiales, RhizobiaceaPhyllobacteriaceae | P | China The taxonomic status of ‘Candidatus Liberibacter’ spp. was phyllobacteriaeae. Category : SUBSTANTIVE | Incorporated |
| 57 | 60 | Disease names: Huanglongbing (HLB) or citrus greening. The common name “huanglongbing” is currently widely adopted in the scientific literature (CABI, 2021). | C | EPPO It would be interesting to indicate the translation of Huanglongbing: “Yellow shoot disease”. Citrus greening is not recognize anymore as the name of the disease. Category : TECHNICAL | Incorporated |
| 58 | 61 | In 1994, the International Committee for Systematic Bacteriology recommended that, as proposed by Murray and Schleifer (1994), a ‘Candidatus’ designation be used as an interim taxonomic status, to provide a proper allocation of sequence-based potential new taxa at the genus and species level (Murray and Schleifer, 1994; Murray and Stackebrant, 1995). Jagoueix, Bové and Garnier (1994) proposed that this new group in the alpha subdivision of the Proteobacteria should be referred to by the name “liberobacter” (from the Latin liber [bark] and bacter [bacteria]). Subsequently, two “Candidatus species”, Liberobacter asiaticum and Liberobacter africanum, were recognized based on polymorphism in the 16S rDNA nucleotide sequences. Later, the spelling was corrected to ‘Liberibacter’ to conform to the Latin convention of using the connecting vowel “i” rather than “o” (Garnier et al., 2000). Garnier .et al. (2000) proposed, based on serological differences and phylogenetic analysis, the name I‘Ca. Liberibacter africanus subsp. capensis’ for an isolate obtained from Calodendrum capense. In 2004, a new species was discovered in Brazil that failed to amplify with primers designed for ‘Ca. Liberibacter asiaticus’ and ‘Ca. Liberibacter africanus’ in PCR and the new strain was named ‘Ca. L. americanus’ Teixeira et al. (2005c). | P | Australia Suggest deleting sentence as including the subspecies information is not essential and might be misleading due to the exact taxonomic position of these subspecies in relation to Laf not being fully clarified. Category : TECHNICAL | Incorporated |
| 59 | 61 | In 1994, the International Committee for Systematic Bacteriology recommended that, as proposed by Murray and Schleifer (1994), a ‘Candidatus’ designation be used as an interim taxonomic status, to provide a proper allocation of sequence-based potential new taxa at the genus and species level (Murray and Schleifer, 1994; Murray and Stackebrant, 1995). Jagoueix, Bové and Garnier (1994) proposed that this new group in the alpha subdivision of the Proteobacteria should be referred to by the name “liberobacter” (from the Latin liber [bark] and bacter [bacteria]). Subsequently, two “Candidatus species”, Liberobacter asiaticum and Liberobacter africanum, were recognized based on polymorphism in the 16S rDNA nucleotide sequences. Later, the spelling was corrected to ‘Liberibacter’ to conform to the Latin convention of using the connecting vowel “i” rather than “o” (Garnier et al., 2000). Garnier et al. (2000) proposed, based on serological differences and phylogenetic analysis, the name ‘Ca. Liberibacter africanus subsp. capensis’ for an isolate obtained from Calodendrum capense. In 2004, a new species was discovered in Brazil that the target DNA failed to amplify with primers designed for ‘Ca. Liberibacter asiaticus’ and ‘Ca. Liberibacter africanus’ in PCR and the new strain species was named ‘Ca. L. americanus’ Teixeira et al. (2005c). | P | COSAVE For better clarification. Species rather than strain, because Candidatus are species, not strains. Category : TECHNICAL | Incorporated |
| 60 | 61 | In 1994, the International Committee for Systematic Bacteriology recommended that, as proposed by Murray and Schleifer (1994), a ‘Candidatus’ designation be used as an interim taxonomic status, to provide a proper allocation of sequence-based potential new taxa at the genus and species level (Murray and Schleifer, 1994; Murray and Stackebrant, 1995). Jagoueix, Bové and Garnier (1994) proposed that this new group in the alpha subdivision of the Proteobacteria should be referred to by the name “liberobacter” “Liberobacter” (from the Latin liber [bark] and bacter [bacteria]). Subsequently, two “Candidatus species”, Liberobacter asiaticum and Liberobacter africanum, were recognized based on polymorphism in the 16S rDNA nucleotide sequences. Later, the spelling was corrected to ‘Liberibacter’ to conform to the Latin convention of using the connecting vowel “i” rather than “o” (Garnier et al., 2000). Garnier et al. (2000) proposed, based on serological differences and phylogenetic analysis, the name ‘Ca. Liberibacter africanus subsp. capensis’ for an isolate obtained from Calodendrum capense. In 2004, a new species was discovered in Brazil that failed to amplify with primers designed for ‘Ca. Liberibacter asiaticus’ and ‘Ca. Liberibacter africanus’ in PCR and the new strain was named ‘Ca. L. americanus’ Teixeira et al. (2005c). | P | EPPO Typo. Category : EDITORIAL | Incorporated |
| 61 | 61 | In 1994, the International Committee for Systematic Bacteriology recommended that, as proposed by Murray and Schleifer (1994), a ‘Candidatus’ designation be used as an interim taxonomic status, to provide a proper allocation of sequence-based potential new taxa at the genus and species level (Murray and Schleifer, 1994; Murray and Stackebrant, 1995). Jagoueix, Bové and Garnier (1994) proposed that this new group in the alpha subdivision of the Proteobacteria should be referred to by the name “liberobacter” (from the Latin liber [bark] and bacter [bacteria]). Subsequently, two “Candidatus species”, Liberobacter asiaticum and Liberobacter africanum, were recognized based on polymorphism in the 16S rDNA nucleotide sequences. Later, the spelling was corrected to ‘Liberibacter’ to conform to the Latin convention of using the connecting vowel “i” rather than “o” (Garnier et al., 2000). Garnier et al. (2000) proposed, based on serological differences and phylogenetic analysis, the name ‘Ca. Liberibacter africanus subsp. capensis’ for an isolate obtained from Calodendrum capense. In 2004, a new species was discovered in Brazil that failed to amplify with primers designed for ‘Ca. Liberibacter asiaticus’ and ‘Ca. Liberibacter africanus’ in PCR PCR, and the new strain was named ‘Ca. L. americanus’ Teixeira et al. (2005c). | P | New Zealand Category : EDITORIAL | Incorporated |
| 62 | 61 | In 1994, the International Committee for Systematic Bacteriology recommended that, as proposed by Murray and Schleifer (1994), a ‘Candidatus’ designation be used as an interim taxonomic status, to provide a proper allocation of sequence-based potential new taxa at the genus and species level (Murray and Schleifer, 1994; Murray and Stackebrant, 1995). Jagoueix, Bové and Garnier (1994) proposed that this new group in the alpha subdivision of the Proteobacteria should be referred to by the name “liberobacter” (from the Latin liber [bark] and bacter [bacteria]). Subsequently, two “Candidatus species”, Liberobacter asiaticum and Liberobacter africanum, were recognized based on polymorphism in the 16S rDNA nucleotide sequences. Later, the spelling was corrected to ‘Liberibacter’ to conform to the Latin convention of using the connecting vowel “i” rather than “o” (Garnier et al., 2000). Garnier et al. (2000) proposed, based on serological differences and phylogenetic analysis, the name ‘Ca. Liberibacter africanus subsp. capensis’ for an isolate obtained from Calodendrum capense. In 2004, a new species was discovered in Brazil that the target DNA failed to amplify with primers designed for ‘Ca. Liberibacter asiaticus’ and ‘Ca. Liberibacter africanus’ in PCR and the new strain species was named ‘Ca. L. americanus’ Teixeira et al. (2005c). | P | Uruguay For better clarification. Species rather than strain, because Candidatus are species, not strains Category : TECHNICAL | Incorporated |
| 63 | 61 | In 1994, the International Committee for Systematic Bacteriology recommended that, as proposed by Murray and Schleifer (1994), a ‘Candidatus’ designation be used as an interim taxonomic status, to provide a proper allocation of sequence-based potential new taxa at the genus and species level (Murray and Schleifer, 1994; Murray and Stackebrant, 1995). Jagoueix, Bové and Garnier (1994) proposed that this new group in the alpha subdivision of the Proteobacteria should be referred to by the name “liberobacter” (from the Latin liber [bark] and bacter [bacteria]). Subsequently, two “Candidatus species”, Liberobacter asiaticum and Liberobacter africanum, were recognized based on polymorphism in the 16S rDNA nucleotide sequences. Later, the spelling was corrected to ‘Liberibacter’ to conform to the Latin convention of using the connecting vowel “i” rather than “o” (Garnier et al., 2000). Garnier et al. (2000) proposed, based on serological differences and phylogenetic analysis, the name ‘Ca. Liberibacter africanus subsp. capensis’ for an isolate obtained from Calodendrum capense. In 2004, a new species was discovered in Brazil that the target DNA failed to amplify with primers designed for ‘Ca. Liberibacter asiaticus’ and ‘Ca. Liberibacter africanus’ in PCR and the new strain specie was named ‘Ca. L. americanus’ Teixeira et al. (2005c). | P | Brazil For better clarification. Species rather than strain, because Candidatus are species, not strains. Category : SUBSTANTIVE | Incorporated |
| 3. Detection |  |  |  |  |  |
| 64 | 63 | Huanglongbing was diagnosed in the late twentieth century by conventional procedures such as electron microscopic examination and by bioassays on indicator plants. The ‘Candidatus Liberibacter’ species associated with HLB have not yet been cultured in vitro, but methods based on the polymerase chain reaction (PCR) amplification of sequences from genes, such as the 16S ribosomal (r)RNA gene and the rplKAJL-rpoBC gene cluster, are considered efficient and sensitive for the detection of liberibacters in HLB-infected plant tissue and psyllids. | C | Costa Rica It would be convenient to specify the reference that corroborates the indicated. Category : SUBSTANTIVE | Incorporated. |
| 65 | 63 | Huanglongbing was diagnosed in the late twentieth century by conventional procedures such as electron microscopic examination and by bioassays on indicator plants. The ‘Candidatus Liberibacter’ species associated with HLB have not yet been cultured in vitro, but methods based on the polymerase chain reaction (PCR) amplification of sequences from genes, such as the 16S ribosomal (r)RNA gene (Li et al, 2006) and the rplKAJL-rpoBC gene clustercluster (Hocquellet et al., 1999; Teixera et al., 2005), are considered efficient and sensitive for the detection of liberibacters in HLB-infected plant tissue and psyllids. | P | EPPO As for LAMP test below references should be given. Category : TECHNICAL | Incorporated. |
| 66 | 63 | Huanglongbing was diagnosed in the late twentieth century by conventional procedures such as electron microscopic examination and by bioassays on indicator plants. The ‘Candidatus Liberibacter’ species associated with HLB have not yet been cultured in vitro, but methods based on the polymerase chain reaction (PCR) amplification of sequences from genes, such as the 16S ribosomal (r)RNA gene and the rplKAJL-rpoBC gene cluster, are considered efficient and sensitive for the detection of liberibacters in HLB-infected plant tissue and psyllids. | C | EPPO Regarding the issue of culture of these bacteria, the revised EPPO DP makes the following statement Historically ‘Ca. Liberibacter’ species were considered non-culturable bacteria. Although, four reports (Davis et al., 2008; Sechler et al., 2009; Ha et al., 2019; Mandadi et al., 2020) refer to the cultivation of HLB-related ‘Ca. Liberibacter’ species, this needs more confirmation. We believe that this reflects better the reality of the state of the art. Category : SUBSTANTIVE | Incorporated |
| 67 | 63 | Huanglongbing was diagnosed in the late twentieth century by conventional procedures such as electron microscopic examination and by bioassays on indicator plants. The ‘Candidatus Liberibacter’ species associated with HLB have not yet been cultured in vitro, but methods based on the polymerase chain reaction (PCR) amplification of sequences from genes, such as the 16S ribosomal (r)RNA gene and the rplKAJL-rpoBC gene cluster, are considered efficient and sensitive for the detection of liberibacters in HLB-infected plant tissue and psyllids. | P | New Zealand Category : EDITORIAL | Incorporated |
| 68 | 64 | The use of PCR to detect ‘Ca. Liberibacter’ spp. in a vector is a very useful tool for surveillance because it allows detection of the pathogen in the insect before the appearance of the symptomssymptoms in the plant. Indeed, Nguyen, Le and Nguyen (2003) showed that HLB-infected psyllids contain a higher titre of the bacterium than HLB-infected plant tissue. . Molecular detection is the method that may detect the bacterium in a single adult or in the third, fourth and fifth instars of the psyllid (Manjunath et al., 2008). Nguyen, Le and Nguyen (2003) showed that HLB-infected psyllids contain a higher titre of the bacterium than HLB-infected plant tissue. | P | EPPO Sentence better placed here Category : TECHNICAL | Incorporated |
| 69 | 64 | The use of PCR to detect ‘Ca. Liberibacter’ spp. in a vector is a very useful tool for surveillance because it allows detection of the pathogen in the insect before the appearance of the symptoms. Molecular detection is the method that may detect the bacterium in a single adult or in the third, fourth and fifth instars of the psyllid (Manjunath et al., 2008). Nguyen, Le and Nguyen (2003) showed that HLB-infected psyllids contain a higher titre of the bacterium than HLB-infected plant tissue. | P | New Zealand not necessary to describe PCR as a tool Category : EDITORIAL | Incorporated |
| 70 | 65 | Loop mediated isothermal amplification (LAMP) has been adapted for the sensitive detection of ‘Ca. L. asiaticus’ (Okuda et al., 2005, ; Rigano et al., 2014; Keremane et al., 2015; Choi et al., 2018). Such LAMP-based methods are performed at a constant temperature, can be used on crude DNA extractions, and have shown promise for on-site diagnostics. However, these methods have not yet been well validated for routine diagnosis of ‘Ca. L. . asiaticus’ and hence are not included in this diagnostic protocol. | P | EPPO Two typos. Category : EDITORIAL | Incorporated |
| 71 | 65 | Loop mediated Loop-mediated isothermal amplification (LAMP) has been adapted for the sensitive detection of ‘Ca. L. asiaticus’ (Okuda et al., 2005, Rigano et al., 2014; Keremane et al., 2015; Choi et al., 2018). Such LAMP-based methods are performed at a constant temperature, can be used on crude DNA extractions, and have shown promise for on-site diagnostics. However, these methods have not yet been well validated for routine diagnosis of ‘Ca. L. asiaticus’ and hence are not included in this diagnostic protocol. | P | New Zealand compound modifier needed Category : EDITORIAL | Incorporated |
| 72 | 66 | In this diagnostic protocol, methods (including reference to brand names) are described as published, as these define the original level of sensitivity, specificity and reproducibility achieved. Laboratory procedures presented in the protocols may be adjusted to the standards of individual laboratories, provided that they are adequately validated.The following diagram allows laboratories to be given tools, using various methodologies referenced in the document to arrive at the detection and identification of the causative agent of HLB disease.Detection for asymptomatic and symptomatic in citrus plant tissue and insect vector samplesOption 1Generic molecular tests for Ca. Liberibacter spp. (Section 3.4.4.1). Real- time PCRResults. Positive (Option 2). Negative (not detected).Option 2More specific molecular methods for the detection of Ca. Liberibacter species. (Section 3.4.3 and 3.4.4). Conventional and real-time PCRResults. Positive (Ca. Liberibacter Las, Laf and/or Lam detected -Convencional PCR (using purified DNA) based in different gene for Las, Laf and/or Lam.). Negative (not detected). IDENTIFICATION Sequence of the amplified products and sequence analysis. (Section 4).Results. Positive (Ca. Liberibacter Las, Laf and/or Lam confirmed). Negative (not confirmed).[1] Fig. 1 Flow diagram for the detection of ‘Ca. Liberibacter’ spp. in samples. Laf = ‘Ca. Liberibacter africanus’, Lam = ‘Ca. Liberibacter americanus’ and Las = ‘Ca. Liberibacter asiaticus’.[2] * Identification may not be necessary for all samples that test positive for Ca. Liberibacter spp., on certain circumstances, for example, in areas facing a confirmed outbreak of Ca. Liberibacter spp. | P | Colombia Flow chart for a better understanding of the detection of the pathogen. The protocol has several techniques for the detection of Ca. Liberibacter spp., So it is necessary to guide the researcher in the detection options for the pathogen. The diagram allows laboratories to be given tools, using various methodologies referenced in the document to arrive at the detection and identification of the causative agent of HLB. THE SYSTEM DOES NOT ALLOW TO ENTER IMAGES SO IT WAS NOT POSSIBLE TO INCLUDE THE IMAGE. IS THERE ANY OTHER WAY WE CAN SEND IT? Category : TECHNICAL | For consideration by TPDP. Previously we did not think it was necessary to include flow diagram. |
| 3.1 Symptoms |  |  |  |  |  |
| 73 | 67 | 3.1 Symptoms | C | Kenya To include disease symptoms on citrus nursery stock (seedlings), and more information on the symptoms as they appear on the diseased fruits (for example, the colour change, hardness of the fruits or sponginess appearance on the fleshy part of the fruits after cutting. Category : TECHNICAL | Modified. More information on diseased fruits as been provided. Symptoms relevant to nursery stock are described in paragraphs 69-71. |
| 74 | 68 | Inspection is important for detection in symptomatic plants and is a routine method for the surveillance of HLB in areas where the disease is not presentpresent and a necessary measure to subsidize decision on erradicating deseased plants. Yellow shoots and blotchy mottle symptoms on leaves are typical symptoms on HLB-infected trees and can be used on site as part of an initial diagnosis. However, symptoms can be confused with nutritional disorders (zinc, iron or manganese deficiencies) or with other diseases (e.g. Australian citrus dieback (‘Candidatus Phytoplasma’ sp.), citrus blight, Citrus tristeza virus, stubborn disease of citrus ( (Spiroplasma citri) and gummosis (Phytophthora spp.)). ‘Ca. Liberibacter’ spp. can also be present in the host plant at a very low concentration and can be unevenly distributed in the host plant, resulting in sparse symptoms that are easy to miss. | P | COSAVE To improve information Category : SUBSTANTIVE | Modified. Have included the “gummosis reference”. Have not included the sentence “and a necessary measure to subsidize decision on erradicating diseased plants. DPs should not direct NPPO decisions. |
| 75 | 68 | Inspection is important for detection in symptomatic plants and is a routine method for the surveillance of HLB in areas where the disease is not present. Yellow shoots and blotchy mottle symptoms on leaves are typical symptoms on HLB-infected trees and can be used on site as part of an initial diagnosis. However, symptoms can be confused with nutritional disorders (zinc, iron or manganese deficiencies) or with other diseases (e.g. Australian citrus dieback (‘Candidatus Phytoplasma’ sp.), citrus blight, Citrus tristeza virus, stubborn disease of citrus ( (Spiroplasma citri)). ‘Ca. Liberibacter’ spp. can also be present in the host plant at a very low concentration and can be is unevenly distributed in the host plant, resulting in sparse symptoms that are easy to miss. | P | EPPO Typo (one space deleted). This also have a great impact on disease detection, as one has to be careful when sampling plants, in order to get specific parts that are known to harbour high titre of HLB target cells. Category : SUBSTANTIVE | Incorporated. |
| 76 | 68 | Inspection is important for detection in symptomatic plants and is a routine method for the surveillance of HLB in areas where the disease is not present. Yellow shoots and blotchy mottle symptoms on leaves are typical symptoms on HLB-infected trees and can be used on site as part of an initial diagnosis. However, symptoms can be confused with nutritional disorders (zinc, iron or manganese deficiencies) or with other diseases (e.g. Australian citrus dieback (‘Candidatus Phytoplasma’ sp.), citrus blight, Citrus tristeza virus, stubborn disease of citrus ( (Spiroplasma citri)). ‘Ca. Liberibacter’ spp. can also be present in the host plant at a very low concentration and can be unevenly distributed in the host plant, resulting in sparse symptoms that are easy to miss. | P | New Zealand remove space Category : EDITORIAL | Incorporated. |
| 77 | 68 | Inspection is important for detection in symptomatic plants and is a routine method for the surveillance of HLB both in areas where the disease pest is not present or where it is present, as a necessary measure for early detection and subsidize decision on erradicating diseased plants. Yellow shoots and blotchy mottle symptoms on leaves are typical symptoms on HLB-infected trees and can be used on site as part of an initial diagnosis. However, symptoms can be confused with nutritional disorders (zinc, iron or manganese deficiencies) or with other diseases (e.g. Australian citrus dieback (‘Candidatus Phytoplasma’ sp.), citrus blight, Citrus tristeza virus, stubborn disease of citrus ( (Spiroplasma citri) and gummosis (Phytophthora spp.)). ‘Ca. Liberibacter’ spp. can also be present in the host plant at a very low concentration and can be unevenly distributed in the host plant, resulting in sparse symptoms that are easy to miss. | P | Brazil For clarification and improve the information Category : SUBSTANTIVE | Modified. Have included the “gummosis refernce”. Have not included the sentence “and a necessary measure to subsidize decision on erradicating diseased plants. DPs should not direct NPPO decisions. Given the broad range of activities for surveillance have shortened the first sentence so as not to define areas for surveillance. |
| 78 | 69 | Symptoms of HLB develop slowly. Infected trees gradually decline in vigour and yield and remain stunted or eventually die (Figure 1). The disease develops irregularly, so individual trees may show a mixture of normal and diseased sectors (Figure 2 and 3). This mixture within the same tree is a diagnostic characteristic (see ). | C | China Pictures here in this ISPM are not typical and China NPPO would like to provide. Category : SUBSTANTIVE | Incorporated. Note to secratariat need to go back to China to see if we can source some figures. |
| 79 | 70 | Symptoms first appear as leaf yellowing, followed by mottling and chlorosis in one shoot or sector of the tree. Later, leaf symptoms resemble nutritional deficiencies (zinc, copper or nitrogen) but may vary depending on the bacterial strainspecie. The larger leaves on the base of branches turn yellow along the main and secondary veins and later change to a “blotchy mottle”, with the two halves of the leaf being asymmetrical in terms of the pattern of yellow and green. This is the most characteristic foliar symptom (see ). | P | COSAVE Candidatus are species not strains Category : TECHNICAL | Modified. This sentence has been changed and strains deleted. |
| 80 | 70 | Symptoms first appear as leaf yellowing, followed by mottling and chlorosis in one shoot or sector of the tree. Later, leaf symptoms resemble nutritional deficiencies (zinc, copper or nitrogen) but may vary depending on the bacterial strain. The larger leaves on the base of branches turn yellow along the main and secondary veins and later change to a “blotchy mottle”, with the two halves of the leaf being asymmetrical in terms of the pattern of yellow and green. This is the most characteristic foliar symptom (see ). | C | EPPO Is there a publication associated? Category : TECHNICAL | Modified. This sentence has been deleted due to uncertainity of strain differences. |
| 81 | 70 | Symptoms first appear as leaf yellowing, followed by mottling and chlorosis in one shoot or sector of the tree. Later, leaf symptoms resemble nutritional deficiencies (zinc, copper or nitrogen) nitrogen), but may vary depending on the bacterial strain. The larger leaves on the base of branches turn yellow along the main and secondary veins and later change to a “blotchy mottle”, with the two halves of the leaf being asymmetrical in terms of the pattern of yellow and green. This is the most characteristic foliar symptom (see ). | P | EPPO A comma added. Category : EDITORIAL | Modified. This part of the sentence has been deleted to address other comments. |
| 82 | 70 | Symptoms first appear as leaf yellowing, followed by mottling and chlorosis in one shoot or sector of the tree. Later, leaf symptoms resemble nutritional deficiencies (zinc, copper or nitrogen) but may vary depending on the bacterial strainspecies. The larger leaves on the base of branches turn yellow along the main and secondary veins and later change to a “blotchy mottle”, with the two halves of the leaf being asymmetrical in terms of the pattern of yellow and green. This is the most characteristic foliar symptom (see ). | P | Uruguay Candidatus are species not strains Category : TECHNICAL | Modified. This sentence has been changed and strains deleted. |
| 83 | 70 | Symptoms first appear as leaf yellowing, followed by mottling and chlorosis in one shoot or sector of the tree. Later, leaf symptoms resemble nutritional deficiencies (zinc, copper or nitrogen) but may vary depending on the bacterial strainspecie. The larger leaves on the base of branches turn yellow along the main and secondary veins and later change to a “blotchy mottle”, with the two halves of the leaf being asymmetrical in terms of the pattern of yellow and green. This is the most characteristic foliar symptom (see ). | P | Brazil Candidatus are species not strains Category : SUBSTANTIVE | Modified. This sentence has been changed and strains deleted. |
| 84 | 71 | As the discoloration spreads away from the veins, the leaves become pale to light yellow with unevenly distributed dark green patches. Leaves on weak terminal twigs are small, upright and show a variety of chlorotic patterns. Infected fruits have a bitter and salty taste and a reduced Brix ratio, are smaller and of poor quality, often fail to develop normal fruit colour (colour inversion), and can often fall prematurely (see ). | P | EPPO Revised change by bouhot-delduc on 11 Aug 2021 19:01 Category : EDITORIAL | Incorporated |
| 85 | 71 | As the discoloration spreads away from the veins, the leaves become pale to light yellow with unevenly distributed dark green patches. Leaves on weak terminal twigs are small, upright and show a variety of chlorotic patterns. Infected fruits have a bitter and salty taste and a reduced Brix acid ratio, are smaller and of poor quality, often fail to develop normal fruit colour (colour inversion), and can fall prematurely (see ). | P | New Zealand This should be either a Brix acid ratio or, Brix value, not a Brix ratio. Category : TECHNICAL | Incorporated |
| 86 | 72 | The columella is curved, causing the fruit to be distorted and lopsided (see ). Seeds in the affected fruit are usually abortiveaborted. | P | COSAVE Clarification Category : TRANSLATION | Incorporated |
| 87 | 72 | The columella is curved, causing the fruit to be distorted and lopsided (see ). Seeds in the affected fruit are usually abortiveaborted. | P | Uruguay Clarification Category : EDITORIAL | Incorporated |
| 88 | 72 | The columella is curved, causing the fruit to be distorted and lopsided (see ). Seeds in the affected fruit are usually abortiveaborted. | P | Brazil Clarification Category : TRANSLATION | Incorporated |
| 3.2 Sampling and sample preparation |  |  |  |  |  |
| 89 | 75 | Huanglongbing is a systemic disease of citrus, and ‘Ca. L. asiaticus’ has been detected in bark tissue, leaf midrib, roots, and different floral and fruit parts of infected citrus trees (Tatineni et al., 2008). | C | EPPO These reference give more insights: 1. Li, W., L. Levy, and J. S. Hartung. 2009. Quantitative distribution of 'Candidatus Liberibacter asiaticus' in citrus plants with citrus huanglongbing. Phytopathology 99:139-144. 2. Louzada, E. S., O. E. Vazquez, W. E. Braswell, G. Yanev, M. Devanaboina, and M. Kunta. 2016. Distribution of 'Candidatus Liberibacter asiaticus' above and below ground in Texas citrus. Phytopathology 106:702-709. 3. Teixeira, D. C., C. Saillard, C. Couture, E. C. Martins, N. A. Wulff, S. Eveillard-Jagoueix, P. T. Yamamoto, A. J. Ayres, and J. M. Bové. 2008. Distribution and quantification of Candidatus Liberibacter americanus, agent of huanglongbing disease of citrus in Sao Paulo State, Brasil, in leaves of an affected sweet orange tree as determined by PCR. Mol. Cell. Probes 22:139-150. Category : TECHNICAL | Incorporated |
| 3.2.1 Symptomatic material |  |  |  |  |  |
| 90 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4°C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequence have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | C | EPPO the same information is provided in sentence starting with 'The midribs.... it should be merged also with the other comment stating that it is the 2/3rd of the leave. Category : TECHNICAL | Incorporated |
| 91 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4°C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequence have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | C | EPPO In the next paragraph some temperature indication is given. We believe this is for the cool box. Athough the temerature should be indicated as 'approximative' (see comment below) we believe the same information should be given here. Category : TECHNICAL | Incorporated |
| 92 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4°C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequence have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | C | EPPO Consider changing EPPO PM7/121 (2) states “Appropriate sample selection is critical for ‘Ca. Liberibacter’ spp. detection: each host tree should be sectioned into quadrants; each quadrant should be sampled to give a total of ~15 leaves per tree in order to get at least ~1 g of petiole and midribs from symptomatic or symptomless trees to be analyzed” NAPPO 2012 states “In symptomatic trees, samples are taken from 1 – 4 branches with symptomatic leaves or fruit.” Category : TECHNICAL | Incorporated |
| 93 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4 °C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequence have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | C | EPPO The first 2/3rd; and including the petiole. Category : TECHNICAL | Incorporated |
| 94 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4 °C 4°C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequence have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 95 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). In particular, the leaves should with typical symptoms. Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4 °C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequence have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | P | China ‘Ca. Liberibacter’ spp. are unevenly distributed in the host plant，collecting symptomatic leaves can avoid missed inspections. Category : TECHNICAL | Incorporated |
| 96 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4 °C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequenceconsequently have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | P | New Zealand Category : EDITORIAL | Incorporated |
| 97 | 77 | An appropriate sample from a symptomatic tree consists of five to ten leaves (NAPPO, 2012). Tissue prints of the petioles or the basal part of the leaves on membranes can also be used, as described by Bertolini et al. (2014) and Siverio et al. (2017) (see section 3.4.1). The leaf samples are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves can be processed at any time up to three weeks after collection if kept in sealed plastic bags or other sealed containers at 4 °C and if no decay has occurred. The midribs of collected leaves are excised and processed for DNA extraction because the leaf midribs are enriched in phloem vessels and as consequence have a higher titre of ‘Ca. Liberibacter’ cells. The older leaves and longer infected plants yield a higher titre of Liberibacter DNA (Nguyen, Le and Nguyen, 2003). There is also a higher titre of bacterial DNA in sieve tube cells of citrus leaf midribs than in lamina tissue (da Graça, 1991; Wang et al., 2006). | C | Brazil Shouldn't be at -4°C? Category : TECHNICAL | Not incorporated. The recommendation is 4°C. temperatures at -4°C may freeze the leaf material. |
| 3.2.2 Asymptomatic material |  |  |  |  |  |
| 98 | 79 | An appropriate sample from a symptomless tree consists of at least ten mature leaves collected from around the canopy of a tree (EPPO, 2014). For small trees (e.g. in a nursery), three to four leaves per tree are collected. The sampled leaves are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves should be kept in sealed plastic bags or sealed containers at approximately 4 °C and processed as soon as possible. | P | EPPO Category : TECHNICAL | Incorporated |
| 99 | 79 | An appropriate sample from a symptomless tree consists of at least ten mature leaves collected from around the canopy of a tree (EPPO, 2014). For small trees (e.g. in a nursery), three to four leaves per tree are collected. The sampled leaves are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves should be kept in sealed plastic bags or sealed containers at 4°C and processed as soon as possible. | C | EPPO Consider changing EPPO PM7/121 (2) states “Appropriate sample selection is critical for ‘Ca. Liberibacter’ spp. detection: each host tree should be sectioned into quadrants; each quadrant should be sampled to give a total of ~15 leaves per tree in order to get at least ~1 g of petiole and midribs from symptomatic or symptomless trees to be analyzed” NAPPO 2012 states “If symptoms are not present in a suspect tree, samples are taken from one year-old branches with 5 – 10 leaves from the upper portion of each of the four quadrants of the tree. If branches are not present, as in the case of small nursery trees, 1 – 12 mature leaves are taken from each tree” For the temperature 'approximately should be added before 4°C. precise temperatures can cause issues with accreditation bodies Category : TECHNICAL | Incorporated |
| 100 | 79 | An appropriate sample from a symptomless tree consists of at least ten mature leaves collected from around the canopy of a tree (EPPO, 2014). For small trees (e.g. in a nursery), three to four leaves per tree are collected. The sampled leaves are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves should be kept in sealed plastic bags or sealed containers at 4 °C 4°C and processed as soon as possible. | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 101 | 79 | An appropriate sample from a symptomless tree consists of at least ten mature leaves collected from around the canopy of a tree (EPPO, 2014). For small trees (e.g. in a nursery), three to four leaves per tree are collected. The sampled leaves are placed in a labelled plastic bag (one bag per tree), stored in a cool box while in the field, and refrigerated as soon as possible. Leaves should be kept in sealed plastic bags or sealed containers at 4 °C and processed as soon as possible. | C | Brazil Shouldn't be at -4°C? Category : TECHNICAL | Not incorporated. The recommendation is 4°C. temperatures at -4°C may freeze the leaf material. |
| 3.2.3 Psyllids |  |  |  |  |  |
| 102 | 80 | 3.2.3 Psyllids | C | China Add pictures about Psyllids and China NPPO would like to provide. Category : SUBSTANTIVE | Incorporated. Note to secratariat need to go back to China to see if we can source some figures. |
| 103 | 81 | The preparation of the specimen or specimens consists of placing the adults or nymphs in a labelled vial and then either processing them for DNA extraction immediately or preserving them in 70% more than 95% ethanol. The insects may also be squashed onto membranes (see section 3.4.2). | P | China If the psyllids are used for DNA extraction, it is suggested to store them in more than 95% alcohol to ensure the success of subsequent DNA extraction Category : SUBSTANTIVE | Not incorporated. Could not find any references to support this statement. Most recommendations in the literature are for 70 % ethanol. Could reconsider if references are provided. |
| 3.3 Biological detection (graft transmission) |  |  |  |  |  |
| 104 | 83 | Biological indexing is a reliable technique has proven value for ‘Ca. Liberibacter’ species detection despite the low rate of graft transmission and is suitable as a screening test for use by diagnosticians who have experience with symptom observation. The indicators used commonly are C. sinensis (sweet orange) or C. reticulata (mandarin) for ‘Ca. L. asiaticus’, sweet orange or (Citrus x tangelo (Orlando tangelo) for ‘Ca. L. africanus’, and C. sinensis or C. reticulata × C. sinensis (Murcott tangor) for ‘Ca. L. americanus’ (Lopes and Frare, 2008; NAPPO, 2012). Catharanthus roseus (periwinkle) may also be used: in this host, HLB can multiply and is present at a higher titre than in citrus plants after transmission by Cuscuta campestris (dodder) (Garnier and Bové, 1983), with the symptoms developing after three months at 25 °C (Bové, 2006; Nguyen, Le and Nguyen, , 2003). | P | Australia Biological indexing is not considered a reliable sole measure to be effective for managing the risk of HLB. Australia, for example, does not accept biological indexing as a sole measure to manage the risk of HLB associated with citrus nursery stock imports. Suggested reword is to avoid the assumption that biological indexing is the best method for ‘Ca. Liberibacter’ species detection. Category : TECHNICAL | Incorporated |
| 105 | 83 | Biological indexing is a reliable technique for ‘Ca. Liberibacter’ species detection despite the low rate of graft transmission and is suitable as a screening test for use by diagnosticians who have experience with symptom observation. The indicators used commonly are C. sinensis (sweet orange) or C. reticulata (mandarin) for ‘Ca. L. asiaticus’, sweet orange or (Citrus x tangelo (Orlando tangelo) for ‘Ca. L. africanus’, and C. sinensis or C. reticulata × C. sinensis (Murcott tangor) for ‘Ca. L. americanus’ (Lopes and Frare, 2008; NAPPO, 2012). Catharanthus roseus (periwinkle) may also be used: in this host, HLB can multiply and is present at a higher titre than in citrus plants after transmission by Cuscuta campestris (dodder) (Garnier and Bové, 1983), with the symptoms developing after three months at 25 °C 25°C (Bové, 2006; Nguyen, Le and Nguyen, , 2003). | P | EPPO Typos (one parenthesis, one space and one comma deleted). Category : EDITORIAL | Incorporated |
| 106 | 83 | Biological indexing is a reliable technique for ‘Ca. Liberibacter’ species detection despite the low rate of graft transmission and is suitable as a screening test for use by diagnosticians who have experience with symptom observation. The indicators used commonly are C. sinensis (sweet orange) or C. reticulata (mandarin) for ‘Ca. L. asiaticus’, sweet orange or (Citrus x tangelo (Orlando tangelo) for ‘Ca. L. africanus’, and C. sinensis or C. reticulata × C. sinensis (Murcott tangor) for ‘Ca. L. americanus’ (Lopes and Frare, 2008; NAPPO, 2012). Catharanthus roseus (periwinkle) may also be used: in this host, HLB can multiply and is present at a higher titre than in citrus plants after transmission by Cuscuta campestris (dodder) (Garnier and Bové, 1983), with the symptoms developing after three months at 25 °C (Bové, 2006; Nguyen, Le and Nguyen, , 2003). | C | New Zealand the font should be consistent with other scientific names Category : EDITORIAL | Incorporated |
| 107 | 84 | There are several recommendations for selecting plant material for grafting onto indicator plants. According to Lopes et al. (2009), the best inoculum is from symptomatic branches (particularly those showing symptoms within the previous 12 months) that are suspected to be infected by any ‘Ca. Liberibacter’ spp. The selected branch piece is cut into segments, each 2–4 cm long, and the segments are grafted onto the opposite side stem of the indicator twigpotted plant. After inoculation, the graft is protected with polyethylene tape, the grafted indicator twig is protected with a polyethylene bag, and the plants are maintained in a greenhouse. The grafted indicator plants are then inspected regularly (one or twice a month)regularly. The first symptoms usually appear at three to four or five months after inoculation with a light yellowing of the mature apical leaves (similar toleaf manganese or iron deficiencies) and progress to the appearance of blotchy mottled leaves showing a diffuse mottling (diffuse and asymmetrical light chlorosis chlorosis) and eventually vein thickning after 6 to 12 months (Lopes and Frare, 2008; EPPO, 2014). | P | COSAVE Better clarification of the method and symptoms. Information provided by the author. Category : TECHNICAL | Incorporated |
| 108 | 84 | There are several recommendations for selecting plant material for grafting onto indicator plants. According to Lopes et al. (2009), the best inoculum is from symptomatic branches (particularly those showing symptoms within the previous 12 months) that are suspected to be infected by any ‘Ca. Liberibacter’ spp. The selected branch piece is cut into segments, each 2–4 cm long, and the segments are grafted onto the opposite side of the indicator twig. After inoculation, the graft is protected with polyethylene tape, the grafted indicator twig is protected with a polyethylene bag, and the plants are maintained in a greenhouse. The grafted indicator plants are then inspected regularly (one or twice a month). The first symptoms appear at four or five months after inoculation with yellowing of the apical leaves (similar to manganese or iron deficiencies) and progress to the appearance of blotchy mottled leaves showing a diffuse and asymmetrical light chlorosis after 6 to 12 months (Lopes and Frare, 2008; EPPO, 2014). | C | EPPO the EPPO Standard PM 7/121 recommends 3-5 cm. Category : TECHNICAL | Incorporated |
| 109 | 84 | There are several recommendations for selecting plant material for grafting onto indicator plants. According to Lopes et al. (2009), the best inoculum is from symptomatic branches (particularly those showing symptoms within the previous 12 months) that are suspected to be infected by any ‘Ca. Liberibacter’ spp. The selected branch piece is cut into segments, each 2–4 cm long, and the segments are grafted onto the opposite side stem of the indicator twigpotted plant. After inoculation, the graft is protected with polyethylene tape, the grafted indicator twig is protected with a polyethylene bag, and the plants are maintained in a greenhouse. The grafted indicator plants are then inspected regularly (one or twice a month)regularly. The first symptoms usually appear at three to four or five months after inoculation with a light yellowing of the mature apical leaves (similar toleaf a manganese or iron deficiencies) and nd progress to the appearance of blotchy mottled leaves showing a diffuse mottling (diffuse and asymmetrical light chlorosis chlorosis) and eventually vein thickning after 6 to 12 months (Lopes and Frare, 2008; EPPO, 2014). | P | Uruguay Better clarification of the method and symptoms. Information provided by the author Category : TECHNICAL | Incorporated |
| 110 | 84 | There are several recommendations for selecting plant material for grafting onto indicator plants. According to Lopes et al. (2009), the best inoculum is from symptomatic branches (particularly those showing symptoms within the previous 12 months) that are suspected to be infected by any ‘Ca. Liberibacter’ spp. The selected branch piece is cut into segments, each 2–4 cm long, and the segments are side grafted onto the opposite side stem of the indicator twigpotted plant. After inoculation, the graft is protected with polyethylene tape, the grafted indicator twig is protected with a polyethylene bag, and the plants are maintained in a greenhouse. The grafted indicator plants are then inspected regularly (one or twice a month)regularly. The first symptoms usually appear at three to four or five months after inoculation with a light yellowing of the mature apical leaves (similar toleaf manganese or iron deficiencies) and progress to the appearance of blotchy mottled leaves showing a diffuse mottling (diffuse and asymmetrical light chlorosis chlorosis) and eventually vein thickning after 6 to 12 months (Lopes and Frare, 2008; EPPO, 2014). | P | Brazil Better clarification of the method and symptoms. Information provided by the author Category : TECHNICAL | Incorporated |
| 111 | 85 | Leaf grafting is performed using a 3 × 12 mm section of the midrib part of the leaf, placed into a T-cut in the bark of an indicator seedling (Roistacher, 1991). The grafted plants are kept at 20–25 °C for ‘Ca. Liberibacter africanus’ and at 25–32 °C for ‘Ca. Liberibacter asiaticus’ (EPPO, 2014). It has been demonstrated that ‘Ca. L. asiaticus’ is transmitted more efficiently than ‘Ca. L. americanus’ and reaches a higher titre in the infected plant (Hall et al., 2012)2012) (Lopes et. al., 2009). | P | COSAVE Please, confirm Hall et al. 2012 Category : EDITORIAL | Incorporated. Corrected reference should be 2013. |
| 112 | 85 | Leaf grafting is performed using a 3 × 12 mm section of the midrib part of the leaf, placed into a T-cut in the bark of an indicator seedling (Roistacher, 1991). The grafted plants are kept at 20–25 °C 20–25°C for ‘Ca. Liberibacter africanus’ and at 25–32 °C 25–32°C for ‘Ca. Liberibacter asiaticus’ (EPPO, 2014). It has been demonstrated that ‘Ca. L. asiaticus’ is transmitted more efficiently than ‘Ca. L. americanus’ and reaches a higher titre in the infected plant (Hall et al., 2012). | P | EPPO Typos (two spaces deleted). Category : EDITORIAL | Incorporated |
| 113 | 85 | Leaf grafting is performed using a 3 3mm × 12 mm section of the midrib part of the leaf, placed into a T-cut in the bark of an indicator seedling (Roistacher, 1991). The grafted plants are kept at 20–25 °C for ‘Ca. Liberibacter africanus’ and at 25–32 °C for ‘Ca. Liberibacter asiaticus’ (EPPO, 2014). It has been demonstrated that ‘Ca. L. asiaticus’ is transmitted more efficiently than ‘Ca. L. americanus’ and reaches a higher titre in the infected plant (Hall et al., 2012). | P | New Zealand to reduce ambigulty Category : EDITORIAL | Incorporated |
| 114 | 85 | Leaf grafting is performed using a 3 × 12 mm section of the midrib part of the leaf, placed into a T-cut in the bark of an indicator seedling (Roistacher, 1991). The grafted plants are kept at 20–25 °C for ‘Ca. Liberibacter africanus’ and at 25–32 °C for ‘Ca. Liberibacter asiaticus’ (EPPO, 2014). It has been demonstrated that ‘Ca. L. asiaticus’ is transmitted more efficiently than ‘Ca. L. americanus’ and reaches a higher titre in the infected plant (Hall et al., 2012)2012, Lopes et al., 2009). | P | Uruguay Please confirm Hall et al, 2012 Category : EDITORIAL | Incorporated |
| 115 | 85 | Leaf grafting is performed using a 3 × 12 mm section of the midrib part of the leaf, placed into a T-cut in the bark of an indicator seedling (Roistacher, 1991). The grafted plants are kept at 20–25 °C for ‘Ca. Liberibacter africanus’ and at 25–32 °C for ‘Ca. Liberibacter asiaticus’ (EPPO, 2014). It has been demonstrated that ‘Ca. L. asiaticus’ is transmitted more efficiently than ‘Ca. L. americanus’ and reaches a higher titre in the infected plant (Hall et al., 2012)2012) (Lopes et al., 2009). | P | Brazil Please, confirm Hall et al. Category : EDITORIAL | Incorporated |
| 3.4 Molecular detection |  |  |  |  |  |
| 116 | 87 | Conventional PCR is relatively sensitive and specific, particularly when symtomatic samples are intended to be diagnosed. This test can lead to false negative results when Although conventional PCR is relatively sensitive and specific, this test can lead to false negative results when the concentration of the bacterium is too low to detect, for instance in newly infected trees with a low concentration and uneven distribution of the pathogen (Bové, 2006). Consequently, conventional PCR should only be used on plants exhibiting symptoms and is not reliable for the detection of ‘Ca. Liberibacter’ spp. in symptomless plants. However, real-time PCR may be useful in programmes for the production of certified citrus nursery trees and in post-entry quarantine. Li et al. (2006), Teixeira et. al., 2008a and Bertolini et al. (2014) have reported that real-time PCR can detect ‘Ca. Liberibacter’ spp. in symptomless samples of infected plants and is more convenient for early detectiondetection than conventional PCR. | P | COSAVE For better clarification and improve information. Category : TECHNICAL | Incorporated |
| 117 | 87 | Although conventional Conventional PCR is relatively sensitive and specific, this particularly when symptomatic samples are intended to be diagnosed. This test can lead to false negative results when the concentration of the bacterium is too low to detect, for instance in newly infected trees with a low concentration and uneven distribution of the pathogen (Bové, 2006). Consequently, conventional PCR should only be used on plants exhibiting symptoms and is not reliable for the detection of ‘Ca. Liberibacter’ spp. in symptomless plants. However, real-time PCR may be useful in programmes for the production of certified citrus nursery trees and in post-entry quarantine. Li et al. (2006) and Bertolini et al. (2014) have reported that real-time PCR can detect ‘Ca. Liberibacter’ spp. in symptomless samples of infected plants and is more convenient for early detectiondetection than conventional PCR. | P | Uruguay For better clarification and improve information Category : TECHNICAL | Incorporated |
| 118 | 87 | Conventional PCR is relatively sensitive and specific, particularly when symptomatic samples are intended to be diagnosed. This test can lead to false negative results when Although conventional PCR the concentration of the bacterium is relatively sensitive and specific, this test can lead too low to false negative results when detect, for instance in newly infected and assymptomatic trees with a low concentration and uneven distributionthe concentration of the bacterium is too low to detect, for instance in newly infected trees with a low concentration and uneven distribution of the pathogen (Bové, 2006). Consequently, conventional PCR should only be used on plants exhibiting symptoms and is not reliable for the detection of ‘Ca. Liberibacter’ spp. in symptomless plants. However, real-time PCR may be useful in programmes for the production of certified citrus nursery trees and in post-entry quarantine. Li et al. (2006), Teixeira et al. (2008a) and Bertolini et al. (2014) have reported that real-time PCR can detect ‘Ca. Liberibacter’ spp. in symptomless samples of infected plants and is more convenient for early detectiondetection than conventional PCR. | P | Brazil For better clarification and improve information Category : SUBSTANTIVE | Incorporated |
| 3.4.1 Nucleic acid extraction from plant material |  |  |  |  |  |
| 119 | 88 | 3.4.1 Nucleic acid extraction from plant material | C | EPPO A new and rapid method can be used for DNA extraction, and consists of grinding plant midribs and petioles with a 2% NaOH solution and diluting the liquid phase at 1/50 for molecular amplification. Validation data available and tested with Li et al. 2006 qPCR. Cf EPPO PM7/121 revised version Category : TECHNICAL | Incorporated. |
| 120 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65 °C. The resulting extract is centrifugated at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20 °C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20 °C. | C | COSAVE A foot note associated with each brand name should be included as agreed in other DPs for example DP 26. The foot note should read: "The use of names of reagents, chemicals or equipment in these diagnostic protocols implies no approval of them to the exclusion of others that may also be suitable" Category : TECHNICAL | Incorporated. Still to be fixed. |
| 121 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols β-mercaptoethanol is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65 °C. The resulting extract is centrifugated at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20 °C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20 °C. | P | EPPO β-mercaptoethanol ( witthout "s") Category : EDITORIAL | Incorporated |
| 122 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65°C. The resulting extract is centrifugated at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20°C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20°C. | C | EPPO Add until use Category : TECHNICAL | Incorporated |
| 123 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65°C. The resulting extract is centrifugated at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20°C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20°C. | C | EPPO (24:1 (v/v)) Category : TECHNICAL | Incorporated |
| 124 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65°C. The resulting extract is centrifugated at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20°C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20°C. | C | EPPO As it is written, it seems that the buffer is added after the homogenization of the sample. Instead, it should be present during homogenization. In addition, it should be specified that β-mercaptoethanol should be added to the buffer immediately before use Category : TECHNICAL | Incorporated |
| 125 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65 °C65°C. The resulting extract is centrifugated at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20 °C −20°C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20 °C−20°C. | P | EPPO Typos (three spaces deleted). Category : EDITORIAL | Incorporated. |
| 126 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65 °C. The resulting extract is centrifugated centrifuged at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated centrifuged at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20 °C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20 °C. | P | New Zealand Both spellings exist, but centrifugated is rare Category : EDITORIAL | Incorporated |
| 127 | 90 | CTAB extraction. The plant tissue (500 mg midribs) is disrupted either by use of commercially available equipment (a Fastprep (MP Biomedicals) instrument or a Mini-Beadbeater (BioSpec) instrument) or manually by grinding with a mortar and pestle or by crushing the tissue in a plastic bag. Cetyl trimethyl ammonium bromide (CTAB) buffer (3 mL) containing 0.2% β-mercaptoethanols is added and stirred. After this, 2 mL homogenate is transferred to a microtube and incubated, if possible with shaking, for at least 15 min at 65 °C. The resulting extract is centrifugated at 3 000 g for 5 min in a microcentrifuge and 1 mL supernatant is then put in a 2 mL microtube with 1 mL chloroform-isoamyl alcohol solution (24:1), mixed and centrifugated at 14 000 g for 5 min. The aqueous phase is transferred to a new microtube, mixed with 0.6 volume of cold isopropanol and kept at −20 °C for 30 min before centrifugation at 14 000 g for 20 min. The supernatant is discarded and the pellet washed twice with 70% ethanol and resuspended in 100 µL sterile distilled water. The resulting extracts can be stored at −20 °C. | C | Uruguay A footnote associated with each brand name should be included as agreed in other DPs, for example DP 26. The footnote should read "The use of names of reagents, chemicals or equipment in this diagnostic protocol implies no approval of them to the exlusion of others that may also be suitable" Category : TECHNICAL | Incorporated. Still to be fixed. |
| 128 | 91 | Commercial kits. After using any of the disruption methods described above in relation to CTAB extraction, DNA extraction is carried out using the DNeasy Plant Mini Kit (Qiagen) according to the manufacturer’s instructions. | C | COSAVE See comment in paragraph 90 Category : TECHNICAL | Incorporated. Still to be fixed. |
| 129 | 91 | Commercial kits. After using any of the disruption methods described above in relation to CTAB extraction, DNA extraction is carried out using the DNeasy Plant Mini Kit (Qiagen) according to the manufacturer’s instructions. | C | EPPO only one kit is mentioned. Delete 's' or should the DNeasy kit be mentioned as an example opening the possibility for other kits? Category : TECHNICAL | Incorporated |
| 130 | 91 | Commercial kits. After using any of the disruption methods described above in relation to CTAB extraction, DNA extraction is carried out using the DNeasy Plant Mini Kit (Qiagen) according to the manufacturer’s instructions. | C | Uruguay See comment in paragraph 90 Category : TECHNICAL | Incorporated. Still to be fixed. |
| 131 | 92 | Plant tissue print. The plant tissue print method is a rapid, direct method of sample preparation (Bertolini et al., 2008) that can be done under field conditions and has demonstrated its efficiency when combined with the real-time PCR detection method of Bertolini et al. (2014). The tissue print method is performed by pressing five to ten fresh, manually detached, citrus leaf petioles onto an area (0.5 cm2) of a positively charged nylon or 3MM filter paper membrane (Bertolini et al., 2008). The tissue printed membrane is cut out and inserted into microcentrifuge tubes containing either 100 µL distilled water, 0.5% Triton X-100 or glycine buffer (0.1 M glycine, 0.05 M NaCl, 1 mM ethylenediaminetetraacetic acid (EDTA)). Samples are then incubated at 100°C at for 10 min as described by Bertolini et al. (2014), vortexed and placed on ice until use. | C | EPPO “…inserted, with tweezers, into microcentrifuge tubes…” Category : TECHNICAL | Incorporated |
| 132 | 92 | Plant tissue print. The plant tissue print method is a rapid, direct method of sample preparation (Bertolini et al., 2008) that can be done under field conditions and has demonstrated its efficiency when combined with the real-time PCR detection method of Bertolini et al. (2014). The tissue print method is performed by pressing five to ten fresh, manually detached, citrus leaf petioles onto an area (0.5 cm2) of a positively charged nylon or 3MM filter paper membrane (Bertolini et al., 2008). The tissue printed membrane is cut out and inserted into microcentrifuge tubes containing either 100 µL distilled water, 0.5% Triton X-100 or glycine buffer (0.1 M glycine, 0.05 M NaCl, 1 mM ethylenediaminetetraacetic acid (EDTA)). Samples are then incubated at 100°C at for 10 min as described by Bertolini et al. (2014), vortexed and placed on ice until use. | C | EPPO From Bertolini et al., 2014: “Samples were then incubated at 100°C or at room temperature for 10 min, vortexed and placed on ice until use.” EPPO EPPO PM7/121 (2), for plant material no incubation is reported. Category : TECHNICAL | Incorporated. |
| 133 | 92 | Plant tissue print. The plant tissue print method is a rapid, direct method of sample preparation (Bertolini et al., 2008) that can be done under field conditions and has demonstrated its efficiency when combined with the real-time PCR detection method of Bertolini et al. (2014). The tissue print method is performed by pressing five to ten fresh, manually detached, citrus leaf petioles onto an area (0.5 cm2) of a positively charged nylon or 3MM filter paper membrane (Bertolini et al., 2008). The tissue printed membrane is cut out and inserted into microcentrifuge tubes containing either 100 µL distilled water, 0.5% Triton X-100 or glycine buffer (0.1 M glycine, 0.05 M NaCl, 1 mM ethylenediaminetetraacetic acid (EDTA)). Samples are then incubated at 100 °C at for 10 min as described by Bertolini et al. (2014), vortexed and placed on ice until use. | C | EPPO delete Category : EDITORIAL | Incorporated |
| 134 | 92 | Plant tissue print. The plant tissue print method is a rapid, direct method of sample preparation (Bertolini et al., 2008) that can be done under field conditions and has demonstrated its efficiency when combined with the real-time PCR detection method of Bertolini et al. (2014). The tissue print method is performed by pressing five to ten fresh, manually detached, citrus leaf petioles onto an area (0.5 cm2) of a positively charged nylon or 3MM filter paper membrane (Bertolini et al., 2008). The tissue printed membrane is cut out and inserted into microcentrifuge tubes containing either 100 µL distilled water, 0.5% Triton X-100 or glycine buffer (0.1 M glycine, 0.05 M NaCl, 1 mM ethylenediaminetetraacetic acid (EDTA)). Samples are then incubated at 100 °C 100°C at for 10 min as described by Bertolini et al. (2014), vortexed and placed on ice until use. | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 3.4.2 Nucleic acid extraction from the psyllid vectors |  |  |  |  |  |
| 135 | 94 | Manjunath et al. (2008). In this method, the psyllids (up to 50) are air-dried for 10 min, transferred to a 1.5 mL microtube containing 300 µL extraction buffer (10 mM Tris, pH 8.0, 100 mM NaCl, 1 mM EDTA, and 2% Sodium dodecyl sulphate) and 20 units of Proteinase K (New England Biolabs), ground finely and incubated either at 50 °C for 3 h or 37 °C overnight. An equal volume of phenol-chloroform-isoamyl alcohol (25:24:1) is added, vortexed and the aqueous phase transferred to a second tube containing 300 µL chloroform- isoamyl alcohol (24:1) and the extraction procedure is repeated. The aqueous phase is ethanol precipitated and the resulting DNA pellet is dissolved in 20–50 µL sterile water and stored at −20 °C. | C | COSAVE See comment in paragraph 90 Category : TECHNICAL | Incorporated. Still to be fixed. |
| 136 | 94 | Manjunath et al. (2008). In this method, the psyllids (up to 50) are air-dried for 10 min, transferred to a 1.5 mL microtube containing 300 µL extraction buffer (10 mM Tris, pH 8.0, 100 mM NaCl, 1 mM EDTA, and 2% Sodium dodecyl sulphate) and 20 units of Proteinase K (New England Biolabs), ground finely and incubated either at 50 °C 50°C for 3 h or 37 °C 37°C overnight. An equal volume of phenol-chloroform-isoamyl alcohol (25:24:1) is added, vortexed and the aqueous phase transferred to a second tube containing 300 µL chloroform- isoamyl alcohol (24:1) and the extraction procedure is repeated. The aqueous phase is ethanol precipitated and the resulting DNA pellet is dissolved in 20–50 µL sterile water and stored at −20 °C20°C. | P | EPPO Typos (three spaces deleted). Category : EDITORIAL | Incorporated |
| 137 | 94 | Manjunath et al. (2008). In this method, the psyllids (up to 50) are air-dried for 10 min, transferred to a 1.5 mL microtube containing 300 µL extraction buffer (10 mM Tris, pH 8.0, 100 mM NaCl, 1 mM EDTA, and 2% Sodium dodecyl sulphate) and 20 units of Proteinase K (New England Biolabs), ground finely and incubated either at 50 °C for 3 h or 37 °C overnight. An equal volume of phenol-chloroform-isoamyl alcohol (25:24:1) is added, vortexed and the aqueous phase transferred to a second tube containing 300 µL chloroform- isoamyl alcohol (24:1) and the extraction procedure is repeated. The aqueous phase is ethanol precipitated and the resulting DNA pellet is dissolved in 20–50 µL sterile water and stored at −20 °C. | P | New Zealand remove space Category : EDITORIAL | Incorporated |
| 138 | 94 | Manjunath et al. (2008). In this method, the psyllids (up to 50) are air-dried for 10 min, transferred to a 1.5 mL microtube containing 300 µL extraction buffer (10 mM Tris, pH 8.0, 100 mM NaCl, 1 mM EDTA, and 2% Sodium dodecyl sulphate) and 20 units of Proteinase K (New England Biolabs), ground finely and incubated either at 50 °C for 3 h or 37 °C overnight. An equal volume of phenol-chloroform-isoamyl alcohol (25:24:1) is added, vortexed and the aqueous phase transferred to a second tube containing 300 µL chloroform- isoamyl alcohol (24:1) and the extraction procedure is repeated. The aqueous phase is ethanol precipitated and the resulting DNA pellet is dissolved in 20–50 µL sterile water and stored at −20 °C. | C | Uruguay See comment in paragraph 90 Category : TECHNICAL | Incorporated. Still to be fixed. |
| 139 | 95 | Bertolini et al. (2014). In this method, individual psyllids are inmobilized and squashed on nylon or paper membranes with the bottom end of a microcentrifuge tube. Pieces of membrane harbouring the squashed samples are inserted into microtubes containing 100 µL distilled water, 0.5% Triton X-100 or glycine buffer (0.1 M glycine, 0.05 M NaCl, 1 mM EDTA). Samples are then incubated at 100°C for 10 min as described by Bertolini et al. (2014), vortexed and placed on ice until used for real-time PCR. | C | EPPO From Bertolini et al., 2014: “Samples were then incubated at 100°C or at room temperature for 10 min, vortexed and placed on ice until use.” In EPPO EPPO PM7/121 (2) for psyllid is reported only 10 min at room temperature. Category : TECHNICAL | Incorporated |
| 140 | 95 | Bertolini et al. (2014). In this method, individual psyllids are inmobilized and squashed on nylon or paper membranes with the bottom end of a microcentrifuge tube. Pieces of membrane harbouring the squashed samples are inserted into microtubes containing 100 µL distilled water, 0.5% Triton X-100 or glycine buffer (0.1 M glycine, 0.05 M NaCl, 1 mM EDTA). Samples are then incubated at 100 °C 100°C for 10 min as described by Bertolini et al. (2014), vortexed and placed on ice until used for real-time PCR. | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 141 | 96 | NAPPO (2012). In this method, one to five adult psyllids are placed into a microfuge tube and homogenized in the tube with a micropestle. DNA extraction is then carried out using the commercial kit Qiagen DNeasy Blood and Tissue Kit according to the manufacturer’s instructions. | C | COSAVE See comment in paragraph 90 Category : TECHNICAL | Incorporated. Still to be fixed. |
| 142 | 96 | NAPPO (2012). In this method, one to five adult psyllids are placed into a microfuge tube and homogenized in the tube with a micropestle. DNA extraction is then carried out using the commercial kit Qiagen DNeasy Blood and Tissue Kit according to the manufacturer’s instructions. | C | Uruguay See comment in paragraph 90 Category : TECHNICAL | Incorporated. Still to be fixed. |
| 3.4.3 Conventional PCR |  |  |  |  |  |
| 143 | 97 | 3.4.3 Conventional PCR | C | Japan In this section, two conventional PCR method to detect Ca. L. asiaticus and Ca. L. africanus are introduced as “3.4.3.1 Jagoueix et al. (1996)” and “3.4.3.2 Hocquellet et al. (1999)”. There is, however, more sensitive method to detect Ca. L. asiaticus published by Fujikawa et al. (2012) *. It is considered that this method is more useful in the Asian region and the American continent where only Ca. L. asiaticus is present among Ca species. So, we propose to add the method of Fujikawa et al. (2012) in this section. * Fujikawa T, Iwanami T. Sensitive and robust detection of citrus greening (huanglongbing) bacterium “Candidatus Liberibacter asiaticus” by DNA amplification with new 16S rDNA specific primers. Molecular and Cellular Probes 26 (2012) 194-197 Category : TECHNICAL | For consideration by TPDP. Is this method widely used – lack of validation data Should it be included. |
| 144 | 98 | Conventional PCR has proven to be a reliable, specific and sensitive technique for detecting ‘Ca. Liberibacter’ species in HLB-infected symptomatic trees. Li, Hartung and Levy (2007) determined that there were no significant differences in sensitivity among the conventional PCR methods listed below. All conventional PCR methods can detect 10-2 dilutions of DNA extracts obtained from 200 mg of midribs from infected plants. Wang et al. (2006) quantified the detection sensitivity of conventional PCR as 439 fg/µL DNA extract from infected plants. | P | China The target of the PCR is the DNA of ‘Candidatus Liberibacter’ spp. in the plant tissue. Category : SUBSTANTIVE | Incorporated |
| 145 | 100 | Jagoueix et al. (1996) used three primers in the same PCR mixture: OA1, OI1 and OI2c (Teixeira et al., 2005a, 2005b). The primer sequences, which are based on the 16S rDNA sequences, are as follows: | C | EPPO Should the order rather be "...OI1, OA1..." because of the order used in paragraphs 101 and 102 and in paragraph 104"? Category : TECHNICAL | Incorporated |
| 146 | 101 | OI1 (forward):5´- GCG CGT ATG CAA TAC GAG CGG CA – - 3´ | P | EPPO Typo ("–" replaced with "-" for consistency). Category : EDITORIAL | Incorporated |
| 147 | 101 | OI1 (forward):5´- GCG CGT ATG CAA TAC GAG CGG CA – 3´ | C | United States of America According to updated CLas genome sequences (Duan et al, 2009, and whole genome sequences of other CLas strains deposited in NCBI GenBank), a missing nucleotide “G” should be added in the primer sequences of “[101]OI1 (forward)” and “[247]HLBas (forward primer)” for specific amplifycation of partial 16S rDNA of ‘Ca. L. asiaticus’. [101]OI1 (forward):5´- GCG CGT ATG C”G”AA TAC GAG CGG CA – 3´ Category : TECHNICAL | Incorporated |
| 148 | 104 | The primer pair OI1/OI2c amplifies ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’; the primer pair OA1/OI2c preferentially amplifies ‘Ca. L. africanus’. The sequence of the reverse primer OI2c is the same for all three ‘Ca. Liberibacter’ species associated with HLB. The sequences of the forward primer OA1 for ‘Ca. L. africanus’ and OI1 for ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’ are identical except that GCA in OI1 is replaced by TTT in OA1. | C | EPPO In Teixeira et al., 2005a it is reported that the sequence of the reverse primer OI2c is not the same for all three species. It is the same for ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’. In ‘Ca. L. americanus’ sequence there are three different nucleotides. Category : TECHNICAL | Modified. Agree these sentences have been removed as with other changes to primer sequence they are no longer relevant to the protocol. |
| 149 | 104 | The primer pair OI1/OI2c amplifies ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’; the primer pair OA1/OI2c preferentially amplifies ‘Ca. L. africanus’. The sequence of the reverse primer OI2c is the same for all three ‘Ca. Liberibacter’ species associated with HLB. The sequences of the forward primer OA1 for ‘Ca. L. africanus’ and OI1 for ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’ are identical except that GCA in OI1 is replaced by TTT in OA1. | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 150 | 104 | The primer pair OI1/OI2c amplifies ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’; the primer pair OA1/OI2c preferentially amplifies ‘Ca. L. africanus’. The sequence of the reverse primer OI2c is the same for all three ‘Ca. Liberibacter’ species associated with HLB. The sequences of the forward primer OA1 for ‘Ca. L. africanus’ and OI1 for ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’ are identical except that GCA in OI1 is replaced by TTT in OA1. | P | New Zealand Category : EDITORIAL | Incorporated |
| 151 | 105 | Although Jagoueix et al. (1996) determined that the primer pair OI1/OI2c detects ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’, this primer pair does not detect ‘Ca. L. americanus’ (Li, Hartung and Levy, 2007). No amplification was obtained when this primer pair was tested on Acinetobacter lwoffi, . Agrobacterium tumefaciens, Citrus tristeza virus, Escherichia coli, ‘Candidatus Phytoplasma aurantifolia’ (lime witches broom phytoplasma), ‘Candidatus Phytoplasma solani’ (stolbur phytoplasma), Spiroplasma citri, Xanthomonas campestris, and Xylella fastidiosa. The sensitivity of the method was not quantified, but although amplifications were obtained from 20 mg of infected midribs they were not obtained when lesser amounts of infected midribs were mixed with 1 g of healthy midrib tissue. | P | Japan If the method is specific for detecting the target species of this protocol, there is no need to describe that other certain species are not detected. It is better to simplify the description to avoid unnecessary misunderstanding (e.g. other species than the written species here can be detected?). Category : SUBSTANTIVE | Modified. ISPM 27 and instruction to authors requires specificity data to be included. The sentence has been revised to try and avoid misunderstanding. |
| 152 | 105 | Although Jagoueix et al. (1996) determined that the primer pair OI1/OI2c detects ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’, this primer pair does not detect ‘Ca. L. americanus’ (Li, Hartung and Levy, 2007). No amplification was obtained when this primer pair was tested on on Acinetobacter lwoffi, Agrobacterium tumefaciens, Citrus tristeza virus, Escherichia coli, ‘Candidatus Phytoplasma aurantifolia’ (lime witches broom phytoplasma), ‘Candidatus Phytoplasma solani’ (stolbur phytoplasma), Spiroplasma citri, Xanthomonas campestris, and Xylella fastidiosa. . The sensitivity of the method was not quantified, but although amplifications were obtained from 20 mg of infected midribs they were not obtained when lesser amounts of infected midribs were mixed with 1 g of healthy midrib tissue. | P | EPPO Typos (two spaces and a comma deleted). Category : EDITORIAL | Incorporated |
| 153 | 105 | Although Jagoueix et al. (1996) determined that the primer pair OI1/OI2c detects ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’, this primer pair does not detect ‘Ca. L. americanus’ (Li, Hartung and Levy, 2007). No amplification was obtained when this primer pair was tested on on Acinetobacter lwoffi, Agrobacterium tumefaciens, Citrus tristeza virus, Escherichia coli, ‘Candidatus Phytoplasma aurantifolia’ (lime witches broom phytoplasma), ‘Candidatus Phytoplasma solani’ (stolbur phytoplasma), Spiroplasma citri, Xanthomonas campestris, and Xylella fastidiosa. . The sensitivity of the method was not quantified, but although amplifications were obtained from 20 mg of infected midribs midribs, they were not obtained when lesser amounts of infected midribs were mixed with 1 g of healthy midrib tissue. | P | New Zealand remove space requires a comma Category : EDITORIAL | Incorporated |
| 154 | 131 | 94 °C 94°C for 2 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 155 | 135 | 92 °C 92°C for 60 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 156 | 137 | 72 °C 72°C for 90 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 157 | 139 | 72 °C 72°C for 10 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 158 | 146 | 3.4.3.2 Conventional PCR using the primers of Hocquellet et al. (1999) | C | EPPO in the EPPO PM 7/121 the PCR conditions (temperatures reaction volume) have been optimized for their use in duplex PCR with Teixeira et◦al. (2005a) Category : TECHNICAL | Modified. Will include that this can be an option and refer to EPPO PM7/121 for further information. |
| 159 | 146 | 3.4.3.2 Conventional PCR using the primers of Hocquellet et al. (1999) | C | EPPO These primers can be used in duplex PCR with GB1 and GB3 primers by Teixeira et al 2005. The duplex PCR was reported in Cellier et al., 2020 “even though no ‘Ca. L. americanus’ DNA samples were tested”. EURL bacteriology, coordinated by Maria Vlami (NVWA), performed in 2020 a Test Performance Study (TPS) with the duplex setting on ‘Candidatus Liberibacter americanus’ and ‘Candidatus Liberibacter asiaticus’ organised by NVWA. In EPPO 7/121(2) only the duplex PCR is indicated: “Appendix 5 Duplex Conventional PCR adapted from Teixeira et al. (2005) and Hocquellet et al. (1999)” Category : TECHNICAL | Modified. Will include that this can be an option and refer to EPPO PM7/121 for further information. |
| 160 | 147 | Hocquellet et al. (1999) designed the primers A2 and J5 specifically to detect ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’. No amplifications were obtained when this method was used on .A. tumefaciens, A. lwoffi, E. coli, Xanthomonas axonopodis pv. citri, X. fastidiosa S. citri, ‘Candidatus Phytoplasma aurantifolia’, and ‘Candidatus Phytoplasma solani’ (stolbur phytoplasma). These primers do not detect ‘Ca. L. americanus’ (Li, Hartung and Levy, 2007). | P | Japan If the method is specific for detecting the target species of this protocol, there is no need to describe that other certain species are not detected. It is better to simplify the description to avoid unnecessary misunderstanding (e.g. other species than the written species here can be detected?) Category : SUBSTANTIVE | Modified. ISPM 27 and instruction to authors requires specificity data to be included. The sentence has been revised to try and avoid misunderstanding. |
| 161 | 147 | Hocquellet et al. (1999) designed the primers A2 and J5 specifically to detect ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’. No amplifications were obtained when this method was used on A. tumefaciens, A. lwoffi, E. coli, Xanthomonas axonopodis pv. citri, X. . fastidiosa,fastidiosa S. citri, ‘Candidatus Phytoplasma aurantifolia’, and ‘Candidatus Phytoplasma solani’ (stolbur phytoplasma). These primers do not detect ‘Ca. L. americanus’ (Li, Hartung and Levy, 2007). | P | EPPO Typo (one space deleted and one comma added). Category : EDITORIAL | Incorporated |
| 162 | 147 | Hocquellet et al. (1999) designed the primers A2 and J5 specifically to detect ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’. No amplifications were obtained when this method was used on A. tumefaciens, A. lwoffi, E. coli, Xanthomonas citri pv. citriXanthomonas axonopodis pv. citri, X. fastidiosa S. citri, ‘Candidatus Phytoplasma aurantifolia’, and ‘Candidatus Phytoplasma solani’ (stolbur phytoplasma). These primers do not detect ‘Ca. L. americanus’ (Li, Hartung and Levy, 2007). | P | China The new name of Xanthomonas axonopodis pv. citri(Xanthomonas citri subsp. citri) is Xanthomonas citri pv. citri. Category : SUBSTANTIVE | Incorporated |
| 163 | 147 | Hocquellet et al. (1999) designed the primers A2 and J5 specifically to detect ‘Ca. L. asiaticus’ and ‘Ca. L. africanus’. No amplifications were obtained when this method was used on A. tumefaciens, A. lwoffi, E. coli, Xanthomonas axonopodis pv. citri, X. fastidiosa S. citri, ‘Candidatus Phytoplasma aurantifolia’, and ‘Candidatus Phytoplasma solani’ (stolbur phytoplasma). These primers do not detect ‘Ca. L. americanus’ (Li, Hartung and Levy, 2007). | P | New Zealand Category : EDITORIAL | Incorporated |
| 164 | 165 | Primer J5 (forward) | C | EPPO Shouldn't it be "reverse" instead of "forward" (please see paragraph 150)? Category : TECHNICAL | Incorporated |
| 165 | 174 | 94 °C 94°C for 2 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 166 | 178 | 92 °C 92°C for 20 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 167 | 180 | 62 °C 62°C for 20 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 168 | 182 | 72 °C 72°C for 45 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 169 | 184 | 72 °C 72°C for 10 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 170 | 193 | 3.4.3.3 Conventional PCR using the primers of Teixeira et al. (2005a) | C | EPPO in the EPPO PM 7/121 the PCR conditions (temperatures reaction volume) have been optimized for their use in duplex PCR with Hocquellet et al. (1999) Category : TECHNICAL | Modified. See above comment 158. |
| 171 | 193 | 3.4.3.3 Conventional PCR using the primers of Teixeira et al. (2005b)(2005a) | P | EPPO Category : EDITORIAL | Incorporated |
| 172 | 197 | The primer pair GB1/GB3 detects only ‘Ca. L. americanus’ and not ‘Ca. L. asiaticus’ or ‘Ca. L. africanus’. No amplification .was obtained when the method was used on Phytophthora citricola and Phytophthora citrophthora, X. axonopodis pv. citri strain A, X. fastidiosa, (Li, Hartung and Levy, 2007). | P | Japan If the method is specific for detecting the target species of this protocol, there is no need to describe that other certain species are not detected. It is better to simplify the description to avoid unnecessary misunderstanding (e.g. other species than the written species here can be detected?) Li, Hartung and levy, 2007 includes only the data that L. americanus is detected, but does not include the data that other two species are not detected. So, it is not appropriate to put the paper as a sole reference. Delete it or replace it with “Teixeira et al. 2005a”. Category : SUBSTANTIVE | Modified. ISPM 27 and instruction to authors requires specificity data to be included. The sentence has been revised to try and avoid misunderstanding. |
| 173 | 197 | The primer pair GB1/GB3 detects only ‘Ca. L. americanus’ and not ‘Ca. L. asiaticus’ or ‘Ca. L. africanus’. No amplification was obtained when the method was used on Phytophthora citricola and Phytophthora citrophthora, X. axonopodis pv. citri strain A, and X. fastidiosa, (Li, Hartung and Levy, 2007). | P | EPPO Two typos. Category : EDITORIAL | Incorporated |
| 174 | 212 | Primer GB3 (forward) | C | EPPO Shouldn't it be "reverse" instead of "forward" (please see paragraph 196)? Category : TECHNICAL | Incorporated |
| 175 | 221 | 94 °C 94°C for 2 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 176 | 225 | 94 °C 94°C for 45 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 177 | 227 | 64 °C 64°C for 45 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 178 | 229 | 72 °C 72°C for 60 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 179 | 231 | 72 °C 72°C for 10 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 3.4.4 Real-time PCR |  |  |  |  |  |
| 180 | 240 | Li, Hartung and Levy (2007) reported that real-time PCR could detect down to 10-5 dilutions of DNA extracts obtained from 200 mg of midribs from infected plants. Wang et al. (2006) quantified the detection sensitivity of real-time PCR as 4.39 fg/µL DNA extract from infected plants. The real-time PCR method of Bertolini et al. (2014) showed similar sensitivity for ‘Ca. Liberibacter’ spp. detection, as did the method of Li et al. (2006). | P | China The target of the PCR is the DNA of ‘Candidatus Liberibacter’ spp. in the plant tissue. Category : SUBSTANTIVE | Incorporated |
| 181 | 242 | This multiplex, real-time PCR method allows the detection of each of the three ‘Ca. Liberibacter’ species in plant tissue and in psyllids. It is based on combinations of three species-specific forward primers, a reverse primer common to all three ‘Ca. Liberibacter’ species and a TaqMan probe that anneals to the amplicon of each of the three species associated with HLB. The method can be further multiplexed with internal controls for plant and psyllid tissue. Li et al. (2006) observed no substantial differences in Ct values when internal and target primers and probes were multiplexed for the detection of ‘Ca. Liberibacter’ spp. | P | COSAVE This method is not multiplex Category : TECHNICAL | Incorporated |
| 182 | 242 | This multiplex, real-time PCR method allows the detection of each of the three ‘Ca. Liberibacter’ species in plant tissue and in psyllids. It is based on combinations of three species-specific forward primers, a reverse primer common to all three ‘Ca. Liberibacter’ species and a TaqMan probe that anneals to the amplicon of each of the three species associated with HLB. The method can be further multiplexed with internal controls for plant and psyllid tissue. Li et al. (2006) observed no substantial differences in Ct values when internal and target primers and probes were multiplexed for the detection of ‘Ca. Liberibacter’ spp. | P | Uruguay The method is not multiplex Category : TECHNICAL | Incorporated |
| 183 | 242 | This multiplex, real-time PCR method allows the detection of each of the three ‘Ca. Liberibacter’ species in plant tissue and in psyllids. It is based on combinations of three species-specific forward primers, a reverse primer common to all three ‘Ca. Liberibacter’ species and a TaqMan probe that anneals to the amplicon of each of the three species associated with HLB. The method can be further multiplexed with internal controls for plant and psyllid tissue. Li et al. (2006) observed no substantial differences in Ct values when internal and target primers and probes were multiplexed for the detection of ‘Ca. Liberibacter’ spp. | P | Brazil This method is not multiplex Category : TECHNICAL | Incorporated |
| 184 | 243 | Li et al. (2006) determined that the primer–probe set HLBaspr (HLBas/HLBp/HLBr) detects ‘Ca. L. asiaticus’ and the primer–probe set HLBafpr (HLBaf/HLBp/HLBr) detects ‘Ca. L. africanus’. The primer–probe set HLBaspr can detect ‘Ca. L. africanus’ and HLBafpr can detect ‘Ca. L. asiaticus’, but with higher Ct values. The primer–probe set HLBampr (HLBam/HLBp/HLBr) detects ‘Ca. L. americanus’ but not ‘Ca. L. africanus’ or ‘Ca. L. asiaticus’. No amplification was obtained when the method was used on Citrus tristeza virus and Curtobacterium flaccumfaciens strain ER1/6, P. citricola I 22F3, P. citrophthora I 1E4, X. fastidiosa, X. axonopodis pv. citri strain A, (Li et al., 2006). | P | Japan If the method is specific for detecting the target species of this protocol, there is no need to describe that other certain species are not detected. It is better to simplify the description to avoid unnecessary misunderstanding (e.g. other species than the written species here can be detected?) Category : SUBSTANTIVE | Modified. ISPM 27 and instruction to authors requires specificity data to be included. The sentence has been revised to try and avoid misunderstanding. |
| 185 | 243 | Li et al. (2006) determined that the primer–probe set HLBaspr (HLBas/HLBp/HLBr) detects ‘Ca. L. asiaticus’ and the primer–probe set HLBafpr (HLBaf/HLBp/HLBr) detects ‘Ca. L. africanus’. The primer–probe set HLBaspr can detect ‘Ca. L. africanus’ and HLBafpr can detect ‘Ca. L. asiaticus’, but with higher Ct values. The primer–probe set HLBampr (HLBam/HLBp/HLBr) detects ‘Ca. L. americanus’ but not ‘Ca. L. africanus’ or ‘Ca. L. asiaticus’. No amplification was obtained when the method was used on Citrus tristeza virus and Curtobacterium flaccumfaciens strain ER1/6, P. citricola I 22F3, P. citrophthora I 1E4, X. fastidiosa, X. axonopodis pv. citri strain A, (Li et al., 2006). | C | Australia Suggest replacing HLBas (forward) with another primer (CLas-4G) as it has been shown to improve qPCR sensitivity compared with HLBas (forward) Reasoning Bao et al (2020) found that the Hibas primer was missing nucleotide G between C and A (TCGAGCGCGTATGC-AATACG). Although the missing G did not affect the sensitivity of the test in detecting huanglongbing (HLB) at high bacterial titres, this primer was found to be slightly less sensitive than those having this G at low titres. Therefore, the correct CLas-4G primer, which includes this G (AGTCGAGCGCGTATGCGAAT) was proposed to prevent potential false-negative results. Reference: Bao et al. 2020, Plant Disease, 104:527-532 Category : TECHNICAL | Incorporated |
| 186 | 243 | Li et al. (2006) determined that the primer–probe set HLBaspr (HLBas/HLBp/HLBr) detects ‘Ca. L. asiaticus’ and the primer–probe set HLBafpr (HLBaf/HLBp/HLBr) detects ‘Ca. L. africanus’. The primer–probe set HLBaspr can detect ‘Ca. L. africanus’ and HLBafpr can detect ‘Ca. L. asiaticus’, but with higher Ct values. The primer–probe set HLBampr (HLBam/HLBp/HLBr) detects ‘Ca. L. americanus’ but not ‘Ca. L. africanus’ or ‘Ca. L. asiaticus’. No amplification was obtained when the method was used on Citrus tristeza virus and Curtobacterium flaccumfaciens strain ER1/6, P. citricola I 22F3, P. citrophthora I 1E4, X. fastidiosa, and X. axonopodis pv. citri strain A (Li et al., 2006). | C | EPPO Is a publication available. This has never been observed in French laboratories Category : TECHNICAL | Modified. This sentence has now been deleted due to uncertainty regarding source of information. |
| 187 | 243 | Li et al. (2006) determined that the primer–probe set HLBaspr (HLBas/HLBp/HLBr) detects ‘Ca. L. asiaticus’ and the primer–probe set HLBafpr (HLBaf/HLBp/HLBr) detects ‘Ca. L. africanus’. The primer–probe set HLBaspr can detect ‘Ca. L. africanus’ and HLBafpr can detect ‘Ca. L. asiaticus’, but with higher Ct values. The primer–probe set HLBampr (HLBam/HLBp/HLBr) detects ‘Ca. L. americanus’ but not ‘Ca. L. africanus’ or ‘Ca. L. asiaticus’. No amplification was obtained when the method was used on Citrus tristeza virus and Curtobacterium flaccumfaciens strain ER1/6, P. citricola I 22F3, P. citrophthora I 1E4, X. fastidiosa, and X. axonopodis pv. citri strain A, A (Li et al., 2006). | P | EPPO Two typos. Category : EDITORIAL | Incorporated |
| 188 | 243 | Li et al. (2006) determined that the primer–probe set HLBaspr (HLBas/HLBp/HLBr) detects ‘Ca. L. asiaticus’ and the primer–probe set HLBafpr (HLBaf/HLBp/HLBr) detects ‘Ca. L. africanus’. The primer–probe set HLBaspr can detect ‘Ca. L. africanus’ and HLBafpr can detect ‘Ca. L. asiaticus’, but with higher Ct values. The primer–probe set HLBampr (HLBam/HLBp/HLBr) detects ‘Ca. L. americanus’ but not ‘Ca. L. africanus’ or ‘Ca. L. asiaticus’. No amplification was obtained when the method was used on Citrus tristeza virus and Curtobacterium flaccumfaciens strain ER1/6, P. citricola I 22F3, P. citrophthora I 1E4, X. fastidiosa, X. axonopodis pv. citri strain A, (Li et al., 2006). | C | EPPO On “Candidatus Liberibacter solanacerum”, either. Category : TECHNICAL | Incorporated |
| 189 | 243 | Li et al. (2006) determined that the primer–probe set HLBaspr (HLBas/HLBp/HLBr) detects ‘Ca. L. asiaticus’ asiaticus’, and the primer–probe set HLBafpr (HLBaf/HLBp/HLBr) detects ‘Ca. L. africanus’. The primer–probe set HLBaspr can detect ‘Ca. L. africanus’ and HLBafpr can detect ‘Ca. L. asiaticus’, but with higher Ct values. The primer–probe set HLBampr (HLBam/HLBp/HLBr) detects ‘Ca. L. americanus’ but not ‘Ca. L. africanus’ or ‘Ca. L. asiaticus’. No amplification was obtained when the method was used on Citrus tristeza virus and Curtobacterium flaccumfaciens strain ER1/6, P. citricola I 22F3, P. citrophthora I 1E4, X. fastidiosa, X. axonopodis pv. citri strain A, (Li et al., 2006). | P | New Zealand Category : EDITORIAL | Incorporated |
| 190 | 245 | The sequences of the four primers and one TaqMan probe, which are based on the 16S rDNA sequences of the three ‘Ca. Liberibacter’ species, are as follows: follows (the sequence of the primer HLBas has been updated using the genome information of Ca. Liberibacter asiaticus (Zhou et al., 2011)) | P | COSAVE To improve information Category : TECHNICAL | Modified. The HLBas primer sequences have been replaced with CLas-4G primer which includes the missing G (Bao et al. 2020). |
| 191 | 245 | The sequences of the four primers and one TaqMan probe, which are based on the 16S rDNA sequences of the three ‘Ca. Liberibacter’ species, are as followsfollows (the sequence of the primer HLBas has been updated using the genome information of Ca Liberibacter asiaticus (Zhou et al., 2011): | P | Uruguay To improve information Category : TECHNICAL | Modified. The HLBas primer sequences have been replaced with CLas-4G primer which includes the missing G (Bao et al. 2020). |
| 192 | 245 | The sequences of the four primers and one TaqMan probe, which are based on the 16S rDNA sequences of the three ‘Ca. Liberibacter’ species, are as followsfollows (the sequence of the primer HLBas has been updated using the genome information of Ca. Liberibacter asiaticus (Zhou et al., 2011)): | P | Brazil To improve information Category : TECHNICAL | Modified. The HLBas primer sequences have been replaced with CLas-4G primer which includes the missing G (Bao et al. 2020). |
| 193 | 247 | HLBas (forward primer): 5’ - TCG AGC GCG TAT GCA ATA CG - 3’ | C | Australia Suggest replacing HLBas (forward) with another primer (CLas-4G) as it has been shown to improve qPCR sensitivity compared with HLBas (forward) Reasoning Bao et al (2020) found that the Hibas primer was missing nucleotide G between C and A (TCGAGCGCGTATGC-AATACG). Although the missing G did not affect the sensitivity of the test in detecting huanglongbing (HLB) at high bacterial titres, this primer was found to be slightly less sensitive than those having this G at low titres. Therefore, the correct CLas-4G primer, which includes this G (AGTCGAGCGCGTATGCGAAT) was proposed to prevent potential false-negative results. Reference: Bao et al. 2020, Plant Disease, 104:527-532 Category : TECHNICAL | Incorporated |
| 194 | 247 | HLBas (forward primer): 5’ - TCG AGC GCG TAT GCA ATA GCG AAT A CG - 3’ | P | COSAVE This G was added to the primer sequence based on the sequence of the 16SrDNA genes from Ca. L. asiaticus by Zhou et al., 2011. All subsequent genome confirmed this sequence. Category : TECHNICAL | Modified. The HLBas primer sequences have been replaced with CLas-4G primer which includes the missing G (Bao et al. 2020). |
| 195 | 247 | HLBas (forward primer): 5’ - TCG AGC GCG TAT GCA ATA CG - 3’ | C | United States of America According to updated CLas genome sequences (Duan et al, 2009, and whole genome sequences of other CLas strains deposited in NCBI GenBank), a missing nucleotide “G” should be added in the primer sequences of “[101]OI1 (forward)” and “[247]HLBas (forward primer)” for specific amplification of partial 16S rDNA of ‘Ca. L. asiaticus’. [247]HLBas (forward primer): 5’ - TCG AGC GCG TAT GC” G”A ATA CG - 3’ Category : TECHNICAL | Incorporated |
| 196 | 247 | HLBas (forward primer): 5’ - TCG AGC GCG TAT GCA ATA CG - GCG AAT A CG- 3’ | P | Uruguay This G was added to the primer sequence based on the sequence of the 16SrDNA genes from Ca. Liberibacter asiaticus by Zhou et al., 2011. All subsequent genome confirmed this sequence Category : TECHNICAL | Modified. The HLBas primer sequences have been replaced with CLas-4G primer which includes the missing G (Bao et al. 2020). |
| 197 | 247 | HLBas (forward primer): 5’ - TCG AGC GCG TAT GCA GCG A ATA CG - 3’ | P | Brazil A "G" was added to the primer sequence based on the sequence of the 16SrDNA genes from Ca. L. asiaticus by Zhou et al., 2011. All subsequent genome confirmed this sequence Category : TECHNICAL | Modified. The HLBas primer sequences have been replaced with CLas-4G primer which includes the missing G (Bao et al. 2020). |
| 198 | 251 | HLBaf (forward primer): 5’- CGA GCG CGT ATT TTA TAC GAG CG –3’ | P | EPPO the sequence of the HLBaf primer is not complete. Category : TECHNICAL | Incorporated |
| 199 | 258 | COXp probe: 5’-TET-CAG ATG CTT ACG CTG-BHQ1-3’ | C | United States of America The internal control primers and probe to target wingless gene (WG) of psyllid (Li et al., 2008) were adopted in our protocols and are recommended as follows: WG (forward primer): 5’-GCT CTC AAA GAT CGG TTT GAC GG -3’ WG (reverse primer): 5’-GCT GCC ACG AAC GTT ACC TTC -3’ WG (hydrolysis probe): 5’ -TET-TTA CTG ACC ATC ACT CTG GAC GC/BHQ-2 -3’ (the 5’ reporter dye (TET) may be changed to other fluorescent dyes, e.g., JOE and VIC, according to individual fluorescence filter sets of a real-time instrument) (Reference: Li, W. Duan, Y., Brlansky, R.H. Twieg, E. and Levy, L. 2008. Incidences and population of ‘Candidatus Liberibacter asiaticus’ in Asian citrus psyllid (Diaphorina citri) on citrus plants affected by Huanglongbing in Florida. Int. Res. Cong. Huanglongbing, Dec. 1-5, 2008, Orlando, Florida). Category : TECHNICAL | Incorporated |
| 200 | 258 | CLAas-4G：AGTCGAGCGCGTATGCgAATCOXp probe: 5’-TET-CAG ATG CTT ACG CTG-BHQ1-3’ | P | China primer used significantly improve the sensitivity and accuracy of detection of CLas in real-time PCR system. Category : SUBSTANTIVE | Incorporated |
| 201 | 267 | Other real-time PCR master mixes have been shown to work with this method: for example Go Taq Probe qPCR master mix (Promega) (Cellier et al., 2020) and Path-ID qPCR master mix (Ambion) (EPPO, 2014). | C | COSAVE See comment in paragraph 90 Category : TECHNICAL | Incorporated |
| 202 | 267 | Other real-time PCR master mixes have been shown to work with this method: for example Go Taq Probe qPCR master mix (Promega) (Cellier et al., 2020) and Path-ID qPCR master mix (Ambion) (EPPO, 2014). | C | Uruguay See comment in paragraph 90 Category : TECHNICAL | Incorporated |
| 203 | 289 | 0.15 µM | C | EPPO Optimized to 0.13 in EPPO PM 7/121 Category : TECHNICAL | Modified. Optimised conditions have been provided as an option and referenced to EPPO PM7/221 |
| 204 | 297 | 5 1 U | P | Australia 1 U was used in the Li et al. (2006) protocol. Reference: As in reference list Category : EDITORIAL | Incorporated |
| 205 | 300 | Cycling parameters | C | EPPO Optimized in EPPO PM 7/121 according to an USDA (California) protocol (contact person was Cynthia Levesque) Category : TECHNICAL | Modified. Optimised conditions have been provided as an option and referenced to EPPO PM7/221 |
| 206 | 303 | 95 °C 95°C for 10 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 207 | 307 | 95 °C 95°C for 20 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 208 | 307 | 95 °C for 20 s | C | United States of America The denaturation time may be 1 to 3 seconds depending on which real-time PCR instrument and labware are used, e.g. it was 1 s on Cepheid but 3 s on ABI instruments according to our protocols. Category : TECHNICAL | Modified. A note that denaturation times can be modified depending on real-time PCR instruments used as been added. |
| 209 | 309 | 58 °C 58°C for 40 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 210 | 310 | i For a final reaction volume of 25 µL. | C | EPPO A volume of 13µl works perfectly. The revised EPPO Standard PM7-121 revision, is referring to an optimized protocol more adapted to current real-time PCR. Category : TECHNICAL | Modified. Optimised conditions have been provided as an option and referenced to EPPO PM7/221 |
| 211 | 311 | ii See page footnote 1. | C | EPPO Where is "ii" in the table? Category : EDITORIAL | Incorporated |
| 212 | 311 | ii See page footnote 1. | C | EPPO Footnote 1 wasn´t found. It does not match to the only one footnote ( page 2). We suppose maybe paragraph 267 should be this footnote as it´s text does not link-up with the text above it. Category : EDITORIAL | Incorporated |
| 213 | 313 | 3.4.4.2 Real-time PCR using the primers and probes of Bertolini et al. (2014) | C | EPPO In EPPO PM7/121(2) this test is no longer included. In the old version (1) was present, in the versión (2) no longer. “The real-time PCR test described by Bertolini et al. (2010, 2014) is not recommended as a screening test, as it produces false positive results and thus requires confirmation by another test.”. From Cellier et al., 2020 “in addition to CLso_1, the Bertolini method repeatedly amplified several non-target DNA samples, leading to an exclusivity score of 25.0%.” Category : SUBSTANTIVE | Incorporated |
| 214 | 313 | A validated real-time PCR target RNR (Zheng et al, 2016) was adopted and included in our protocols, and it is recommended as follows:A feature of the RNR target is of its five-copy presence in a genome of CLas, presumptively it would be more sensitive than the three-copy 16S target of [247] [254] [253] HLBaspr assay (Li, Hartung and Levy, 2006). In analytical testing side-by-side, the RNR was more specific and sensitive than the 16S HLBaspr method. The Master mix may be the same as in Table 4, but the annealing and elongation temperature is 60 °C for 40 s.RNRf (forward primer): 5’- CAT GCT CCA TGA AGC TAC CC -3’RNRr (reverse primer): 5’- GGA GCA TTT AAC CCC ACG AA -3’RNRp (hydrolysis probe): 5’ - (6-FAM) CCT CGA AAT CGC CTA TGC AC (BHQ-1) -3’ (Reference: Zheng Zheng, Meirong Xu, Minli Bao, Fengnian Wu, Jianchi Chen, Xiaoling Deng. (2016). Unusual Five Copies and Dual Forms of nrdB in “Candidatus Liberibacter asiaticus”: Biological Implications and PCR Detection Application. Scientific Reports ¦ 6:39020 ¦ DOI: 10.1038/srep39020).3.4.4.2 Real-time PCR using the primers and probes of Bertolini et al. (2014) | P | United States of America Category : TECHNICAL | For consideration by TPDP This study has validation data. A total of 262 DNA samples extracted from CLas infected plants and psyllids in seven provinces in China and three states in USA |
| 215 | 315 | The primer sequences, which are based on the 16S rDNA sequences of ‘Ca. Liberibacter’ spp., are as follows: | P | New Zealand requires a fullstop to be a correct abbreviation Category : EDITORIAL | Incorporated |
| 216 | 320 | According to Bertolini et al. (2014), the primers and probe used in this method detect all three ‘Ca. Liberibacter’ species on Citrus spp. The primers CaLsppF and CaL sppRCaLsppR, which are based on the sequence of the most conserved region of the ‘Ca. Liberibacter’ spp. genome, were found to detect all the tested ‘Ca. Liberibacter’ species associated with HLB from different hosts and origins. No cross-reaction was noticed when the method was tried on other graft-transmitted pathogens of citrus. In further evaluation during a comparative performance study by Cellier et al. (2020), false positive amplifications from non-target bacteria were observed. Raising the annealing temperature to 64 64°C did reduce some of this risk. . However, because of the residual risk, positive test results using this method can only be considered reliable if they are confirmed by other HLB-specific PCR detection methods.” | P | EPPO Typos (three spaces and one quotation mark deleted). Category : EDITORIAL | Incorporated |
| 217 | 320 | According to Bertolini et al. (2014), the primers and probe used in this method detect all three ‘Ca. Liberibacter’ species on Citrus spp. The primers CaLsppF and CaL sppR, which are based on the sequence of the most conserved region of the ‘Ca. Liberibacter’ spp. genome, were found to detect all the tested ‘Ca. Liberibacter’ species associated with HLB from different hosts and origins. No cross-reaction was noticed when the method was tried on other graft-transmitted pathogens of citrus. In further evaluation during a comparative performance study by Cellier et al. (2020), false positive amplifications from non-target bacteria were observed. Raising the annealing temperature to 64 °C did reduce some of this risk. However, because of the residual risk, positive test results using this method can only be considered reliable if they are confirmed by other HLB-specific PCR detection methods.” | P | New Zealand remove quotes as there is no opening quote anywhere in this paragraph. Category : EDITORIAL | Incorporated |
| 218 | 340 | 95 °C 95°C for 10 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 219 | 344 | 95 °C 95°C for 15 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 220 | 346 | 60 °C 60°C for 60 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 221 | 348 | ii See page footnote 1. | C | EPPO Where is footnote 1? Category : EDITORIAL | Incorporated |
| 222 | 350 | A diagnostic kit, HLB 100, for use with immobilized plant tissue prints or vector squashes and this PCR method (with lyophilized master mix), is commercially available from Plant Print Diagnostics1 (). It has been used in surveys in Brazil, Réunion (France) and Spain, among other countries (Bertolini et al., 2014; Siverio et al., 2017). | C | COSAVE See comment in paragraph 90 Category : TECHNICAL | Incorporated |
| 223 | 350 | A diagnostic kit, HLB 100, for use with immobilized plant tissue prints or vector squashes and this PCR method (with lyophilized master mix), is commercially available from Plant Print Diagnostics1 (). It has been used in surveys in Brazil, Réunion (France) and Spain, among other countries (Bertolini et al., 2014; Siverio et al., 2017). | C | Uruguay See comment in paragraph 90 Category : TECHNICAL | Incorporated |
| 224 | 351 | 3.4.4.3 Real-time PCR using the primers and probes of Morgan et al. (2012) | C | EPPO A SYBR Green version of this qPCR has also been validated and is as efficient as the probe version. Category : TECHNICAL | Incorporated |
| 225 | 352 | This real-time PCR method was developed for detection of ‘Ca. Liberibacter asiaticus’ and uses primers based on the internal 100 bp region of the 132 bp full repeat shared by the high copy hyvI and hyvII genes. | C | EPPO In EPPO PM 7/121 this test is used for identification only Category : TECHNICAL | Incorporated |
| 226 | 356 | Probe LJ900pp: FAM-ACA TCT TTC GTT TGA GTA GCT AGA TCA TTG A-Iowa Black FQ | C | EPPO In EPPO PM7/121(2) is indicated BHQ1 Category : TECHNICAL | Modified. Iowa Black FQ is listed as the flurophore in Morgan et al. 2012. Optimised conditions have been provided as an option and referenced to EPPO PM7/221 |
| 227 | 365 | Primer LJ900ff (forward) | C | EPPO In the original article there is a difference in primer concentration (which is reflected in the current EPPO PM 7/121). This should be checked. Category : TECHNICAL | Incorporated |
| 228 | 376 | 95 °C for 30 s | C | EPPO 3min in Morgan’s publication. Category : TECHNICAL | Incorporated |
| 229 | 376 | 95 °C 95°C for 30 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 230 | 380 | 95 °C 95°C for 3 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 231 | 382 | 62 °C 62°C for 30 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 232 | 384 | ii See page footnote 1. | C | EPPO Where is footnote 1? Category : EDITORIAL | Incorporated |
| 233 | 388 | Inner primers: | C | EPPO inner primers should be described after outer primers as outer primers amplify first and inner ones in the second phase. Category : TECHNICAL | Incorporated |
| 234 | 396 | Lin et al. (2010) evaluated the specificity (analytical specificity) of the method with over 70 strains of ‘Ca. L. asiaticus’ from six different countries and against several non-target pathogens of citrus including ‘Ca. L. africanus’, africanus’ and ‘Ca. L. americanus’ and ‘americanus’Ca. L. solanacearum’, . Only ‘S. citri, Xanthomonas citri subsp. citri, X. fastidiosa,. Only ‘Ca. L. asiaticus’ was detected. The sensitivity was estimated as 103 copies of target DNA. No other performance data are available. | P | Japan If the method is specific for detecting the target species of this protocol, there is no need to describe that other certain species are not detected. It is better to simplify the description to avoid unnecessary misunderstanding (e.g. other species than the written species here can be detected?). Category : SUBSTANTIVE | Modified. ISPM 27 and instruction to authors requires specificity data to be included. The sentence has been revised to try and avoid misunderstanding. |
| 235 | 396 | Lin et al. (2010) evaluated the specificity (analytical specificity) of the method with over 70 strains of ‘Ca. L. asiaticus’ from six different countries and against several non-target pathogens of citrus including ‘Ca. L. africanus’, ‘Ca. L. americanus’ and ‘Ca. L. solanacearum’, S. citri, The new name of Xanthomonas axonopodis pv. citri(Xanthomonas citri subsp. citri) is Xanthomonas citri pv. citriXanthomonas citri subsp. citri, X. fastidiosa,. Only ‘Ca. L. asiaticus’ was detected. The sensitivity was estimated as 103 copies of target DNA. No other performance data are available. | P | China The new name of Xanthomonas axonopodis pv. citri(Xanthomonas citri subsp. citri) is Xanthomonas citri pv. citri. Category : SUBSTANTIVE | Incorporated |
| 236 | 396 | Lin et al. (2010) evaluated the specificity (analytical specificity) of the method with over 70 strains of ‘Ca. L. asiaticus’ from six different countries and against several non-target pathogens of citrus including ‘Ca. L. africanus’, ‘Ca. L. americanus’ and ‘Ca. L. solanacearum’, S. citri, Xanthomonas citri subsp. citri, and X. fastidiosa,. Only ‘Ca. L. asiaticus’ was detected. The sensitivity was estimated as 103 copies of target DNA. No other performance data are available. | P | New Zealand Category : EDITORIAL | Incorporated |
| 237 | 420 | 50 °C 50°C for 2 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 238 | 422 | 95 °C 95°C for 10 min | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 239 | 426 | 95 °C 95°C for 30 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 240 | 428 | 67 °C 67°C for 45 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 241 | 430 | 72 °C 72°C for 45 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 242 | 434 | 95 °C 95°C for 30 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 243 | 436 | 57 °C 57°C for 45 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 244 | 438 | 72 °C 72°C for 45 s | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 245 | 440 | ii See page footnote 1. | C | EPPO Where is footnote 1? Category : EDITORIAL | Incorporated |
| 3.5 Controls for molecular testing |  |  |  |  |  |
| 246 | 442 | 3.5 Controls for molecular testing | C | EPPO Shouldn't it rather be "3.4.5" because "3.4" is about "Molecular detection". Category : EDITORIAL | Incorporated |
| 247 | 443 | For the test result obtained to be considered reliable, appropriate controls – which will depend on the type of test used and the level of certainty required – should be considered for each series of nucleic acid isolations and amplifications of the target nucleic acid. For PCR, a positive nucleic acid control (consisting of the target ‘Ca. Liberibacter’ species, e.g. ‘Ca. L. asiaticus’) and a negative amplification control (no template control) are the minimum controls that should be used. Additional controls may be used for PCR as described below. | P | New Zealand Category : EDITORIAL | Incorporated |
| 248 | 445 | Internal control. For conventional and real-time PCR, a plant housekeeping gene such as COX (Weller et al., 2000; Li et al., 2006) should be used as an internal control to eliminate the possibility of PCR false negatives resulting either from nucleic acid extraction failure or degradation or from the presence of PCR inhibitors. For an internal control for vectors, a primer–probe set based on the glycoprotein gene in psyllids may be used (Manjunath et al., 2008).. Tests should be repeated if any contradictory or unclear results are obtained. | P | Colombia Consideration in the case of doubtful results. Note in the text in the case of doubtful results, the test must be repeated. Category : TECHNICAL | Not incorporated. The format for the controls for molecular testing is standard protocol format. The decision on actions for control failure is up to the operator. |
| 249 | 448 | The positive control should be approximately one-tenth of the amount of leaf tissue used per plant for the DNA extraction. For PCR, care needs to be taken to avoid cross-contamination resulting from aerosols from the positive control or from positive samples. If required, the positive control used in the laboratory should be sequenced so that this sequence can be readily compared with sequences obtained from PCR amplicons of the correct size. Alternatively, synthetic positive controls may be made with a known sequence that, again, can be compared with PCR amplicons of the correct size. | C | Costa Rica It would be convenient to specify the reference that corroborates the indicated. Category : SUBSTANTIVE | For consideration by TPDP. This is in the instructions for authors and in some DPs but I am not sure where it has come from or that it makes sense? Not incorporated. It is considered good practice there is no a specific reference available. |
| 250 | 449 | Negative extraction control. This control is used to monitor both contamination during nucleic acid extraction and cross-reaction with the host tissue. The control comprises nucleic acid that is extracted from healthy host plants of the same species but where not available other hosts can be used, such as periwinkle or sweet orange plants grown from seed or healthy psyllids reared on healthy plants. | C | EPPO In EPPO PM 7/121 it is indicated that, if uninfected matrix is not available, clean extraction buffer could be used. Category : TECHNICAL | For consideration by TPDP. The addition “or if not available clean extraction buffer” This is not included in our current instructions to authors or other DPs but I think it is worth including. |
| 3.6 Interpretation of results |  |  |  |  |  |
| 251 | 450 | 3.6 Interpretation of results | C | EPPO should be 3.4.6 (see previous comment and other numbers adjusted) Category : EDITORIAL | Incorporated |
| 3.6.1 Conventional PCR |  |  |  |  |  |
| 252 | 453 | the positive control produces the correct size amplicon; | C | EPPO What about the internal control when used? There should be an amplification for the test to be considered valid. Category : TECHNICAL | Incorporated |
| 3.6.2 Real-time PCR |  |  |  |  |  |
| 253 | 459 | no amplification curve is seen (i.e. Ct value is 40) 40 or, if a cut-off value has been defined, Ct value is > cut-off value) either with the negative extraction control or the negative amplification control. | P | EPPO Revised change by bouhot-delduc on 20 Sep 2021 15:18 Category : TECHNICAL | Incorporated |
| 254 | 461 | A sample will be considered positive if it produces an exponential amplification curve. The cycle cut-off value needs to be verified in each laboratory when implementing the method for the first time. Guidance on how to determine the cycle cut-off value can be found in Chandelier et al. (2010). Tests should be repeated if any contradictory or unclear results are obtained. | P | Colombia Consideration in the case of doubtful results. Note in the text in the case of doubtful results, the test must be repeated. Category : TECHNICAL | Not incorporated. The format for the controls for molecular testing is standard protocol format. The decision on actions for control failure is up to the operator. |
| 4. Identification |  |  |  |  |  |
| 255 | 462 | 4. Identification | C | EPPO Bioassay is included in the EPPO PM 7/121 Category : TECHNICAL | For consideration by TPDP We have not included this as an option for identification. Not sure how practical this would be given it takes 3 months to get a result. |
| 256 | 464 | If the outcome is critical (e.g. post-entry quarantine sample, new record), conventional PCRs that amplify the 16S rDNA gene (section 3.4.3) should be performed and the PCR products sequenced. The primers developed by Jagoueix et al. (1996) will amplify a 1160 bp product from Ca. L. asiaticus’, or ‘Ca. L. africanus’ and primers developed by Teixeira et al. (2005b) will amplify a 1027 bp product ‘Ca. L. americanus’. Sanger sequencing of these PCR products should be carried out using each primer to generate two independent DNA sequence reads in alternate directions. These sequences should be aligned to identify conflicting information. Chromatograms should be edited to resolve conflicting signals. If multiple peaks at a nucleotide are observed in the sequences generated using both the forward and reverse primers then the site should be assigned as an ambiguous base (i.e. N = A, C, T or G). The final edited sequence should be at least 900 base pairs (bp) in length for data interpretation. Sequence data can be analysed using the Basic Local Alignment Search Tool (BLASTN), available at the National Center for Biotechnology Information (). For species identification the sequence should be at least 99% match to a published authentic sequence. | C | Costa Rica It would be convenient to specify the reference that corroborates the indicated " The final edited sequence should be at least 900 base pairs (bp) in length for data interpretation" Category : SUBSTANTIVE | Not incorporated. There is no specific reference available. It was considered good practice and alignment of sequences showed that this size fragment would still allow identification. |
| 257 | 464 | If the outcome is critical (e.g. post-entry quarantine sample, new record), conventional PCRs that amplify the 16S rDNA gene (section 3.4.3) should be performed and the PCR products sequenced. The primers developed by Jagoueix et al. (1996) will amplify a 1160 bp product from Ca. L. asiaticus’, or ‘Ca. L. africanus’ and primers developed by Teixeira et al. (2005b) will amplify a 1027 bp product ‘Ca. L. americanus’. Sanger sequencing of these PCR products should be carried out using each primer to generate two independent DNA sequence reads in alternate directions. These sequences should be aligned to identify conflicting information. Chromatograms should be edited to resolve conflicting signals. If multiple peaks at a nucleotide are observed in the sequences generated using both the forward and reverse primers then the site should be assigned as an ambiguous base (i.e. N = A, C, T or G). The final edited sequence should be at least 900 base pairs (bp) in length for data interpretation. Sequence data can be analysed using the Basic Local Alignment Search Tool (BLASTN), available at the National Center for Biotechnology Information (). For species identification the sequence should be at least 99% match to a published authentic sequence. In addition, ‘Ca. Liberibacter’ spp. presents the highest risk of introduction in some countries, conventional PCR that amplify genes other than 16S rDNA and sequence the PCR products to confirm its diagnosis must be also performed. | P | Colombia Consideration of the amplification of genes other than 16S for the identification of species of Ca. Liberibacter spp. Possibility of amplifying genes other than those mentioned in this protocol that support the identification of the CLas species, for phytosanitary decision making in each territory or country. The analysis of genes other than the 16S ribosomal, helps to detect false positives due to contamination with ribosomal DNA amplicons and determines the identification of the bacterial species causing the HLB disease. Category : SUBSTANTIVE | Modified. Revised sentence to consider sequencing other genes including genome sequencing. |
| 258 | 464 | If the outcome is critical (e.g. post-entry quarantine sample, new record), conventional PCRs that amplify the 16S rDNA gene (section 3.4.3) should be performed and the PCR products sequenced. The primers developed by Jagoueix et al. (1996) will amplify a 1160 bp product from Ca. L. asiaticus’, asiaticus’ or ‘Ca. L. africanus’ africanus’, and primers developed by Teixeira et alet al. (2005b) will amplify a 1027 bp product from ‘Ca. L. americanus’. Sanger sequencing of these PCR products should be carried out using each primer to generate two independent DNA sequence reads in alternate directions. These sequences should be aligned to identify conflicting information. Chromatograms should be edited to resolve conflicting signals. If multiple peaks at a nucleotide are observed in the sequences generated using both the forward and reverse primers primers, then the site should be assigned as an ambiguous base (i.e. N = A, C, T or G). The final edited sequence should be at least 900 base pairs (bp) in length for data interpretation. Sequence data can be analysed using the Basic Local Alignment Search Tool (BLASTN), available at the National Center for Biotechnology Information (). For species identification the sequence should be at least 99% match to a published authentic sequence. | P | EPPO Typos and editiorial amendments suggested for more clarity. Category : EDITORIAL | Incorporated |
| 259 | 464 | If the outcome is critical (e.g. post-entry quarantine sample, new record), conventional PCRs that amplify the 16S rDNA gene (section 3.4.3) should be performed and the PCR products sequenced. The primers developed by Jagoueix et al. (1996) will amplify a 1160 bp product from Ca. L. asiaticus’, or ‘Ca. L. africanus’ and primers developed by Teixeira et al. (2005b) will amplify a 1027 bp product ‘Ca. L. americanus’. Sanger sequencing of these PCR products should be carried out using each primer to generate two independent DNA sequence reads in alternate directions. These sequences should be aligned to identify conflicting information. Chromatograms should be edited to resolve conflicting signals. If multiple peaks at a nucleotide are observed in the sequences generated using both the forward and reverse primers then the site should be assigned as an ambiguous base (i.e. N = A, C, T or G). The final edited sequence should be at least 900 base pairs (bp) in length for data interpretation. Sequence data can be analysed using the Basic Local Alignment Search Tool (BLASTN), available at the National Center for Biotechnology Information (). For species identification the sequence should be at least a 99% match to with a published authentic sequence. | P | New Zealand Category : EDITORIAL | Incorporated |
| 5. Records |  |  |  |  |  |
| 260 | 467 | In cases where other contracting parties may be affected by the results of the diagnosis, in particular in cases of non-compliance (ISPM 13 (Guidelines for the notification of non-compliance and emergency action)) ) and where ‘Ca. L. asiaticus’, ‘Ca. L. africanus’ or ‘Ca. L. americanus’ is found in an area for the first time, the following records and evidence and additional material should be kept for at least one year in a manner that ensures traceability: | P | New Zealand Category : EDITORIAL | Incorporated |
| 261 | 468 | The original sample should be kept frozen at −80 °C−80°C, or freeze-dried, or dried over calcium chloride and kept at 4 °C4°C. | P | EPPO Typos (two spaces deleted). Category : EDITORIAL | Incorporated |
| 262 | 469 | If relevant, DNA extractions should be kept at −20 °C −20°C or at −80 °C−80°C, and plant extracts spotted on membranes should be kept at room temperature. | P | EPPO Typos (two spaces deleted). Category : EDITORIAL | Incorporated |
| 263 | 470 | If relevant, PCR amplification products should be kept at −20 °C −20°C or at −80 °C−80°C. | P | EPPO Typos (two spaces deleted). Category : EDITORIAL | Incorporated |
| 7. Acknowledgements |  |  |  |  |  |
| 264 | 477 | The first draft of this protocol was written by María M. López (Instituto Valenciano de Investigaciones Agrarias, Valencia, Spain), Solke De Boer (Charlottetown Laboratory, Canadian Food Inspection Agency, Canada), John Hartung (Molecular Plant Pathology Laboratory, Agricultural Research Service, United States Department of Agriculture, United States of America), Rita Lanfranchi (Laboratory of Plant Pest and Disease, SENASA, Argentina (see preceding section)), Takayuki Matsuura (Ministry of Agriculture, Forestry and Fisheries, Japan), Jacek Plazinski (Office of the Chief Plant Protection Officer, Division of Product Integrity, Animal and Plant Health, Australia), Changyong Zhou (Citrus Research Institute, Chinese Academy of Agricultural Sciences/Southwest University, Chonging, China). | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |
| 8. References |  |  |  |  |  |
| 265 | 483 | Bertolini, E., Felipe, R.T.A., Sauer, A.V., Lopes, S.A., Arilla, A., Vidal, E., Mourão Filho, F.A.A. et al. 2014. Tissue‐print and squash real‐time PCR for direct detection of ‘Candidatus Liberibacter’ species in citrus plants and psyllid vectors. Plant Pathology, 63:: 1149–1158. | P | New Zealand Category : EDITORIAL | Incorporated |
| 266 | 484 | Bertolini, E., Moreno, A., Capote, N., Olmos, A., de Luis, A., Vidal, E., Pérez-Panades, J. & Cambra, M. 2008. Quantitative detection of Citrus tristeza virus in plant tissues and single aphids by real-time RT-PCR. European Journal of Plant Pathology, 120:, 177–188. | P | New Zealand Category : EDITORIAL | Incorporated |
| 267 | 486 | CABI. 2021. Citrus huanglongbing (greening) disease (citrus greening). Datasheet. In: Invasive Species Compendium [online]. Wallingford, UK, CABI. [Cited 15 April 2021]. www.cabi.org/isc/datasheet/16567Bao, M., Zheng,Z., Sun, X., Chen, J.,& Deng, X. 2020. Enhancing PCR capacity to detect ‘Candidatus Liberibacter asiaticus’ utilizing whole genome sequence information. Plant Disease, 104:527-532 | P | China Integrity Category : SUBSTANTIVE | Incorporated |
| 268 | 486 | CABI. 2021. Citrus huanglongbing (greening) disease (citrus greening). Datasheet. In: In Invasive Species Compendium [online]. Wallingford, UK, CABI. [Cited 15 April 2021]. | P | New Zealand Category : EDITORIAL | Incorporated |
| 269 | 487 | Cellier, G., Redondo, C., Cubero, J., Roselló, M., de Andrade, E., Cruz, L., Ince, E. et al. 2020. Comparison of the performance of the main real-time and conventional PCR detection tests for ‘Candidatus Liberibacter’sppLiberibacter’ spp., plant pathogenic bacteria causing the Huanglongbing disease in Citrus spp. European Journal of Plant Pathology, 157: 919–941. | P | EPPO Typo (one space added). Category : EDITORIAL | Incorporated |
| 270 | 490 | Chandelier, A., Planchon, V. and Oger, R. 2010. Determination of cycle cut off in real‐time PCR for the detection of regulated plant pathogens. EPPO bulletin, 40: 52-58.Chiyaka C, Singer BH, Halbert SE, Morris JG, Jr, Van Bruggen AHC. 2012. Modeling huanglongbing transmission within a citrus tree. Proc Natl Acad Sci U S A 109:12213–12218. | P | Colombia After paragraph 490. Bibliographic reference of the comment 1. Bibliographic reference of the comment 1. Category : EDITORIAL | Incorporated |
| 271 | 490 | Chandelier, A., Planchon, V. and Oger, R. 2010. Determination of cycle cut off in real‐time PCR for the detection of regulated plant pathogens. EPPO bulletin, 40: 52-5852–58. | P | EPPO Typo ("-" replaced with "–" for the pages). Category : EDITORIAL | Incorporated |
| 272 | 490 | Chandelier, A., Planchon, V. and & Oger, R. 2010. Determination of cycle cut off in real‐time PCR for the detection of regulated plant pathogens. EPPO bulletinBulletin, 40: 52-58. | P | New Zealand Category : EDITORIAL | Incorporated |
| 273 | 491 | Choi, C.W., Hyun, J.W., Hwang, R.Y. and Powell, C.A. 2018. Loop-mediated Isothermal Amplification assay for Detection of Candidatus Liberibacter asiaticus, a Causal Agent of Citrus Huanglongbing. The Plant Pathology Journal, 34:499.Coletta-Filho HD, Carlos EF, Alves KCS, Pereira MAR, Boscariol- Camargo RL et al. (2010) In planta multiplication and graft transmission of ‘Candidatus Liberibacter asiaticus’ revealed by real-time PCR. Eur J Plant Pathol 126: 53–60. doi:10.1007/s10658-009-9523-2. | P | Colombia After paragraph 491. Bibliographic reference of the comment 2. Bibliographic reference of the comment 2. Category : EDITORIAL | Incorporated |
| 274 | 491 | Choi, C.W., Hyun, J.W., Hwang, R.Y. and Powell, C.A. 2018. Loop-mediated Isothermal Amplification assay for Detection of Candidatus 'Candidatus Liberibacter asiaticusasiaticus', a Causal Agent of Citrus Huanglongbing. The Plant Pathology Journal, 34:499. | P | EPPO correct scientific name but perhaps not used in the original reference. Category : EDITORIAL | Incorporated |
| 275 | 491 | Choi, C.W., Hyun, J.W., Hwang, R.Y. and & Powell, C.A. 2018. Loop-mediated Isothermal Amplification isothermal amplification assay for Detection detection of Candidatus Liberibacter asiaticus, a Causal Agent causal agent of Citrus citrus Huanglongbing. The Plant Pathology Journal, 34:: 499. | P | New Zealand Category : EDITORIAL | Incorporated |
| 276 | 492 | Cifuentes-Arenas, J. C., Beattie, G. A, Peña, L., and Lopes, S. A. 2019. Murraya paniculata and Swinglea glutinosa as short-term transient hosts of ‘Candidatus Liberibacter asiaticus’ and implications for the spread os huanglongbing. Phytopathology, 109:2064-2073.Da Graça, J. 1991. Citrus greening disease. Annual Review of Phytopathology, 29: 109–136. | P | COSAVE As mentioned in paragraph 50 Category : EDITORIAL | Incorporated |
| 277 | 492 | Cifuentes-Arenas, J. C., Beattie, G. A, Peña, L., and Lopes, S. A. 2019. Murraya paniculata and Swinglea glutinosa as short-term transient hosts of ‘Candidatus Liberibacter asiaticus’ and implications for the spread os huanglongbing. Phytopathology, 109:2064-2073 Da Graça, J. 1991. Citrus greening disease. Annual Review of Phytopathology, 29: 109–136. | P | Uruguay As mentioned in paragraph 50 Category : TECHNICAL | Incorporated |
| 278 | 492 | Cifuentes-Arenas, J.C., Beattie, G.A, Peña, L., and Lopes, S.A. 2019. Murraya paniculata and Swinglea glutinosa as short-term transient hosts of ‘Candidatus Liberibacter asiaticus’ and implications for the spread os huanglongbing. Phytopathology, 109:2064-2073Da Graça, J. 1991. Citrus greening disease. Annual Review of Phytopathology, 29: 109–136. | P | Brazil As mentioned in paragraph 50 Category : EDITORIAL | Incorporated |
| 279 | 493 | Da Graça, J.V. 2010. Etiology, history and world situation of citrus Huanglongbing. 2010. Etiology, history and world situation of citrus Huanglongbing. In Proceedings of the Second International Workshop on Citrus Huanglongbing and the Asian Citrus Psyllid. Mérida, Yucatán, Mexico. | P | EPPO Typo (date not in bold). Category : EDITORIAL | Incorporated |
| 280 | 494 | Deng, X., Lou, Z., Feng, Z., Li, H., Chen, J. and Civerolo, E.L., Deng, X., Lou, Z., Feng, Z., Li, H., Chen, J. and Civerolo, E.L. 2008. First report of ‘Candidatus ‘Candidatus Liberibacter asiaticus’ from Atalantia buxifolia in Guangdong, China. Plant disease 92: 314-314314–314. | P | EPPO Typos (authors in bold; no comma before the date; correct scientific name but perhaps not used in the original reference; "-" replaced with "–" for the pages). Category : EDITORIAL | Incorporated |
| 281 | 494 | Deng, X., Lou, Z., Feng, Z., Li, H., Chen, J. and & Civerolo, E.L., 2008. First report of ‘Candidatus Liberibacter asiaticus’ from Atalantia buxifolia in Guangdong, China. Plant diseaseDisease, 92: 314-314. | P | New Zealand should be bold Category : EDITORIAL | Incorporated |
| 282 | 495 | Donovan, N.J., Beattie, G.A.C., Chambers, G.A., Holford, P., Englezou, A., Hardy, S., Dorjee, Phuntsho Wangdi, Thinlay & Namgay Om. 2012. First report of ‘Candidatus Liberibacter asiaticus’ in Diaphorina communis. Australasian Plant Disease Notes, 7:, 1–4. | P | New Zealand Category : EDITORIAL | Incorporated |
| 283 | 497 | EPPO (European and Mediterranean Plant Protection Organization). 2014. ‘Candidatus Liberibacter africanus’, ‘Candidatus Liberibacter americanus’ and ‘Candidatus Liberibacter asiaticus’. PM 7/121(1). EPPO Bulletin, 44(3): 376–389.Folimonova SY, Achor DS (2010) Early events of citrus greening (huanglongbing) disease development at the ultrastructural level. Phytopathology 100: 949–958. doi:10.1094/PHYTO-100-9-0949. PubMed: 20701493. | P | Colombia After paragraph 497. Bibliographic reference of the comment 2. Bibliographic reference of the comment 2. Category : EDITORIAL | Incorporated |
| 284 | 497 | EPPO (European and Mediterranean Plant Protection Organization). 2014. ‘Candidatus Liberibacter africanus’, ‘Candidatus Liberibacter americanus’ and ‘Candidatus Liberibacter asiaticus’. PM 7/121(1). EPPO Bulletin, 44(3): 376–389. | C | EPPO see first comment a new version has been published online. Category : TECHNICAL | Incorporated |
| 285 | 501 | Garnier, M., Jagoueix-Eveillard, S., Cronje, P.R. Le Roux, H.F. & Bové, J.M. 2000. Genomic characterization of a liberibacter present in an ornamental rutaceous tree, Calodendrum capense, in the Western Cape province of South Africa. Proposal of” of ‘Candidatus Liberibacter africanus subsp. capensis’. International Journal of Systematic and Evolutionary Microbiology, 50: 2119–2125. | P | EPPO Typo. Category : EDITORIAL | Incorporated |
| 286 | 503 | Gottwald, T.R., Graça, J.V.D. & Bassanezi, R.B. 2007. Citrus huanglongbing: the pathogen and its impact. Plant Health Progress, 8 [online]. [Cited 15 April 2021]. | P | Colombia After paragraph 503. Bibliographic reference of the comment 2. Bibliographic reference of the comment 2. Category : EDITORIAL | Incorporated |
| 287 | 504 | Hall, D.G., Richardson, M.L., Ammar, E.-D. & Halbet, S.E. 2012.. Asian citrus psyllid, Diaphorina citri, vector of citrus huanglongbing disease. Entomologia Experimentalis et Applicata, 146: 207–223. | P | EPPO Typo (one space added). Category : EDITORIAL | Incorporated |
| 288 | 505 | Hung, T.H., Hung, S.C., Chen, C.N., Hsu, M.H., Su, H.J. 2004. Detection by PCR of Candidatus Liberibacter asiaticus, the bacterium causing citrus Huanglongbing in vector psyllids: application to the study of vector-pathogen relationships. Plant Pathology 53: 96-102. doi: https://doi.org/10.1111/j.1365-3059.2004.00948.xHocquellet, A., Toorawa, P., Bové, J.-M. & Garnier, M. 1999. Detection and identification of the two Candidatus Liberobacter species associated with citrus huanglongbing by PCR amplification of ribosomal protein genes of the ß operon. Molecular and Cellular Probes, 13: 373–379. | P | COSAVE Mentioned in paragraph 52 Category : EDITORIAL | Incorporated |
| 289 | 505 | Hocquellet, A., Toorawa, P., Bové, J.-M. & Garnier, M. 1999. Detection and identification of the two Candidatus Liberobacter species associated with citrus huanglongbing by PCR amplification of ribosomal protein genes of the ß operon. Molecular and Cellular Probes, 13: 373–379.Hung, T.H., Hung, S.C., Chen, C.N., Hsu, M.H., Su, H.J. 2004. Detection by PCR of Candidatus Liberibacter asiaticus, the bacterium causing citrus Huanglongbing in vector psyllids: application to the study of vector-pathogen relationships. Plant Pathology 53: 96-102. doi: https://doi.org/10.1111/j.1365-3059.2004.00948.x | P | Uruguay Mentioned in paragraph 52 Category : TECHNICAL | Incorporated |
| 290 | 506 | Hung, T.H., Hung, S.C., Chen, C.N., Hsu, M.H., Su, H.J. 2004. Detection by PCR of Candidatus Liberibacter asiaticus, the bacterium causing citrus Huanglongbing in vector psyllids: application to the study of vector-pathogen relationships. Plant Pathology 53: 96-102. doi: https://doi.org/10.1111/j.1365-3059.2004.00948.xJagoueix, S., Bové, J.M. & Garnier, M. 1994. The phloem-limited bacterium of greening disease of citrus is a member of the α subdivision of the Proteobacteria. International Journal of Systematic Bacteriology, 44: 379–386. | P | Brazil As mentioned in paragraph 52 Category : EDITORIAL | Incorporated |
| 291 | 511 | Li, W., Hartung, J. & Levy, L. 2007. Evaluation of DNA amplification methods for improved detection of “Candidatus Liberibacter species” associated with citrus huanglongbing. Plant Disease, 91, 51–58.Li W, Levy L, Hartung JS (2009) Quantitative distribution of ‘Candidatus Liberibacter asiaticus’ in citrus plants with citrus huanglongbing. Phytopathology 99:139–144. | P | Colombia After paragraph 511. Bibliographic reference of the comment 1. Bibliographic reference of the comment 1. Category : EDITORIAL | Incorporated |
| 292 | 514 | Lopes, S.A. & Frare, G.F. 2008. Graft transmission and cultivar reaction of citrus to ‘Candidatus Liberibacter americanus’. Plant Disease, 92:121–124.Lopes, S.A. & Cifuentes-Arenas, J.C. 2021. A protocol for successful transmission of ‘Candidatus Liberibacter asiaticus’ from citrus to citrus using Diaphorina citri. Phytopathology, 105:in press.Lopes, S.A., Frare, G.F., Bertolini, E., Cambra, M., Fernandes, N.G., Ayres, A.J., Marin, D.R., Bové, J.M. 2009a. Liberibacters associated with citrus Huanglongbing in Brazil: ‘Candidatus Liberibacter asiaticus’ is heat tolerant, ‘Ca. L. americanus’ is heat sensitive. Plant Disease, 93:257-262. | P | Uruguay As mentioned in paragraphs 47 and proposed 86 Category : TECHNICAL | Incorporated |
| 293 | 515 | Lopes, S.A. & Cifuentes-Arenas, J.C. 2021. A protocol for successful transmission of ‘Candidatus Liberibacter asiaticus’ from citrus to citrus using Diaphorina citri. Phytopathology, 105:in press.Lopes, S.A., Frare, G.F., Bertolini, E., Cambra, M., Fernandes, N.G., Ayres, A.J., Marin, D.R., Bové, J.M. 2009a. Liberibacters associated with citrus Huanglongbing in Brazil: ‘Candidatus Liberibacter asiaticus’ is heat tolerant, ‘Ca. L. americanus’ is heat sensitive. Plant Disease, 93:257-262.Lopes, S.A., Frare, G.F., Camargo, L.E.A., Wulff, N.A., Teixeira, D.C., Bassanezi, R.B., Beattie, G.A.C. & Ayres, A.J. 2010. Liberibacters associated with orange jasmine in Brazil: Incidence in urban areas and relatedness to citrus liberibacters. Plant Pathology, 59: 1044–1053. | P | COSAVE As mentioned in paragraphs 47 and proposed 86 Category : EDITORIAL | Incorporated |
| 294 | 515 | Lopes, S.A., Frare, G.F., Camargo, L.E.A., Wulff, N.A., Teixeira, D.C., Bassanezi, R.B., Beattie, G.A.C. & Ayres, A.J. 2010. Liberibacters associated with orange jasmine in Brazil: Incidence in urban areas and relatedness to citrus liberibacters. Plant Pathology, 59: 1044–1053.Lopes, S.A., Luiz, F.Q.B.F., Oliveira, H.T., Cifuentes-Arenas, J.C., and Raiol-Junior, L. 2017. Seasonal variation of ‘Candidatus Liberibacter asiaticus’ titers in new shoots of citrus in distinct environments. Plant Disease, 101:583-590. | P | Uruguay As mentioned in paragraph 46 Category : TECHNICAL | Incorporated |
| 295 | 515 | Lopes, S.A. & Cifuentes-Arenas, J.C. 2021. A protocol for successful transmission of ‘Candidatus Liberibacter asiaticus’ from citrus to citrus using Diaphorina citri. Phytopathology, 105:in press.Lopes, S.A., Frare, G.F., Bertolini, E., Cambra, M., Fernandes, N.G., Ayres, A.J., Marin, D.R., Bové, J.M. 2009a. Liberibacters associated with citrus Huanglongbing in Brazil: ‘Candidatus Liberibacter asiaticus’ is heat tolerant, ‘Ca. L. americanus’ is heat sensitive. Plant Disease, 93:257-262.Lopes, S.A., Frare, G.F., Camargo, L.E.A., Wulff, N.A., Teixeira, D.C., Bassanezi, R.B., Beattie, G.A.C. & Ayres, A.J. 2010. Liberibacters associated with orange jasmine in Brazil: Incidence in urban areas and relatedness to citrus liberibacters. Plant Pathology, 59: 1044–1053. | P | Brazil As mentioned in paragraphs 47 and proposed 86 Category : EDITORIAL | Incorporated |
| 296 | 516 | Lopes, S.A., Luiz, F.Q.B.F., Oliveira, H.T., Cifuentes-Arenas, J.C., and Raiol-Junior, L. 2017. Seasonal variation of ‘Candidatus Liberibacter asiaticus’ titers in new shoots of citrus in distinct environments. Plant Disease, 101:583-590.Manjunath, K.L., Halbert, S.E., Ramadugu, C. Webb, S. & Lee R.F. 2008. Detection of ‘Candidatus Liberibacter asiaticus’ in Diaphorina citri and its importance in the management of citrus huanglongbing in Florida. Phytopathology, 98: 387–396. | P | COSAVE As mentioned in paragraph 46 Category : EDITORIAL | Incorporated |
| 297 | 516 | Manjunath, K.L., Halbert, S.E., Ramadugu, C. ., Webb, S. & Lee R.F. 2008. Detection of ‘Candidatus Liberibacter asiaticus’ in Diaphorina citri and its importance in the management of citrus huanglongbing in Florida. Phytopathology, 98: 387–396. | P | EPPO Typo (a comma added). Category : EDITORIAL | Incorporated |
| 298 | 516 | Lopes, S.A., Luiz, F.Q.B.F., Oliveira, H.T., Cifuentes-Arenas, J.C., and Raiol-Junior, L. 2017. Seasonal variation of ‘Candidatus Liberibacter asiaticus’ titers in new shoots of citrus in distinct environments. Plant Disease, 101:583-590Manjunath, K.L., Halbert, S.E., Ramadugu, C. Webb, S. & Lee R.F. 2008. Detection of ‘Candidatus Liberibacter asiaticus’ in Diaphorina citri and its importance in the management of citrus huanglongbing in Florida. Phytopathology, 98: 387–396. | P | Brazil As mentioned in paragraph 46 Category : EDITORIAL | Incorporated |
| 299 | 524 | Rigano, L.A., Malamud, F., Orce, I.G., Filippone, M.P., Marano, M.R., Do Amaral, A.M., Castagnaro, A.P. and & Vojnov, A.A. 2014. Rapid and sensitive detection of Candidatus Candidatus Liberibacter asiaticus by loop mediated isothermal amplification combined with a lateral flow dipstick. BMC microbiology, 14:1-91–9. | P | EPPO Typos ("&" for consistency with the other references; shouldn't "Candidatus" be in italics?; "-" replaced with "–" for the pages). Category : EDITORIAL | Incorporated |
| 300 | 530 | Teixeira, D.C., Saillard, C., Eveillard, S, Danet, J.L., da Costa, P.I., Ayres, A.J. & Bove, J. 2005c. ‘Candidatus Liberibacter americanus’, associated with citrus huanglongbing (greening disease) in São Paulo State, Brazil. International Journal of Systematic and Evolutionary Microbiology, 55: 1857–1862.Teixeira DC, Saillard C, Couture C, Martins E, Wulff NA, Yamamoto PT, Eveillard-Jagoueix S, Ayres AJ & Bové JM. 2008. Candidatus Liberibacter americanus, agent of huanglongbing disease of citrus in Sao Paulo State, Brasil: Distribution and quantification of the liberibacter in leaves of an affected sweet orange tree as determined by PCR methods. Molecular and Cellular Probes 22, 139-150. | P | Uruguay Mentioned in section 3.4 Category : TECHNICAL | Incorporated |
| 301 | 530 | Teixeira DC, Saillard C, Couture C, Martins E, Wulff NA, Yamamoto PT, Eveillard-Jagoueix S, Ayres AJ & Bové JM. 2008. Candidatus Liberibacter americanus, agent of huanglongbing disease of citrus in Sao Paulo State, Brasil: Distribution and quantification of the liberibacter in leaves of an affected sweet orange tree as determined by PCR methods. Molecular and Cellular Probes 22, 139-150.Teixeira, D.C., Saillard, C., Eveillard, S, Danet, J.L., da Costa, P.I., Ayres, A.J. & Bove, J. 2005c. ‘Candidatus Liberibacter americanus’, associated with citrus huanglongbing (greening disease) in São Paulo State, Brazil. International Journal of Systematic and Evolutionary Microbiology, 55: 1857–1862. | P | Brazil As mentioned in section 3.4 Category : EDITORIAL | Incorporated |
| 302 | 531 | Teixeira DC, Saillard C, Couture C, Martins E, Wulff NA, Yamamoto PT, Eveillard-Jagoueix S, Ayres AJ & Bové JM. 2008. Candidatus Liberibacter americanus, agent of huanglongbing disease of citrus in Sao Paulo State, Brasil: Distribution and quantification of the liberibacter in leaves of an affected sweet orange tree as determined by PCR methods. Molecular and Cellular Probes 22, 139-150.Wang Z., Yin, Y., Hu, H., Yuan, Q., Peng, G. & Xia, Y. 2006. Development and application of molecular based diagnosis for ‘Candidatus Liberibacter asiaticus’, the causal pathogen of citrus huanglongbing. Plant Pathology, 55: 630–638. | P | COSAVE Mentioned in section3.4 Category : EDITORIAL | Incorporated |
| 303 | 532 | Weller, S.A., Elphinstone, J.G., Smith, N.C., Boonham, N. and & Stead, D. 2000. Detection of Ralstonia solanacearum strains with a quantitative, multiplex, real-time, fluorogenic PCR (TaqMan) assay. Applied and environmental microbiology, 66: 2853-28582853–2858. | P | EPPO Typos ("&" for consistency with the other references; "-" replaced with "–" for the pages). Category : EDITORIAL | Incorporated |
| 304 | 533 | Yamamoto, P.T., Felippe, M.R., Garbim, L.F., Coelho, J.H.C., Martins, E.C. & Leite, A.P.R. 2006. Diaphorina citri (Kuwayama) (Hemiptera: Psyllydae): Vector of the bacterium Candidatus Liberibacter americanus. In: Proceedings of the Huanglongbing-Greening International Workshop. Fundecitrus, Araraquara, p. 96. Ribeirão Preto, Brazil.Zhou, L., Powell, C. A., Hoffman, M. T., Li, W., Fan, G., Liu, B., Lin, H., and Duan, Y. 2011. Diversity and plasticity of the intracellular plant pathogen and insect symbiont “Candidatus Liberibacter asiaticus” as revealed by hypervariable prophage genes with intragenic tandem repeats. Appl Environ Microbiol. 77:6663-6673. doi:10.1128/AEM.05111-11: | P | COSAVE As mentioned in paragraph 245 Category : EDITORIAL | Incorporated |
| 305 | 533 | Yamamoto, P.T., Felippe, M.R., Garbim, L.F., Coelho, J.H.C., Martins, E.C. & Leite, A.P.R. 2006. Diaphorina citri (Kuwayama) (Hemiptera: Psyllydae): Vector of the bacterium Candidatus Liberibacter americanus. In: Proceedings of the Huanglongbing-Greening International Workshop. Fundecitrus, Araraquara, p. 96. Ribeirão Preto, Brazil.Zhou, L., Powell, C. A., Hoffman, M. T., Li, W., Fan, G., Liu, B., Lin, H., and Duan, Y. 2011. Diversity and plasticity of the intracellular plant pathogen and insect symbiont “Candidatus Liberibacter asiaticus” as revealed by hypervariable prophage genes with intragenic tandem repeats. Appl Environ Microbiol. 77:6663-6673. doi:10.1128/AEM.05111-11: | P | Uruguay As mentioned in paragraph 245 Category : TECHNICAL | Incorporated |
| 306 | 533 | Yamamoto, P.T., Felippe, M.R., Garbim, L.F., Coelho, J.H.C., Martins, E.C. & Leite, A.P.R. 2006. Diaphorina citri (Kuwayama) (Hemiptera: Psyllydae): Vector of the bacterium Candidatus Liberibacter americanus. In: Proceedings of the Huanglongbing-Greening International Workshop. Fundecitrus, Araraquara, p. 96. Ribeirão Preto, Brazil.Zhou, L., Powell, C. A., Hoffman, M. T., Li, W., Fan, G., Liu, B., Lin, H., and Duan, Y. 2011. Diversity and plasticity of the intracellular plant pathogen and insect symbiont “Candidatus Liberibacter asiaticus” as revealed by hypervariable prophage genes with intragenic tandem repeats. Appl Environ Microbiol. 77:6663-6673. doi:10.1128/AEM.05111-11: | P | Brazil As mentioned in paragraph 245 Category : EDITORIAL | Incorporated |
| 9. Figures |  |  |  |  |  |
| 307 | 538 | Figure 2. Four-year-old Citrus sinensis (orange) tree declining from Huanglonbing. . Small upright leaves near shoot tips (where transmission take place), leaf drop/canopy thinning, and dieback. Photo courtesy of Greg McCollum, Agricultural Research Service, United States Department of Agriculture, United States. | P | EPPO Typo (one space deleted). Category : EDITORIAL | Incorporated |