| [1] | Draft Annex to ISPM 27 – Anguina spp. (2013-003) |
| --- | --- |
| [2] | Status box This is not an official part of the standard and it will be modified by the IPPC Secretariat after adoption Date of this document 2016-01-18 Document category Draft new annex to ISPM 27 (Diagnostic protocols for regulated pests) Current document stage To member consultation Major stages 2013-05 Standards Committee (SC) added subject under work programme topic: Nematodes (2006-008) 2015-03 Expert Consultation on draft Diagnostic Protocols 2015-06 Technical Panel on Diagnostic Protocols (TPDP) meeting review 2015-10 Revised draft with DP drafting group 2015-11 2015_eTPDP_Nov_01 2015-12 SC approved draft DP for member consultation (2016_eSC_May_01) Discipline leads history 2013-05 Geraldine ANTHOINE (FR, Discipline Lead) 2013-05 Robert TAYLOR (NZ, Referee) Consultation on technical level The first draft of this protocol was written by (lead author and drafting team): - Andrea Skantar (Nematology Laboratory, USDA-ARS, US) - Thomas Prior (Fera, UK) - Colin Fleming (Agri-Food and Biosciences Institute, UK). In addition, the draft has also been subject to expert review and the following international experts submitted comments: - Mr Witold Karnkowski (Central Laboratory of the State Plant Health and Seed Inspection Service, Poland) - Ms Pamela Kibwage (Kenya Plant Health Inspectorate Service (KEPHIS), Kenya) - Mr Juan Antonio Lezaun (INTIA – Tecnologías e Infraestructuras Agroalimentarias/Innovación Tecnología y Gestión (ITG), Spain). Main discussion points during development of the diagnostic protocol (to be updated during development as needed) During the first drafting stage, the scope of species to include in species descriptions was discussed. The main species having an economic impact were retained. During the TPDP meeting, these points were highlighted: - clarify the scope of the protocol (elements for choosing the three selected species) - consider adding symptoms due to Anguina at the genus level - define the minimum requirements to make a positive identification - adjust detail level depending on section - harmonize photo credits and confirm that no copyright applies. - Footnotes and brand names (based on SC decision and according to TPDP instruction to authors): If in the DP there is more than one mention to a brand name, the second mention (and the sub sequential mentions) to a brand name shall be associated with the footnote number with the full text (e.g. If the first mention to a brand name is “footnote 1”, the subsequent mentions to brand names should be accompanied by the same footnote number, i.e., “footnote number 1”). Notes This is a draft document. 2015-11 Edited |
| [3] | Contents [to be added] |
| [4] | Adoption |
| [5] | This diagnostic protocol was adopted by the Commission on Phytosanitary Measures in XXXX [to be completed after adoption]. |
| [6] | The annex is a prescriptive part of ISPM 27 (Diagnostic protocols for regulated pests). |
| [7] | 1. Pest Information |
| [8] | The Anguinidae family of nematodes contains both mycophagous species and species that parasitize aerial parts of plants, bulbs and tubers. The gall-forming nematodes of the subfamily Anguininae are obligate parasites of plants. More than 40 nominal species of gall-forming Anguinidae have been described. The seed gall nematodes, Anguina spp., inhabit the aerial parts of cereals and forage grasses. |
| [9] | Species of Anguina invade ovules where they induce galls, lay eggs and reside as second-stage juveniles. This juvenile stage can remain as anhydrobiotes within dried seed galls for many years. A single wheat gall formed by Anguina tritici (Steinbuch, 1799) Filipjev, 1936 usually contains 11 000–18 000 nematodes, although galls with as many as 90 000 have been recorded (Decraemer and Hunt, 2013). The nematodes can be retrieved from galls up to 30 years after forming if kept dry. |
| [10] | Three Anguina species, A. tritici (Steinbuch, 1799) Filipjev, 1936, A. agrostis (Steinbuch, 1799) Filipjev, 1936 and A. funesta Price, Fisher & Kerr, 1979 are considered of economic importance as agricultural and quarantine pests in various countries (Chizhov and Subbotin, 1990; Krall, 1991). Other species with importance in a limited geographic range include: |
| [11] | A. agropyri Kirjanova, 1955 |
| [12] | A. agropyronifloris Norton, 1965 |
| [13] | A. amsinckiae (Steiner & Scott, 1935) Thorne, 1961 |
| [14] | A. australis Steiner, 1940 |
| [15] | A. balsamophila (Thorne, 1926) Filipjev, 1936 |
| [16] | A. caricis Solovyeva & Krall, 1982 |
| [17] | A. cecidoplastes (Goodey, 1934) Filipjev, 1936 |
| [18] | A. graminis (Hardy, 1850) Filipjev, 1936 |
| [19] | A. microlaenae (Fawcett, 1938) Steiner, 1940 |
| [20] | A. pacificae Cid del Prado Vera & Maggenti, 1984 (Ferris, 2013). |
| [21] | A. tritici (wheat gall nematode, bunted wheat) has been recorded in major wheat growing areas on all continents (Southey, 1972) and is widely distributed (EPPO, 2015). This species can cause severe crop losses to Secale cereale L. (rye) (35–65%) and Triticum aestivum L. (wheat) (20–50%) (Leukel, 1929, 1957; Anwar et al., 2001). However, the use of modern seed cleaning methods that separate galls from healthy grains has almost eliminated this species from commercial wheat production in developed countries. For example, recent surveys for A. tritici in stored grain harvested from states of the United States with records of this nematode did not provide any evidence that it was still present in the country (CABI, 2001, 2014b). Recorded hosts are T. aestivum, Triticum monococcum L. (emmer), Triticum dicoccum Schrank, Triticum durum Desf., Triticum ventricosum Ces, S. cereale (rye) and Triticum spelta L. (spelt). Hordeum vulgare L. (barley) is a very poor host. There is little evidence that this nematode reproduces on Avena sativa L. (oats) and other grasses; although there are some reports of damage to oats at seedling stage by second-stage juveniles, no galls have been observed. |
| [22] | Clavibacter tritici, which is the causal agent of yellow ear rot or “tundu” of T. aestivum, is associated with the presence of A. tritici. Freshly harvested infected wheat cockles containing the bacterium are toxic to cattle and sheep (Anwar et al., 2001). A. tritici has been shown to vector Rathayibacter toxicus (toxic yellow slime bacterium) under experimental conditions (Riley and McKay, 1990). |
| [23] | A. agrostis (bentgrass nematode) has been reported from Europe, Asia, North America, Australia, New Zealand and South Africa (CABI, 2014a). It is considered to be a species complex with pathotypes differing in host range (Krall, 1991; Brzeski, 1998). Subbotin et al. (2004) supported the concept of narrow specialization of seed gall nematodes, concluding that A. agrostis occurs in only one host, Agrostis capillaris, and that other Agrostis spp. are hosts for two further undescribed species of Anguina. The type host of A. agrostis is Agrostis tenuis Sibth. In addition to various bentgrass species, A. agrostis sensu lato has been reported from other grass genera, including Apera, Arctagrostis, Calamagrostis, Dactylis, Eragrostis, Festuca, Hordeum, Koeleria, Lolium, Phalaris, Phleum, Poa, Puccinellia, Sporobolus and Trisetum (although certain records may relate to A. funesta (CABI/EPPO, 2004)). |
| [24] | A. agrostis has been shown to vector R. toxicus under experimental conditions (Riley and McKay, 1990). Several older references (e.g. Goodey, 1960) to this species being the causal agent of disease in livestock relate to galls on Festuca spp., and records are therefore uncertain (Southey, 1973). |
| [25] | A. funesta has been described from Australia, and recently has been reported from Oregon in the United States (Meng et. al., 2012). The principal host of A. funesta is Lolium rigidum (annual ryegrass). |
| [26] | This species is recorded as a vector of R. toxicus, which causes severe losses in the livestock industry in Australia (Price et al., 1979). Rangeland infested by the nematode and bacterium is unusable for grazing (Figures 1 to 3). |
| [27] | 2. Taxonomic Information |
| [28] | Name: Anguina Scopoli, 1777 |
| [29] | Synonyms: Angvina (= original spelling, amended to Anguina by later workers) |
| [30] | Anguillulina Gervais & Van Beneden, 1859 |
| [31] | Anguillulina (Anguina Scopoli) (Schneider, 1939) |
| [32] | Paranguina Kirjanova, 1954 |
| [33] | Paranguina Kirjanova, 1955 |
| [34] | Taxonomic position: Nematoda, Chromadorea, Chromadoria, Rhabditida, Tylenchina, Tylenchomorpha, Sphaerularioidea, Anguinidae, Anguininae (after Decraemer and Hunt, 2013) |
| [35] | Common names: Seed and leaf gall nematode, seed-gall nematode. Other common names in various languages are listed in CABI (2013). |
| [36] | Name: Anguina tritici (Steinbuch, 1799) Filipjev, 1936 |
| [37] | Synonyms: Vibrio tritici Steinbuch, 1799 |
| [38] | Rhabditis tritici (Steinbuch) Dujardin, 1845 |
| [39] | Anguillula tritici (Steinbuch) Grube, 1849 |
| [40] | Anguillulina tritici (Steinbuch) Gervais & Van Beneden, 1859 |
| [41] | Tylenchus tritici (Steinbuch) Bastian, 1865 |
| [42] | Anguillula scandens Schneider, 1866 |
| [43] | Tylenchus scandens (Schneider) Cobb, 1890 |
| [44] | Anguillulina scandens (Schneider) Goodey, 1932 |
| [45] | Common names: Wheat seed gall nematode, wheat cockle nematode |
| [46] | Name: Anguina agrostis (Steinbuch, 1799) Filipjev, 1936 |
| [47] | Synonyms: Vibrio agrostis Steinbuch, 1799 |
| [48] | Anguillula agrostis (Steinbuch) Ehrenberg, 1838 |
| [49] | Tylenchus agrostis (Steinbuch) Goodey, 1930 |
| [50] | Anguillulina agrostis (Steinbuch) Goodey, 1932 |
| [51] | Vibrio phalaridis Steinbuch, 1799 |
| [52] | Anguilllula phalaridis (Steinbuch) Ehrenberg, 1838 |
| [53] | Tylenchus phalaridis (Steinbuch) Örley, 1880 |
| [54] | Anguillulina phalaridis (Steinbuch) Goodey, 1932 |
| [55] | Anguina phalaridis (Steinbuch) Chizhov, 1980 |
| [56] | Tylenchus agrostidis Bastian, 1865 |
| [57] | Anguillula agrostidis (Bastian) Warming, 1877 |
| [58] | Tylenchus phlei Horn, 1888 |
| [59] | Anguina poophila Kirjanova, 1952 |
| [60] | Anguina lolii Price, 1973 |
| [61] | Common names: Bentgrass nematode, grass seed nematode |
| [62] | Name: Anguina funesta Price, Fisher & Kerr, 1979 |
| [63] | Synonyms: A. lolii Bird & Stynes, 1977 (in part) |
| [64] | Common name: Seed gall nematode |
| [65] | 3. Detection |
| [66] | 3.1 Symptoms specific to Anguina species |
| [67] | 3.1.1 Anguina tritici (After Southey, 1972; Krall, 1991.) A. tritici incites seed galls (ear cockles) in cereals. Invasive juveniles emerge from the seed galls in the soil and attack newly germinated seedlings. They establish infection on the tissues of young leaves near the growing point where they feed as an ectoparasite causing leaf distortion and crinkling. Infected hosts become stunted and exhibit shorter and deformed stems and leaves. Severely infected plants do not form ears or form only stunted ears on stunted stems. A diseased ear is much wider and shorter than a normal ear and has short deformed awns (Figure 4). The second-stage juveniles (J2) stimulate the formation of galls in floral tissues in place of seed development. Galls vary from light and dark brown to almost black (Figure 5). They are smaller than healthy grains (Figure 5(A)). The nematodes can survive in a quiescent stage in seeds (Figure 6). Slight elevations occur on the upper leaf surface with indentations on the lower side. Other leaf symptoms include wrinkling, twisting, curling of the margins towards the midrib, distortion, buckling, swelling and bulging. A tight spiral coil evolves, and dwarfing, loss of colour or development of a mottled yellowed appearance, and stem bending may also occur. In severe infection, the entire above-ground plant is distorted to some degree and therefore the disease is usually obvious (CABI, 2015). |
| [68] | 3.1.2 Anguina agrostis (After Southey, 1973; Krall, 1991.) |
| [69] | A. agrostis is considered to be a economically important nematode pest of bentgrass. In grasses, seed galls are difficult to detect as they are covered by lemmas and paleae. A small scarifier can be used to remove lemmas and paleae without damage to seeds or galls. This allows visual identification of galls (Alderman et al., 2003). Galled flowers have glumes of two or three times the normal length, lemmas five to eight times the normal length, projecting beyond the glumes as a sharp point, and paleae developing to about four times the normal length. Galls are at first greenish, and later become dark purple–brown. They reach 4–5 mm long (Figures 7 and 8). Lodicules, stamens and sometimes other flower parts are suppressed in parasitized flowers. Symptoms of the inflorescence also include elongated flower galls, which are modified ovaries, that look greenish or purple and may be 4–5 mm long. Seed galls containing the nematodes are dark brown. They may look similar to normal seeds but are lighter and hence can be separated mechanically from them. |
| [70] | 3.1.3 Anguina funesta |
| [71] | The life cycle of A. funesta is similar to that outlined for A. agrostis. Information on the biology of this species can be found in Price et al. (1979). Symptoms of infestation are shown in Figures 1 to 3. |
| [72] | 3.2 Nematode extraction |
| [73] | 3.2.1 Direct examination |
| [74] | Symptomatic foliage and seed suspected to be infested with Anguininae can be processed by dissecting foliage tissue and galls immersed in tap water contained within a Petri dish. Specimens of motile and immotile stages may be observed under a stereomicroscope, usually within 30 min if the host plant is heavily infested. |
| [75] | 3.2.2 Extraction from soil and plant material |
| [76] | Detailed descriptions of extraction equipment and procedures can be found in the EPPO standard on nematode extraction (EPPO, 2013a). |
| [77] | All stages of anguinid nematodes can be extracted from plant tissue, and infective juveniles can also be isolated from soil or growing medium, using the Baermann funnel technique, the modified Baermann tray method (Hooper and Evans, 1993), an adapted sugar flotation method (Coolen and D’Herde, 1972) or the mistifier technique (Hooper et al., 2005). These extraction methods should be conducted for 48 h at room temperature to detect low levels of infestation. Any plant material to be tested should be cut into pieces or sliced before extracting for increased efficacy of extraction. The number of infective juveniles that may be recovered from soil depends on soil type, sampling depth, host plant and seasonal factors (Hooper, 1986). A large amount of fresh organic matter in the soil sample (e.g. plant residue after harvest) can influence nematode numbers because of its decomposition process, which might be toxic to nematodes or increase the number of saprophytic nematodes, or because the organic matter hampers extraction by clogging sieves or contaminating the supernatant obtained in density-based methods. |
| [78] | The Baermann funnel technique (and modifications of it, such as the tray method, or Seinhorst mistifier, described by Hooper (1986)) is a reference technique for extraction of nematodes from soil and plant material. A piece of rubber tubing is attached to the stem of a glass funnel (with a recommended slope of approximately 30 degrees) and is closed by a spring or screw clip. The funnel is placed in a support and almost filled with tap water. A plastic sieve or wire basket with a large enough aperture size to allow nematodes to actively pass through is placed just inside the rim of the funnel. Plant tissue cut into small pieces or soil is placed either directly onto the mesh or onto a single-ply tissue supported by the mesh, and the water level is adjusted so the substrate is only just submerged. Active nematodes pass through the mesh and sink to the bottom of the funnel stem. Alternatively, funnels made of plastic or stainless steel and/or tubing made of silicone can be used. However, regarding the latter, diffusion of oxygen into water is lower than for polyethylene (Stoller, 1957), which can lead to slow asphyxiation of the nematodes. Depending on the plant tissue, most (50–80%) of the motile nematodes present will be recovered within 24 h; however, samples can be left on the funnel for up to 72 h to increase the recovery rate. For longer extraction periods, regular tapping of the funnel and addition of fresh water increases nematode motility, compensates for evaporation and lack of oxygen and therefore improve recovery rate. The efficacy of extraction can also be improved by adding 1–3% hydrogen peroxide (H2O2) for oxygen supply (Tarjan, 1967, 1972). Following the extraction period, a small quantity of water containing the nematodes is run off and observed under a stereomicroscope (Flegg and Hooper, 1970). |
| [79] | Motile and immotile nematodes can be extracted from plant material by the sugar flotation method (Coolen and D’Herde, 1972). The plant material is washed, cut into pieces of about 0.5 cm, and 5 g portions are macerated in 50 ml tap water in a domestic blender at the lowest mixing speed for 2 min. The suspension of nematodes and tissue fragments are washed through a 750 µm sieve placed on top of a 45 µm sieve. The residue on the 45 µm sieve is collected and poured into two 50 ml centrifuge tubes. About 1 ml kaolin is added to each tube, the mixture is thoroughly stirred and then it is centrifuged at 1500g. for 5 min. The supernatant is decanted and sucrose solution (density 1.13 g/cm3) is added to the tubes. The mixture is thoroughly stirred and centrifuged at 1750 r.p.m. for 4 min. The supernatant is washed through a 45 µm sieve, the residue is collected and the nematodes are studied under a stereomicroscope. Instead of sucrose, zinc sulphate (ZnSO4), magnesium sulphate (MgSO4) or colloidal silica can be used. |
| [80] | 3.2.3 Extraction from seed |
| [81] | Infective juveniles can be extracted from infested seed using a number of methods, including the Baermann funnel technique, which is summarized in section 3.2.2. A comparative study of the efficacy of various methods of extraction from seed, including water-agar blend, sieve blend, misting and blender-funnel-host stimulant, are presented by Griesbach et al. (1999). |
| [82] | For the sieve blend method, which is described as the most effective in Griesbach et al., (1999), the seeds are first soaked in water and aerated with an air stone and aquarium pump for 24 h. The seeds are then collected on a 25 μm pore size sieve and back-washed into a blender with 400 ml water. The mixture is homogenized for 30 s. One litre of tap water is added progressively as the mixture is passed through 850 μm pore size (20 mesh) and 25 μm pore size sieves. Residue from the 25 μm sieve is back-washed into dishes, and the nematodes are observed. |
| [83] | 4. Identification |
| [84] | The scope of this protocol is to facilitate identification of Anguina to genus. Both morphological (section 4.1) and molecular (section 4.2) approaches are presented. |
| [85] | 4.1 Morphological identification |
| [86] | Information for morphological identification of valid genera within the Anguinidae is provided in section 4.1.2.1. Species of Anguinidae are probably one of the most variable groups among the Tylenchida regarding morphological characters (Brzeski, 1998). Identification to species can be unreliable if morphological characters are used in isolation; information regarding biology, host plant and symptoms of infection should also be taken into consideration. Often, only juveniles are found in seed galls, which can further complicate identification as important morphological features in adult specimens cannot be observed. Morphological information for the three species of economic importance is provided in section 4.1.2.2; however, this information should be used in combination with other sources to confirm diagnosis. Keys to species have been provided by Krall (1991) (10 species) and Brzeski (1998) (four species recorded from temperate Europe). |
| [87] | 4.1.1 Preparation of nematode specimens |
| [88] | As with other species of plant-parasitic nematodes, morphological observation should be carried out on as many adult specimens as possible. There are numerous published methods for fixing and processing nematode specimens for study, most recently summarized in Manzanilla-López and Marbán-Mendoza (2012). Nematodes processed to anhydrous glycerol are recommended for examination as important taxonomic features can be obscured if specimens are not cleared sufficiently. |
| [89] | Temporary microscope slide preparations can be made quickly for instant examination but such slides may remain usable for only several weeks. |
| [90] | If possible, permanent slides should be prepared for future reference and deposited in nematode reference collections. Methods of preparing permanent slide mounts of nematodes have been described in detail elsewhere (Seinhorst, 1962; Hooper, 1986). The slow evaporation method as described by Hooper (1986) is outlined in section 4.1.1.2 so as to preserve the structures and characteristics of the nematodes. |
| [91] | 4.1.1.1 Temporary preparations |
| [92] | A small drop of water is placed on a glass cavity slide, enough to sufficiently fill the well. The nematode specimens are transferred to the water and heated to 65 °C. It is critical that the heat should be applied just long enough to kill the nematodes, as prolonged heating will result in their distortion and deterioration. In practice, 10–15 s on a hotplate will be sufficient time for most species, but it is recommended to check the slide at intervals to monitor progress and remove it from the heat only when movement of all the nematodes has ceased. |
| [93] | A glass slide, free of dust, is placed on the side of the microscope stage. A small drop of single strength triethanolamine and formalin (TAF) fixative (10% of 35% formalin, 1% triethanolamine and 89% distilled water) or another appropriate fixative is put in the centre of the slide and an appropriate amount of paraffin wax shavings is positioned around the drop (the wax will help support the coverslip and seal it to the slide). |
| [94] | The nematodes are transferred from the cavity slide to the fixative so that they are positioned beneath the meniscus in the centre of the drop and not overlapping one another. The number of specimens able to fit on a slide will vary according to the size of the nematodes. |
| [95] | An appropriately sized coverslip is carefully cleaned with lens tissue. It is gently lowered onto the wax shavings so that contact is made with the drop of fixative. The slide is placed on a hotplate and monitored until the wax has just melted; the air that may be lodged under the coverslip is removed by gently tapping the slide. The slide is then removed from the heat and examined. |
| [96] | There should be a clear area of fixative containing the nematodes in the centre and a complete ring of wax to seal the slide. |
| [97] | Should the seal be broken or the nematodes become embedded in the wax, the slide is heated again, the coverslip carefully removed, and the nematodes recovered and remounted on a new slide. If the wax has spread beyond the coverslip, it is cleared away with a fine blade. |
| [98] | The coverslip is sealed with a ring of clear nail varnish. When the varnish has dried, the specimens are ready for study. |
| [99] | 4.1.1.2 Permanent preparations |
| [100] | A small drop of water is placed on a glass cavity slide, enough to sufficiently fill the well. The nematode specimens are transferred to the water and heated to 65 °C. It is critical that the heat should be applied just long enough to kill the nematodes, as prolonged heating will result in their distortion and deterioration. In practice, 10–15 s on a hotplate will be sufficient time for most species, but it is recommended to check the slide at intervals to monitor progress and remove it from the heat only when movement of all the nematodes has ceased. |
| [101] | The nematodes are transferred to an embryo dish or suitable watch glass half full of single strength TAF fixative (7 ml formalin (40% formaldehyde), 2 ml triethanolamine, 91 ml distilled water). The dish is covered and left to fix for a minimum of one week. |
| [102] | The specimens are transferred to a watch glass containing a 3% glycerol solution with a trace amount of TAF fixative. The nematodes should be submerged. A coverslip is placed over the watch glass and left on it overnight. |
| [103] | The coverslip is slightly moved so that a small gap is produced to allow evaporation, and the watch glass is left in an incubator (approximately 40 °C) until all the water has evaporated (this may take at least one week). At the same time, a small beaker of glycerol is placed in the incubator to ensure it becomes anhydrous. |
| [104] | A small drop of the anhydrous glycerol is dispensed using a syringe or dropper onto the centre of a glass slide and the nematodes are transferred to this, arranged centrally. |
| [105] | Three coverslip supports, such as glass beads, of similar diameter to that of the nematodes are selected and placed at intervals in the margin of the glycerol drop, so that they form an even support. |
| [106] | Small amounts of paraffin wax shavings are placed at regular intervals around the circumference of the glycerol drop. |
| [107] | A coverslip is heated on a hotplate for a few seconds. The coverslip is cleaned with lens tissue and gently lowered on to the wax, so that contact is just made between coverslip and glycerol. |
| [108] | The slide is placed on the hotplate and as soon as the wax has melted and any air bubbles have been expelled by the settling coverslip, the slide is removed from the heat and the wax is allowed to reset. |
| [109] | When the wax is completely hard, any excess wax is removed from around the coverslip with a scalpel. |
| [110] | The coverslip is sealed with a ring of sealant such as Glyceel or clear nail varnish. The slide is labelled with an indelible marker, or affixed with a slide label. Information includes classification, date of slide preparation, host, locality, sample number (if applicable) and method of preservation. |
| [111] | 4.1.2 Morphological identification at genus level and selected species |
| [112] | 4.1.2.1 Morphological identification at genus level |
| [113] | Comparative morphology of genera assigned to the Anguininae is presented in Table 1. Definitions of terminology used in the following sections can be found in the European and Mediterranean Plant Protection Organization’s Diagnostic protocols for regulated pests: Pictorial glossary of morphological terms in nematology (EPPO, 2013b). Key characters for identification are shown in bold. |
| [114] | Diagnosis of the Anguininae and the genus Anguina has been described by Siddiqi (2000), as follows, with key characters for identification shown in bold. Medium to large in size (1–2.7 mm), obese; mature female curved generally in one to one-and-a-half spirals. Metacorpus muscular. Basal bulb in adults enlarged, continuous or offset from isthmus by a constriction, base usually extending over anterior end of intestine. Ovary with one or two flexures anteriorly due to excessive growth; oocytes in multiple rows, arranged about a rachis. Crustaformeria a long tube formed by a large number of cells in multiple irregular rows. Spermatogonia in multiple rows. Bursa subterminal. Second-stage juveniles generally resistant, and the infective stage. Obligate plant parasites incite galls in seeds of cereals and grasses as well as stems, leaves and inflorescence of various monocotyledonous plants; type species causes wheat seed galls (ear cockles); only A. amsinckiae and A. balsamophila are known to parasitize dicotyledonous plants. |
| [115] | Table 1. Comparative morphology and feeding habits of Anguininae (after Zhao et al., 2011, 2013) |
| [116] |  |
| [117] | 4.1.2.2 Selected Anguina species |
| [118] | Anguina tritici |
| [119] | Description after Southey (1972) and Krall ( 1991). Refer to Table 2, and Figures 9 and 10. |
| [120] | Mature females. Body obese, spirally coiled ventrally. Lip region low and flattened, slightly offset, cephalic framework weak. Cuticle very finely annulated. Procorpus often swollen by gland secretions but constricted at junction of metacorpus. Isthmus sometimes posteriorly swollen, offset from pharyngeal glands by a deep constriction. Pharyngeal glands not overlapping, or with very slight overlap of intestine. Excretory pore near junction of pharynx and intestine or slightly more posterior. Vulval lips protruding, orifice of small glands visible on vulval lips anterior and posterior to vulva. Ovary with two or more flexures, often reaching to pharyngeal region with oogonia in multiple rows arranged around a rachis. Spermatheca pyriform, separated from oviduct by a sphincter. Postvulval uterine sac present. Tail conoid, tapering to an obtuse or rounded tip, not mucronate. |
| [121] | Males. More slender than females. Habitus upon heat relaxation curved either ventrally or dorsally. Testis with one or two flexures. Spicules stout, arcuate, with two ventral ridges running from tip to widest part. Capitulum with distinct ventral folding at anterior. Gubernaculum simple, trough-like. Bursa leptoderan. Tail conoid, tip rounded or obtuse. |
| [122] | Second-stage juveniles. Body slender, not spirally coiled. Tail conoid, pointed (Figure 10). For measurements, see Table 2. |
| [123] | Anguina agrostis |
| [124] | Description after Southey (1973) and Krall ( 1991). Refer to Tables 1 and 2, and Figures 11 and 12. |
| [125] | Mature females. Based on specimens from the type host. Body obese, C-shaped to spirally coiled ventrally. Lip region low and flattened, offset by a fine constriction. Cuticle marked by fine annulations. Lateral fields not discernible on fully developed adult females, six incisures are visible on immature specimens. Neither procorpus nor isthmus exhibiting marked swellings, the former slightly contracted at its junction with the metacorpus. Isthmus occasionally folded in mature specimens by forward pressure of the gonad. Pharyngeal glands not overlapping, or with very slight overlap of intestine. Vulval lips prominent. Ovary usually with two flexures, often reaching to pharyngeal region with oogonia in multiple rows arranged around a rachis. Spermatheca pyriform, separated from oviduct by a constriction. Postvulval uterine sac present, 36–63% of vulva–anus distance. Tail conoid with an acute terminus. |
| [126] | Males. Smaller and more slender than females. Habitus upon heat relaxation curved ventral to almost straight. Lateral field difficult to discern on mature specimens, reported to have six incisures. Testis usually reflexed once, spermatocytes arranged about a rachis. Spicules more slender in build than those of A. tritici, the capitulum showing little or no ventral folding at anterior. Two ventral ridges running from tip of each spicule to widest part, before converging and joining the capitulum. Gubernaculum simple, bursa leptoderan, ending just short of acute or finely mucronate tail tip. |
| [127] | Second-stage juveniles. Body slender, not spirally coiled; tail conoid, pointed (Figure 12(A)). For measurements, see Tables 2 and 3. |
| [128] | Anguina funesta |
| [129] | Description after Price et al. (1979). Refer to Tables 1 and 2, and Figure 13. |
| [130] | Mature females. Length of postvulval uterine sac 62–112 µm; stylet length 7–10 µm. Young females are fully motile, but older females, in which gross expansion of the ovary has occurred, are strongly ventrally curved and capable of only weak movements of head and tail. Habitus following heat relaxation ventrally curved forming a complete circle, with head and tail overlapping. Lips slightly offset and rounded in front, cephalic framework lightly cuticularized. Stylet with conus and shaft of roughly equal length and with well-developed knobs. Pharynx 64–178 µm long with wide procorpus opening to a muscular metacorpus, ovate to spheroid, 17–25 µm long. Pharyngeal–intestinal junction obscured by the large dorsal gland, 45–72 µm in length, ovate to spathulate with a prominent nucleus. Pharyngeal glands slightly overlapping the intestine. Hemizonid between base of metacorpus and anterior end of dorsal pharyngeal gland, at 80–100 µm from anterior. Excretory pore located more posteriorly, 105–155 µm from anterior. Lateral field difficult to discern. Vulva with prominent lips. Anterior ovary with one or two flexures. Rarely, the gonad not reflexed but rather extended anteriorly to the base of the procorpus. Oocytes arranged in three or four rows about a rachis, except near the base of the ovary where this increases to five or six rows. Spermatheca ovate or elongated, long and 25–40 µm wide. Crustaformeria long and slender, made up of more than four columns of cells and up to 350 µm long, separated from spermatheca and uterus by short constrictions, 10–15 µm long. Crustaformeria often containing sperm cells and up to eight eggs. Uterus thick-walled, 70–100 µm long. Postvulval uterine sac approximately the same length as the uterus, 62–112 µm. Tail 48–112 µm long, vulva–anus distance 86–73 µm. Body width at anus approximately half that at vulva. Tail occasionally bluntly rounded, more usually conically pointed, sometimes with a mucronate tip. |
| [131] | Males. Males shorter and thinner than females. Habitus upon heat relaxation straight or slightly curved. Lip and pharyngeal regions of the male similar to that of the female, although dorsal pharyngeal gland larger, almost rectangular, 50–78 µm long. Hemizonid and excretory pore 71–90 µm and 102–147 µm from anterior, respectively. Lateral field with five or six incisures, broken at intervals and occupying one-quarter to one-third of body width. Testis nearly always reflexed once. Testis with spermatocytes in multiple rows about a rachis. Spicules paired, non-fused and arcuate, each 16–28 µm long with characteristic bulges on the manubrium and where the manubrium and shaft join. Gubernaculum slim and trough-like. Bursa leptoderan, extending almost to tail tip, 44–114 µm in length. Tail 43–72 µm long with terminus conically pointed. Body width at cloaca 17–43 µm. |
| [132] | Table 2. Morphometric data for Anguina tritici, Anguina agrostis and Anguina funesta |
| [133] | Morphometric characters Range, numerous populations A. tritici A. agrostis (restricted to Agrostis spp.) A. funesta Mature females L (mm) 3.0–5.2 1.3–2.7 1.65–2.44 Stylet (µm) 8–11 8–12 7–10 a (nematode body length/greatest width (usually at mid-body)) 13–30 13.8–25.4 16.8–20.1 b (nematode body length/pharynx length from lips to pharyngo-intestinal valve) 9.8–25.0 8.0–28.7 9.3–34.0 c (body length/tail length) 24–63 25.2–44.0 18.1–41.2 V (%) 70–95 87–92 86.9–94.0 Males L (mm) 1.9–2.5 1.05–1.68 0.78–1.52 Stylet (µm) 8–11 10–12 7–10 a (nematode body length/greatest width (usually at mid-body)) 21–30 23–38 20.3–30.9 b (Nematode body length/pharynx length from lips to pharyngo-intestinal valve) 6.3–13.0 6–9 6.3–9.5 c (body length/tail length) 17–28 20.0–28.4 16.1–24.9 Spicules (µm) 35–40 25–40 16–28 Gubernaculum (µm) Approximately 10 10–14 9–14 Second-stage juveniles L (mm) 0.75–0.95 0.55–1.25 0.81–0.87 Stylet (µm) Approximately 10 Approximately 10 7–10 (a) Nematode body length/greatest width (usually at mid-body) 47–59 44–71 48–53 (b) Nematode body length/pharynx length from lips to pharyngo-intestinal valve 4.0–6.3 3.2–6.1 4.2–4.6 (c) Body length/tail length 23–28 11.7–20 12.3–15.1 |
| [134] | Source: After Southey (1972, 1973, 1974), Price et al. (1979), Chizhov (1980), Krall (1991), Brzeski (1998) and Meng et al. (2012). |
| [135] | Note: Additional data for populations of A. agrostis and A. funesta (infective juveniles) are presented in Table 3. |
| [136] | Table 3. Morphometric data of juveniles of Anguina funesta population from annual ryegrass, Anguina agrostis population from bentgrass and Anguina agrostis population from orchardgrass from commercial seed production fields in Willamette Valley, Oregon, United States |
| [137] | Characters (n = 20) Mean ± standard deviation (range) (µm) A. funesta (annual ryegrass) A. agrostis (bentgrass) A. agrostis (orchardgrass) Body length 836.2 ± 14.6 (815.9–865.7) 795.0 ± 33.8 (726.4–875.6) 739.8 ± 20.0 (726.4–796.0) Genital primordium to posterior 396.7 ± 31.1 (351.5–480.2) 354.9 ± 25.0 (311.9–415.8) 350.0 ± 21.6 (297.0–381.2) Tail length 63.3 ± 3.3 (55.9–68.0) 57.7 ± 2.1 (53.5–60.8) 61.5 ± 4.2 (55.9–70.5) Anterior to excretory pore 122.5 ± 2.5 (119.1–128.8) 122.2 ± 2.1 (116.6–126.4) 122.5 ± 2.5 (119.1–128.8) Pharyngeal length 183.0 ± 7.1 (172.5–194.4) 186.9 ± 10.5 (158.0–199.3) 183.7 ± 8.8 (167.7–194.4) Genital primordium length 20.4 ± 1.5 (18.0–23.0) 16.5 ± 1.5 (13.5–19.0) 18.1 ± 1.8 (15.0–23.0) Genital primordium width 8.8 ± 1.2 (6.0–11.0) 7.5 ± 0.9 (6.0–10.0) 8.1 ± 0.7 (7.0–10.0) Body width 16.6 ± 0.7 (15.0–18.0) 14.0 ± 0.5 (13.0–15.0) 14.6 ± 0.6 (14.0–15.0) Metacorpus length 17.0 ± 1.1 (15.0–19.0) 16.2 ± 1.6 (12.0–19.0) 15.9 ± 1.0 (15.0–17.0) Metacorpus width 8.5 ± 0.5 (8.0–9.0) 8.7 ± 0.8 (7.5–10.0) 7.9 ± 0.7 (7.0–9.0) Stylet length 8.0 ± 1.0 (7.0–10.0) 8.0 ± 1.0 (7.0–10.0) 8.0 ± 0.7 (7.0–10.0) Anterior to base of stylet 10.1 ± 0.3 (10.0–11.0) 10.1 ± 0.5 (8.0–11.0) 10.5 ± 0.4 (10.0–11.0) Pharyngeal length 0.9 ± 0.4 (0.5–1.5) 1.2 ± 0.4 (0.5–1.5) 1.0 ± 0.3 (0.5–1.5) a (nematode body length/greatest width (usually at mid-body)) 50.4 ± 1.8 (48.0–52.9) 56.9 ± 3.7 (49.1–62.8) 50.6 ± 2.1 (45.4–54.7) b (Nematode body length/pharynx length from lips to pharyngo-intestinal valve) 4.6 ± 0.2 (4.2–4.6) 4.3 ± 0.2 (4.0–4.7) 4.0 ± 0.2 (3.8–4.4) c (body length/tail length) 13.2 ± 0.8 (12.3–15.1) 13.8 ± 0.6 (12.8–15.0) 12.1 ± 1.0 (11.0–15.4) Anterior to excretory pore as % of length 14.6 ± 0.3 (14.4–16.0) 15.4 ± 0.6 (14.2–16.7) 16.6 ± 0.5 (15.3–17.1) Genital primordium to tail as % of length 47.4 ± 3.6 (43.2–56.8) 44.7 ± 2.7 (36.2–49.7) 47.3 ± 3.0 (39.8–51.8) |
| [138] | Source: Reproduced from Meng et al. (2012), courtesy Plant Management Network, Plant Health Progress. |
| [139] | 4.2 Molecular identification |
| [140] | This section provides information on molecular tests that allow the identification of isolated nematodes to the major Anguina species. The tests are generally performed following a morphological examination in order to confirm the results obtained. |
| [141] | Molecular diagnosis of Anguina spp. is based on polymerase chain reaction (PCR)-restriction fragment length polymorphism (RFLP) (Powers et al., 2001), real-time PCR (Ma et al., 2011; Li et al., 2015) or sequencing of the internal transcribed spacer (ITS) region of ribosomal (r)RNA (Subbotin et al., 2004). The choice of test depends on whether identification requires confirmation of both the presence and the absence of particular species, and on the availability of species standards for controls. The method described by Ma et al. (2011) is limited to positive identification of A. funesta, while the other methods are able to simultaneously distinguish multiple species within the same test. PCR combined with analysis of RFLP is the most common way in which to simultaneously distinguish a range of Anguina species from each other (Powers et al., 2001). |
| [142] | Powers et al. (2001) first sequenced the ITS1 region for Anguina spp. Subbotin et al. (2004) subsequently sequenced 58 populations of Anguina, Ditylenchus, Heteroanguina and Mesoanguina for phylogenetic analysis. There are 71 sequence accessions of rRNA fragments obtained from Anguina spp. collected from different localities and host plants presently available in the United States National Center for Biotechnology Information (NCBI) public database. |
| [143] | ITS DNA PCR fragments may also be used for DNA sequence analysis, as described in section 4.2.5. |
| [144] | In this diagnostic protocol, methods (including reference to brand names) are described as published, as these defined the original level of sensitivity, specificity and/or reproducibility achieved. The use of names of reagents, chemicals or equipment in these diagnostic protocols implies no approval of them to the exclusion of others that may also be suitable. Laboratory procedures presented in the protocols may be adjusted to the standards of individual laboratories, provided that they are adequately validated. |
| [145] | 4.2.1 DNA extraction |
| [146] | A single juvenile (or adult, if available) is processed for PCR by placing it in a 15 μl drop of double distilled water on a glass slide and manually disrupting it by cutting it into several pieces with a knife under a stereomicroscope (Powers and Harris, 1993). |
| [147] | The nematode pieces in 8 µl double distilled sterile water are transferred to a microcentrifuge tube containing nematode extraction buffer (10 mM Tris, pH 8.2; 2.5 mM MgCl2; 50 mM KCl; 0.45% Tween 20; 0.05% gelatin; 60 µg/ml proteinase-K) (Thomas et al., 1997) and frozen at –70 °C for 15 min or until needed. The extract is thawed and incubated at 60 °C for 60 min then the proteinase-K is denatured by heating at 95 °C for 15 min. The protocol by Ma et al. (2011) cuts the nematode in 8 µl double distilled water and transfers this suspension to a tube containing 1 µl PCR buffer with 1 µl proteinase-K (1 µg/ml), with freezing as described above and incubation at 65 °C for 1 h followed by 95 °C for 10 min. |
| [148] | There are no published protocols designed specifically for bulk DNA extraction from Anguina spp.; however, methods described for other nematodes can be adapted as required. For example, the commercially available QIAamp DNA Micro Kit (Qiagen[1]) was used for DNA extraction from reniform nematodes following Baermann extraction and sugar centrifugal flotation to isolate nematodes from soil (Sayler et al., 2012). Quantification of extracted DNA is measured with the NanoDrop ND-1000 spectrophotometer (NanoDrop1). |
| [149] | [1] In this diagnostic protocol, methods (including reference to brand names) are described as published, as these define the original level of sensitivity, specificity and reproducibility achieved. The use of names of reagents, chemicals or equipment in these diagnostic protocols implies no approval of them to the exclusion of others that may also be suitable. Laboratory procedures presented in the protocols may be adjusted to the standards of individual laboratories, provided that they are adequately validated. |
| [150] | 4.2.2 ITS1 rRNA PCR-RFLP for identification of Anguina spp. (Powers et al., 2001) |
| [151] | The ITS rRNA universal primers described in this test are: |
| [152] | rDNA2 (forward): 5′-TTGATTACGTCCCTGCCCTTT-3′ (Vrain et al., 1992) |
| [153] | rDNA1.58S (reverse): 5′-ACGAGCCGAGTGATCCACCG-3′ (Cherry et al., 1997) |
| [154] | The reaction is conducted as described by Szalanski et al. (1997) (Table 4). Alternatively, the amplification can be conducted according to Meng et al. (2012) (Table 5). After PCR, 5 µl of the product is analysed electrophoretically on a 1.5% agarose gel in Tris-acetate-ethylenediaminetetraacetic acid (EDTA) (TAE) buffer. The gel is stained with ethidium bromide and photographed using a gel imaging system with an ultraviolet light filter. |
| [155] | The PCR products are purified with the Geneclean II Kit (MP Biomedicals1) or a similar PCR purification kit. The restriction enzymes AluI, BsrI, EcoRI, HaeIII, HhaI, HinfI and TaqI are required for identifying Anguina spp. The reactions are conducted separately (one tube for each enzyme) and according to the individual enzyme manufacturer’s recommendations (Table 6). A positive restriction control should be included in the RFLP step to confirm the success of the enzymatic digestion. |
| [156] | The lengths of the restriction fragments generated by these diagnostic enzymes and the restriction pattern of each species are given in Table 7. |
| [157] | Table 4. ITS1 rRNA conventional PCR master mix composition, cycling parameters and amplicons (after Szalanski et al., 1997) |
| [158] | Reagent Final concentration PCR-grade water –† PCR buffer (including MgCl2) 1× dNTPs 0.8 mM Primer rDNA2 (forward) 0.4 mM Primer rDNA1.58S (reverse) 0.4 mM DNA polymerase 2.5 U DNA (volume) 1 µl Cycling parameters‡ Initial denaturation 94 °C for 3 min Number of cycles 40 Denaturation 94 °C for 45 s Annealing 55 °C for 1 min Elongation 72 °C for 2 min Final elongation 72 °C for 10 min Expected amplicons Size From 547 to 553 bp for Anguina spp. (except for Astrebla genus: 575 bp) |
| [159] | † For a final reaction volume of 50 µl. ‡ According to the DNA polymerase manufacturer’s instruction. bp, base pairs; ITS, internal transcribed spacer; PCR, polymerase chain reaction; rRNA, ribosomal RNA. |
| [160] | Table 5. ITS1 rRNA conventional PCR master mix composition, cycling parameters and amplicons (after Meng et al., 2012) |
| [161] | Reagent Final concentration PCR-grade water –† PCR buffer 1× MgCl2 1 mM dNTPs 0.4 mM Primer rDNA2 (forward) 0.2 mM Primer rDNA1.58S (reverse) 0.2 mM DNA polymerase (GoTaq Flexi (Promega)) 2 units DNA (volume) 15 µl Cycling parameters‡ Initial denaturation 94 °C for 3 min Number of cycles 40 Denaturation 94 °C for 1 min Annealing 55 °C for 1 min Elongation 72 °C for 1 min Final elongation 72 °C for 10 min Expected amplicons Size From 547 to 553 bp for Anguina spp. (except for Astrebla genus: 575 bp) |
| [162] | † For a final reaction volume of 50 µl. ‡ According to the DNA polymerase manufacturer’s instruction. bp, base pairs; ITS, internal transcribed spacer; PCR, polymerase chain reaction; rRNA/DNA, ribosomal RNA/DNA. |
| [163] | Table 6. Master mix composition, template, reaction conditions and amplicons for RFLP |
| [164] | Reagent Final concentration PCR-grade water –† Enzyme mix 1× Restriction enzyme 10 U PCR product (volume) 6 µl Reaction conditions‡ 37 °C or 65 °C‡ for 8 h Expected amplicons Size See Table 7 |
| [165] | † For a final reaction volume of 14 µl. ‡ 37 °C for all enzymes except TaqI, for which incubation should be performed at 65 °C. PCR, polymerase chain reaction; RFLP, restriction fragment length polymorphism. |
| [166] | Table 7. Restriction fragment sizes for Anguina species and associated restriction fragment length polymorphism (RFLP) patterns (after Powers et al., 2001) |
| [167] | Species AluI * BsrI * EcoRI * HaeIII * HhaI * HinfI * TaqI * A. agrostis 548 A 295, 238, 15 B 299, 249 A 548 A 548 A 448, 100 B 355, 135, 58 A A.agropyronifloris 547 A 547 C 547 B 317, 230 B 547 A 447, 100 B 489, 58 B A.funesta 548 A 295, 238, 15 B 299, 249 A 548 A 548 A 448, 100 B 490, 58 B A.graminis 548 A 310, 238 B 548 B 548 A 548 A 249, 199, 100 C 490, 58 B A.microlaenae 550 A 550 C 301, 249 A 550 A 550 A 449, 52, 49 D 357, 135, 58 A A.pacificae 549 A 239, 225, 85 D 549 B 319, 230 B 549 A 448, 101 B 491, 58 B A.tritici 277, 274 B 550 C 550 B 550 A 462, 88 B 550 E 492, 58 B A.sp. / Dactylis 550 A 297, 253 B 550 B 320, 230 B 550 A 252, 198, 100 C 357, 135, 58 A A.sp. / Agrostis 553 A 301, 237, 15 B 553 B 333, 220 B 303, 250 C 454, 99 B 360, 135, 58 A A.sp. /Polypogon 553 A 301, 237, 15 B 553 B 333, 220 B 553 A 454, 99 B 360, 135, 58 A A.sp. /Stipa 548 A 467, 81 A 299, 249 A 548 A 548 A 375, 98, 46, 29 F 355, 135, 58 A A.sp. /Astrebla 359, 216 C 575 C 575 B 575 A 575 A 401, 128, 46 A 517, 58 B A.sp. /Holcus 550 A 310, 240 B 301, 249 A 550 A 550 A 450, 100 B 303, 135, 58, 54 C |
| [168] | * Code for the RFLP profile for each restriction enzyme. |
| [169] | 4.2.3 TaqMan real-time PCR for identification of Anguina agrostis (Ma et al., 2011) |
| [170] | This test developed by Ma et al. (2011) was designed as a species-specific real-time PCR to identify juveniles of A. agrostis. It was evaluated against the target species A. agrostis as well as non-target species A. tritici, A. wevelli and Ditylenchus destructor. While described for the “detection” of nematodes isolated from seed galls or plant material, the test was not specifically evaluated for its ability to quantify nematodes from quarantine samples. |
| [171] | The ITS rRNA species-specific primers described in this test are: |
| [172] | PF: 5′-GTTTGCCTACCGGTTGTTTACG-3′ |
| [173] | PR: 5′-CCACATGCAGTCGGTGTGAA-3′ |
| [174] | TaqMan probe Pb: 5′-FAM-TCATGTCTTGGCTATTGTAGACGTATCTGA-TAMRA-3′ |
| [175] | The amplification reaction is performed in a real-time PCR using the LightCycler (Roche1) according to the reaction conditions described in Table 8. |
| [176] | Table 8. Real-time PCR master mix composition, cycling parameters and amplicons (after Ma et al., 2011) |
| [177] | Reagent Final concentration PCR-grade water –† PCR buffer 1× MgCl2 1.25 mM dNTPs 0.2 mM Primer PF (forward) 0.4 µM Primer PR (reverse) 0.4 µM Probe Pb 0.02 µM DNA polymerase 0.5 U DNA (volume) 1 µl Cycling parameters Initial denaturation 94 °C for 3 min Number of cycles 45 Denaturation 94 °C for 10 s Annealing 60 °C for 30 s Expected amplicons Size 88 bp |
| [178] | † For a final reaction volume of 10 µl. bp, base pairs; PCR, polymerase chain reaction. |
| [179] | 4.2.4 Real-time PCR for identification of Anguina funesta, A. agrostis, A. tritici and A. pacificae (Li et al., 2015) |
| [180] | Li et al. (2015) designed a TaqMan real-time PCR to identify A. funesta, A. agrostis, A. tritici and A. pacificae. This test includes forward and reverse genus-specific primers combined with a fluorescent probe (modified with TET dye and BHQ-2 Black Hole Quencher1). This primer and probe set was designed to serve as an internal control for confirming the presence of Anguina spp. as well as the integrity of the PCR components and user performance. The test also includes primer and probe sets specifically designed for detection of each of the target species mentioned above and is intended for identification of single juveniles. Species-specific probes were modified with 6-FAM and BHQ-1 and were simultaneously detectable on a different fluorescent channel in duplex PCRs. Sensitivity of the test was demonstrated through construction of standard curves from reactions using serially diluted nematode DNA: the test was able to detect as little as 1.25 copies of the ITS rDNA. The specificity of each primer and probe set was demonstrated in singleplex and duplex reactions (i.e. the species-specific and genus-specific primer sets) tested against all of the target species as well as several non-target nematodes including Anguina spp., Meloidogyne spp., Pratylenchus spp. and Ditylenchus spp. |
| [181] | The ITS rRNA genus- and species-specific TaqMan primers and probes described in this test are: |
| [182] | A. agrostis (AAfpr primers - probe set) |
| [183] | AAf (forward): 5′-CGGTTGTTTACGGCCGT-3′ |
| [184] | Aar (reverse): 5′-ATGTAGTCGGTGTGAAAACAGCCAT-3′ |
| [185] | AAp (probe): 5′-6-FAM/ATCATGTCTTGGCTATTGTAGACGTATCTG/BHQ-1-3′ |
| [186] | A. funesta (AFfpr primers-probe set) |
| [187] | AFf (forward): 5′-GGTTGCTTACGGCCC-3′ |
| [188] | AFr (reverse): 5′-GTGTAATCGATGTGATACAGCCCC-3′ |
| [189] | AFp (probe): 5′-6-FAM/ATCATGTCTTGGCTATTATAGACGTATCTG/BHQ-1-3′ |
| [190] | A. pacificae (APfpr primers-probe set) |
| [191] | APf (forward): 5′-ACCGGTTGAATATTGGCTGT-3′ |
| [192] | Apr (reverse): 5′-ATGTAATCGATGTGAAACAGCCGT-3′ |
| [193] | App (probe): 5′-6-FAM/ATCATGTCTTGGAAAGTTTAGACGTATCTG/BHQ-1-3′ |
| [194] | A. tritici (ATfpr primers-probe set) |
| [195] | ATf (forward): 5′-GTTGCCTACGGCCGT-3′ |
| [196] | ATr (reverse): 5′-ATGTAATCGATGTGGTACAGCCAT-3′ |
| [197] | ATp (probe): 5′-6-FAM/ATCATGTCTTGGCTAGTGTAGACGTATCTG/BHQ-1-3′ |
| [198] | Anguina spp. (ASfpr primers-probe set) |
| [199] | ASf (forward): 5′-GTCTTATCGGTGGATCACTCGG-3′ |
| [200] | ASr (reverse): 5′-TGCAGTTCACACCATATATCGCAG-3′ |
| [201] | Asp (probe): 5′-TET/TCATAGATCGATGAAGAACGCAGCCA/BHQ-2-3′ |
| [202] | The amplification reaction is performed in a real-time PCR using the SmartCycler II real-time PCR system (Cepheid1) according to the reaction conditions described in Table 9. |
| [203] | Table 9. Real-time PCR master mix composition, cycling parameters and amplicons (after Li et al., 2015) |
| [204] | Reagent Final concentration PCR-grade water –† PCR buffer (Including MgCl2) 1× MgCl2 6.0 mM dNTPs 0.2 mM Species-specific primer (forward) 240 nM Species-specific primer (reverse) 240 nM Species-specific probe 120 nM ASf internal control primer (forward) 160 nM ASr internal control primer (reverse) 160 nM ASp internal control probe 120 nM DNA polymerase (Platinum Taq (Invitrogen)) 1.0 U DNA (volume) 1 µl Cycling parameters Initial denaturation 95 °C for 20 s Number of cycles 40 Denaturation 95 °C for 1 s Optics OFF Annealing 60 °C for 40 s Optics ON Ramp 5 °C per s Expected amplicons Size 74–85 bp |
| [205] | † For a final reaction volume of 25 µl. bp, base pairs; PCR, polymerase chain reaction. |
| [206] | 4.2.5 DNA sequence analysis of ITS1 and ITS2 rRNA |
| [207] | Molecular phylogenies of Anguina spp. provide a foundation for species identification based upon alignment of rDNA sequences, including ITS1-partial 5.8S as described by Powers et al. (2001), or ITS1-5.8S-ITS2 as described by Subbotin et al. (2004). Sequences obtained from new isolates or unknown species are thus placed within the context of known species boundaries and phylogenetic relationships. |
| [208] | For amplification of complete ITS1, 5.8S rDNA and ITS2, the primers used are: |
| [209] | TW81 (forward): 5′-GTTTCCGTAGGTGAACCTGC-3′ (Joyce et al., 1994) |
| [210] | AB28 (reverse): 5′-ATATGCTTAAGTTCAGCGGGT-3′ (Howlett et al., 1992) |
| [211] | Alternatively, the following primer pair can be used: |
| [212] | rDNA2 (also known as 18S) (forward): 5′-TTGATTACGTCCCTGCCCTTT-3′ (Vrain et al., 1992) |
| [213] | rDNA1 (also known as 26S) (reverse): 5′-TTTCACTCGCCGTTACTAAGG-3′ (Vrain et al., 1992) |
| [214] | The PCR is run with the composition and cycling parameters shown in Table 10. The PCR products are analysed by agarose gel electrophoresis. DNA fragments are extracted from the gel using commercially available reagents (e.g. Qiaquick Gel Extraction Kit (Qiagen1)) and sequenced with the same primers as for PCR. Alternatively, PCR products are cloned into a plasmid vector (e.g. TOPO TA cloning vector (Thermo Fisher Scientific1) or StrataClone vector (Agilent Technologies1)) and transformed into competent Escherichia coli. Plasmid clones are isolated from transformed bacteria using blue/white colony selection and sequenced using universal vector primers (Zheng et al., 2000). |
| [215] | The size of the complete ITS1-5.8S-ITS2 region is approximately 675 base pairs for Anguina spp. |
| [216] | DNA sequence alignment methods are numerous and rapidly evolving. DNA alignments with sequences obtained from GenBank are constructed with ClustalW, Clustal Omega or MAFFT from the European Bioinformatics Institute (available from http://www.ebi.ac.uk/Tools/msa) or by alignment plug-in modules within the commercial software packages Geneious (Biomatters1) and Chromas (Technelysium1). Pairwise genetic distances are calculated for all sequence combinations and expressed as percentage similarity or absolute number of nucleotide differences per aligned pair. Interspecific variation that exceeds the intraspecific variation generally indicates separation of species. A high degree of sequence similarity to named species should confirm results from PCR-RFLP and yield a definitive species diagnosis. A match to a previously identified unnamed population may yield the best possible conclusion for the circumstances. |
| [217] | Table 10. DNA sequence analysis of ITS1 and ITS2 rRNA: PCR master mix composition, cycling parameters and amplicons |
| [218] | Reagent Final concentration PCR-grade water –† Taq incubation buffer (Taq PCR Core Kit (Qiagen)) 1× 5× Q-solution (Taq PCR Core Kit (Qiagen)) 1× dNTPs 0.2 mM TW81 (forward) 1.5 µM AB28 (reverse) 1.5 µM DNA polymerase (Taq PCR Core Kit (Qiagen)) 0.8 U DNA (volume) 10 µl Cycling parameters Initial denaturation 94 °C for 4 min Number of cycles 35 Denaturation 94 °C for 1 min Annealing 55 °C for 1 min 30 s Elongation 72 °C for 2 min Final Elongation 72 °C for 10 min Expected amplicons Size 675 bp |
| [219] | † For a final reaction volume of 100 µl. bp, base pairs; ITS, internal transcribed spacer; PCR, polymerase chain reaction; rRNA, ribosomal RNA. |
| [220] | 4.2.6 Controls for molecular tests |
| [221] | For the test result to be considered reliable the following controls should be considered for each series of nucleic acid isolation and amplification of the target pest or target nucleic acid. A positive nucleic acid control, a negative amplification control (no template control) and a negative extraction control, as described below, should be used. |
| [222] | Positive amplification control. This control is used to monitor the efficiency of the amplification test (apart from the extraction). Pre-prepared (stored) nucleic acid of target nematode may be used. |
| [223] | Positive digestion control (for RFLP only). This control is used to monitor the efficiency of the enzymatic digestion. Amplicon obtained from pre-prepared (stored) nucleic acid of target nematode may be used, as long as the nematode has been accurately identified as belonging to one of the species described in the RFLP patterns. |
| [224] | Negative amplification control (no template control). This control is necessary for co |
| [225] | nventional PCR to rule out false positives due to contamination during preparation of the reaction mixture. PCR-grade water that was used to prepare the reaction mixture is added at the amplification stage. |
| [226] | Negative extraction control. This control is used to monitor contamination during nucleic acid extraction. This requires nucleic acid extraction and subsequent amplification of extraction buffer only. Multiple controls are recommended to be included when large numbers of positive samples are expected. |
| [227] | 4.2.7 Interpretation of results from PCR |
| [228] | 4.2.7.1 Conventional PCR and PCR-RFLP |
| [229] | The pathogen-specific PCR will be considered valid only if these criteria are met: |
| [230] | - the positive control produces the correct size amplicon for the target nematode species |
| [231] | - the negative extraction control and the negative amplification control produce no amplicons of the correct size for the target nematode species |
| [232] | - the restriction enzyme patterns reveal only the bands expected for a species, with no additional bands and no missing bands. |
| [233] | 4.2.7.2 Real-time PCR |
| [234] | The real-time PCR will be considered valid only if these criteria are met: |
| [235] | - the positive control produces an amplification curve with the species-specific primers and probe |
| [236] | - the negative extraction control and the negative amplification control produce no amplification curve or no exponential curve |
| [237] | - in the case of the Li et al. (2015) test, the genus-specific primers and probe produce an amplification curve in the presence of test sample DNA, indicating the presence of intact nematode DNA and integrity of the PCR components. |
| [238] | A sample will be considered positive if it produces an exponential amplification curve. If a cycle cut-off value is needed, its value has to be verified in each laboratory when implementing the test for the first time. |
| [239] | 5. Records |
| [240] | Records and evidence should be retained as described in section 2.5 of ISPM 27 (Diagnostic protocols for regulated pests). |
| [241] | In cases where other contracting parties may be affected by the results of the diagnosis, the following records and evidence and additional material should be kept for at least one year in a manner that ensures traceability: preserved or slide-mounted specimens, photographs of distinctive taxonomic structure, DNA extracts and photographs of gels. |
| [242] | For morphological evidence, critical features as outlined in the morphological section should be drawn or photographed while fresh material is available, and relevant measurements should be included. |
| [243] | Good photomicrographs (or scanning videos) of key morphological features are likely to be important for record keeping. |
| [244] | 6. Contacts Points for Further Information |
| [245] | Further information on this protocol can be obtained from: |
| [246] | Nematology Laboratory, United States Department of Agriculture (USDA), Agricultural Research Service (ARS), 10300 Baltimore Ave., Bldg 010A BARC West, Rm 113, Beltsville, MD 20705, United States (Andrea Skantar; e-mail: Andrea.Skantar@ars.usda.gov; tel.: +1-301-504-5917). |
| [247] | Agri-Food and Biosciences Institute, Newforge Lane Belfast BT9 5PX United Kingdom (Colin Fleming; e-mail: Colin.Fleming@afbini.gov.uk). |
| [248] | Nematology Unit, FERA Science Limited, National Agri-Food Innovation Campus, Sand Hutton, York, YO41 1LZ, United Kingdom (Thomas Prior; e-mail: thomas.prior@fera.co.uk; tel.: +44 1904 462206). |
| [249] | A request for a revision to a diagnostic protocol may be submitted by national plant protection organizations (NPPOs), regional plant protection organizations (RPPOs) or Commission on Phytosanitary Measures (CPM) subsidiary bodies through the IPPC Secretariat (ippc@fao.org), which will in turn forward it to the Technical Panel on Diagnostic Protocols (TPDP). |
| [250] | 7. Acknowledgements |
| [251] | The first draft of this protocol was written by Andrea Skantar (Nematology Laboratory, USDA-ARS, United States (see preceding section)), Colin Fleming (Agri-Food and Biosciences Institute, United Kingdom, NI (see preceding section)) and Thomas Prior (Nematology Unit, FERA Science Limited, United Kingdom (see preceding section)). |
| [252] | 8. References |
| [253] | The present annex refers to ISPMs. ISPMs are available on the International Phytosanitary Portal (IPP) at https://www.ippc.int/core-activities/standards-setting/ispms. |
| [254] | Alderman, S.C., Bilsland, D.M., Griesbach, J.A., Milbrath, G.M., Schaad, N.W. & Postnikova, E. 2003. Use of a seed scarifier for detection and enumeration of galls of Anguina and Rathayibacter species in orchard grass seed. Plant Disease, 87: 320–323. |
| [255] | Anwar, S.A., McKenry, M.V., Riaz, A. & Khan, M.S.A. 2001. Evaluation of wheat cultivars for Anguina tritici resistance, development and influence of nematode on wheat growth. International Journal of Nematology, 11: 150–156. |
| [256] | Brzeski, M.W. 1998. Nematodes of Tylenchina in Poland and temperate Europe. Warsaw, Muzeum I Instytut Zoologii Polska Akademia Nauk. pp. 93–132. |
| [257] | CABI. 2001. Anguina tritici. Crop Protection Compendium. global module, 3rd edn. Wallingford, UK, CABI. |
| [258] | CABI. 2013. Datasheet for Anguina. Crop Protection Compendium. Wallingford, UK, CABI. Available at http://www.cabi.org/cpc (last accessed 6 March 2015). |
| [259] | CABI. 2014a. Datasheet for Anguina agrostis. CABI Crop Protection Compendium. Wallingford, UK, CABI. Available at http://www.cabi.org/cpc (last accessed 6 March 2015). |
| [260] | CABI. 2014b. Datasheet for Anguina tritici. CABI Crop Protection Compendium. Wallingford, UK, CABI. Available at http://www.cabi.org/cpc (last accessed 6 March 2015). |
| [261] | CABI. 2015. Anguina species. CABI Crop Protection Compendium. Wallingford, UK, CABI. Available at http://www.cabi.org (last accessed 25 April 2015). |
| [262] | CABI/EPPO (European and Mediterranean Plant Protection Organization). 2004. Anguina agrostis. Distribution Maps of Plant Diseases, No. 923. Wallingford, UK, CABI. |
| [263] | Cherry, T., Szalanski, A.L., Todd, T.C. & Powers, T.O. 1997. The internal transcribed spacer region of Belonolaimus (Nemata: Belonolaimidae). Journal of Nematology, 29: 23–29. |
| [264] | Chizhov, V.N. 1980. The taxonomic status of certain species of the genus Anguina Scopoli, 1777. Byull Vesoyuznogo Instituta Gelmi-mintolii.., No. 26: 83–95. |
| [265] | Chizhov, V.N. & Subbotin, S.A. 1990. Phytoparasitic nematodes of the subfamily Anguininae (Nematoda: Tylenchida). Morphology, trophic specialization, taxonomic. Zoologichesky Zhurnal. 69, 4:15-26. |
| [266] | Coolen, W.A. & D’Herde, C.J. 1972. A method for the quantitative extraction of nematodes from plant tissue. Ghent, Belgium, Ministry of Agriculture, State Agricultural Research Centre. 77 pp. |
| [267] | Decraemer, W. & Hunt, D. 2013. Structure and classification. In R.N. Perry & M. Moens, eds. Plant nematology, 2nd edn, pp. 3–39. Wallingford, UK, CABI. 542 pp. |
| [268] | EPPO (European and Mediterranean Plant Protection Organization). 2013a. Nematode extraction. Diagnostics PM 7/119 (1). EPPO Bulletin, 43: 471–495. |
| [269] | EPPO (European and Mediterranean Plant Protection Organization). 2013b. Diagnostic protocols for regulated pests: Pictorial glossary of morphological terms in nematology. EPPO Technical Document No. 1056 (rev. 4). Paris, EPPO. Available at http://www.eppo.int/QUARANTINE/diag_activities/EPPO_TD_1056_Glossary.pdf/ 21pp. |
| [270] | EPPO (European and Mediterranean Plant Protection Organization). 2015. EPPO Global Database. Paris, EPPO. Available at https://gd.eppo.int (last accessed 8 March 2015). |
| [271] | Ferris, H. 2013. Anguina. Nemaplex (The Nematode-Plant Expert Information System, A Virtual Encyclopedia on Soil and Plant Nematodes). Available at http://plpnemweb.ucdavis.edu/nemaplex/Taxadata/G006.HTM (last accessed 25 April 2015). |
| [272] | Flegg, J.J.M. & Hooper, D.J. 1970. Extraction of free-living stages from soil. In J.F. Southey, ed. Laboratory methods for work with plant and soil nematodes, Technical Bulletin 2, pp. 5–22. London, Ministry of Agriculture, Fisheries and Food. 148 pp. |
| [273] | Goodey, J.B. 1960. Gall-forming nematodes of grasses in Britain. Journal of the Sports Turf Research Institute, 10: 5–60. |
| [274] | Griesbach, J.A., Chitambar, J.J., Hamerlynck, M.J. & Duarte, E.O. 1999. A comparative analysis of extraction methods for the recovery of Anguina sp. from grass seed samples. Journal of Nematology 31(4S): 635–640. |
| [275] | Hooper, D.J. 1986. Extraction of nematodes from plant tissue. In J.F. Southey, ed. Laboratory methods for work with plant and soil nematodes, Reference Book 402, 6th edn, pp. 51–58. London, Ministry of Agriculture, Fisheries and Food. 202 pp. |
| [276] | Hooper, D.J. & Evans, K. 1993. Extraction, identification and control of plant parasitic nematodes. In K. Evans, D.M. Trudgill & J.M. Webster, eds. Plant parasitic nematodes in temperate agriculture, pp. 1–60. Wallingford, UK, CABI. 656 pp. |
| [277] | Hooper, D.J., Hallmann, J. & Subbotin, S.A. 2005. Methods for extraction, processing and detection of plant and soil nematodes. In M. Luc, R.A. Sikora & J. Bridge, eds. Plant parasitic nematodes in subtropical and tropical agriculture, 2nd edn, pp. 53–86. Wallingford, UK, CABI. 871 pp. |
| [278] | Howlett, B.J., Brownlee, A.G., Guest, D.I., Adcock, G.J. & McFadden, G.I. 1992. The 5S ribosomal RNA gene is linked to large and small subunit ribosomal RNA genes in the oomycetes, Phytophthora vignae, P. cinnamomi, P. megasperma f. sp. glycinea and Saprolegnia ferax. Current Genetics, 22: 455–461. |
| [279] | Joyce, S.A., Reid, A., Driver, F. & Curran, J. 1994. Application of polymerase chain reaction (PCR) methods to identification of entomopathogenic nematodes. In A.M. Burnell, R.-U. Ehlers & J.P. Masson, eds. COST 812 Biotechnology: Genetics of Entomopathogenic Nematode-Bacterium Complexes. Proceedings of Symposium and Workshop. St Patrick’s College, Maynooth, Co. Kildare, Ireland, pp. 178–187. Luxembourg, European Commission, DG XII.277 pp. |
| [280] | Krall, E.L. 1991. Wheat and grass nematodes: Anguina, Subanguina and related genera. In W.R. Nickle, ed. Manual of agricultural nematology, pp. 721-760. New York, NY, Marcel Dekker. 1035 pp. |
| [281] | Leukel, R.W. 1929. The nematode disease of wheat and rye. United States Department of Agriculture Farmers’ Bulletin, No. 1607. |
| [282] | Leukel, R.W. 1957. The nematode disease of wheat and rye. United States Department of Agriculture Farmers’ Bulletin, No. 1607 (revised). |
| [283] | Li, W., Zonghe, Y., Nakhla, M.K. & Skantar, A.M. 2015. Real-time PCR for detection and identification of Anguina funesta, A. agrostis, A. tritici, and A. pacificae. Plant Disease, http://dx.doi.org/10.1094/PDIS-09-14-0959-RE. |
| [284] | Ma, Y., Xie, H., Wang, J. & Liu, C. 2011. Detection of second-stage juveniles of Anguina agrostis using TaqMan Real-time PCR. Russian Journal of Nematology, 19: 151–158. |
| [285] | Manzanilla-López, R.H. & Marbán-Mendoza, N., eds. 2012. Practical plant nematology. Mexico City, Biblioteca Básica de Agricultura, Grupo Mundi-Prensa. 883 pp. |
| [286] | Meng, S., Alderman, S., Fraley, C., Ludy, R., Sun, F. & Osterbauer, N. 2012. Identification of Anguina funesta from annual ryegrass seed lots in Oregon. Plant Health Progress, doi:10.1094/PHP-2012-1024-01-RS. |
| [287] | Powers, T.O. & Harris, T.S. 1993. A polymerase chain reaction method for identification of five major Meloidogyne species. Journal of Nematology, 25: 1–6. |
| [288] | Powers, T.O., Szalanski, A.L., Mullin, P.G., Harris, T.S., Bertozzi, T. & Griesbach, J.A. 2001. Identification of seed gall nematodes of agronomic and regulatory concern with PCR-RFLP of ITS1. Journal of Nematology, 33: 191–194. |
| [289] | Price, P.C., Fisher, J.M. & Kerr, A. 1979. On Anguina funesta n. sp. and its association with Corynebacterium sp. in infecting Lolium rigidum. Nematologica, 25: 76–85. |
| [290] | Pscheidt, J.W. & Ocamb, C.M., senior eds. 2015. Pacific Northwest plant disease management handbook (online). Corvallis, OR, Oregon State University. Available at http://pnwhandbooks.org/plantdisease (last accessed 9 November 2015). |
| [291] | Riley, I.T., and A.C. McKay. 1990. Specificity of the adhesion of some plant pathogenic micro-organisms to the cuticle of nematodes in the genus Anguina (Nematoda: Anguinidae). Nematologica 36:90-103. |
| [292] | Sayler, R.J., Walker, C., Agudelo, P. & Kirkpatrick, T. 2012. Conventional PCR detection and real-time PCR quantification of reniform nematodes. Plant Disease, 96: 1757–1762. |
| [293] | Seinhorst, J.W. 1962. On the killing, fixing and transferring to glycerin of nematodes. Nematologica, 8: 29–32. |
| [294] | Siddiqi, M.R. 2000. Tylenchida parasites of plants and insects, 2nd edn. Wallingford, UK, CABI. 864 pp. |
| [295] | Southey, J.F. 1972. Anguina tritici. CIH description of plant parasitic nematodes, Set 1, No. 13. St Albans, UK, Commonwealth Institute of Helminthology. |
| [296] | Southey, J.F. 1973. Anguina agrostis. CIH description of plant parasitic nematodes, Set 2, No. 20. St Albans, UK, Commonwealth Institute of Helminthology. |
| [297] | Stoller, B.B. 1957. An improved test for nematodes in the soil. Plant Disease Reporter, 41: 531–532. |
| [298] | Subbotin, S.A., Krall, E.L., Riley, I.T., Chizhov, V.N., Staelens, A., DeLoose, M. & Moens, M. 2004. Evolution of the gall-forming plant parasitic nematodes (Tylenchida: Anguinidae) and their relationships with hosts as inferred from Internal Transcribed Spacer sequences of nuclear ribosomal DNA. Molecular Phylogenetics and Evolution, 30: 226–235. |
| [299] | Szalanski, A.L., Sui, D.D., Harris, T.S. & Powers, T.O. 1997. Identification of cyst nematodes of agronomic and regulatory concern by PCR-RFLP of ITS1. Journal of Nematology, 29: 255–267. |
| [300] | Tarjan, A.C. 1967. Influence of temperature and hydrogen peroxide on the extraction of burrowing nematodes from citrus roots. Plant Disease Reporter, 51: 1024–1028. |
| [301] | Tarjan, A.C. 1972. Observations on extracting citrus nematode, Tylenchulus semipenetrans, from citrus roots. Plant Disease Reporter, 56: 186–188. |
| [302] | Thomas, W.K., Vida, J.T., Frisse, L.M., Mundo, M. & Baldwin, J.G. 1997. DNA sequences from formalin-fixed nematodes: Integrating molecular and morphological approaches to taxonomy. Journal of Nematology, 29: 250–254. |
| [303] | Vrain, T.C., Wakarchuk, A.C., Levesque, A.C. & Hamilton, R.I. 1992. Intraspecific rDNA restriction fragment length polymorphism in the Xiphinema americanum group. Fundamental and Applied Nematology, 15: 563–573. |
| [304] | Zhao, Z.Q., Davies, K., Alexander, B. & Riley, I.T. 2011. Litylenchus coprosma gen. n., sp. n. (Tylenchida: Anguinata), from leaves of Coprosma repens (Rubiaceae) in New Zealand. Nematology, 13: 29–44. |
| [305] | Zhao, Z.Q., Davies, K.A, Alexander, B.J.R. & Riley, I.T. 2013. Zeatylenchus pittosporum gen. n., sp. n. (Tylenchida: Anguinata), from leaves of Pittosporum tenuifolium (Pittosporaceae) in New Zealand. Nematology, 15: 197–212. |
| [306] | Zheng, J., Subbotin, S.A., Waeyenberge, L. & Moens, M. 2000. Molecular characterisation of Chinese Heterodera glycines and H. avenae populations based on RFLPs and sequences of rDNA-ITS regions. Russian Journal of Nematology, 8: 109–113. |
| [307] | 9. Figures |
| [308] |  |
| [309] | Figure 1. Healthy Lolium rigidum seed (left), Anguina funesta gall (centre) and nematode gall colonized by Rathayibacter toxicus (right). |
| [310] | Photo courtesy I. Riley, South Australian Research and Development Institute (SARDI), Adelaide, Australia. |
| [311] |  |
| [312] | Figure 2. Healthy Lolium rigidum seed (left), Anguina funesta-infected nematode gall (centre) and Anguina funesta-infected bacterial gall (right). |
| [313] | Photo courtesy J. Allen, Western Australia Department of Agriculture and Food, Perth, Australia. |
| [314] |  |
| [315] | Figure 3. Gumming disease of Lolium due to Rathayibacter toxicus. |
| [316] | Photo courtesy J. Allen, Western Australia Department of Agriculture and Food, Perth, Australia. |
| [317] |  |
| [318] | Figure 4. (A) Healthy Triticum aestivum ears (left) and those infested with Anguina tritici (right). |
| [319] | Photo © Howard Ferris, University of California, Davis, 1999. |
| [320] |  |
| [321] |  |
| [322] | Figure 4. (B) Symptoms of infestation of Triticum aestivum seeds with Anguina tritici. |
| [323] | Photos courtesy Fera, United Kingdom (left) and J. Swarup, India (right). |
| [324] |  |
| [325] | Figure 5. (A) Healthy Triticum aestivum seeds (left) and those infected with Anguina tritici (right). |
| [326] | Photo © Ulrich Zunke, University of Hamburg. |
| [327] |  |
| [328] | Figure 5. (B) Comparison of colour and shape of healthy Triticum aestivum seeds (left) and those infested with Anguina tritici (right). |
| [329] | Photo courtesy Tomasz Kościuch, Poland. |
| [330] |  |
| [331] | Figure 6. Invasive juveniles of Anguina tritici survive in a quiescent state within a seed gall, emerging to infect germinated seedlings. |
| [332] | Photo © Howard Ferris, University of California, Davis, 1999. |
| [333] |  |
| [334] | Figure 7. Agrostis plants infected with Anguina agrostis. |
| [335] | Source: Pscheidt and Ocamb (2015, part of Ohio State University Extension Plant Pathology Slide). |
| [336] |  |
| [337] | Figure 8. Agrostis plants infected with Anguina agrostis. |
| [338] | Photo © Malcolm Storey, 2011–2115. |
| [339] |  |
| [340] | Figure 9. Anguina tritici from wheat grain: (A) vulval region showing a surface view of the uterus and postvulval uterine sac; (B) female; (C) oesophageal region of male; (D) head end of female; (E) male; (F) tail end of male; and (G) spicules. DN, nucleus of dorsal oesophageal gland; SVN, nuclei of subventral glands; RN, nucleus of renette cell. |
| [341] | Reproduced from Siddiqi (2000), courtesy CABI. |
| [342] |  |
| [343] | Figure 10. Anguina tritici from wheat: (A) eggs and (B–E) second-stage juveniles showing (C) pharyngeal region, (D) tail and (E) lip region. |
| [344] | Reproduced from Southey (1972), courtesy CABI. |
| [345] |  |
| [346] | Figure 11. Anguina agrostis: (A) female; (B) male; (C) female pharyngeal region; (D) female tail; (E–F) male tails; and (G) spicule and gubernaculum. |
| [347] | Reproduced from Southey (1973), courtesy CABI. |
| [348] | A. |
| [349] | B. |
| [350] | C. |
| [351] | Figure 12. Anguina agrostis juvenile: (A) whole nematode; (B) tail; and (C) head. Source: University of Nebraska-Lincoln (http://nematode.unl.edu/aagrost.htm). Photo © Peter Mullin, 2001. |
| [352] |  |
| [353] | Figure 13. Anguina funesta: (A) adult male; (B) adult female; (C) male anterior; (D) male tail; and (E) spicule and gubernaculum. |
| [354] | Reproduced from Price et al. (1979), courtesy Nematologica. |